Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Total Suspended Solids (TSS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Identify the appropriate test method, Prepare Standard required for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, Prepare samples and stock solution for testing - Identify appropriate test method, Glassware equipment and safety requirements. - Maintain the temperature of sample and working environment before analysis. - Homogenize the sample before analysis and select an appropriate volume of sample to yield 2.5 and 200 mg dried residue Prepare Equipment/Apparatus for testing - Set up the Filtration apparatus as per given work instructions and conduct pre-use and safety checks. Perform tests on samples as per SOPs - After homogenizing the sample with vigorous shaking or blending, Pipet from the approximate midpoint of container but not in vortex. - Filter the specified volume of wastewater sample as per instructions. - Carefully remove filter from filtration apparatus, Dry for at least 1 hour at specific temperature in an oven, cool in a desiccator to balance temperature, and weigh. - Perform calculation to determine TSS mg total suspended solids/L = (A - B) X 1000 sample volume, mL Perform Quality Control Checks - Analyze one method blank with every batch. Record the results/ Finalize the work - Record and report the Results with proper units and uncertainty. Adopt the precautions during testing work - Before analysis normalize the temperature of sample at room temperature - Homogenise the sample by vigorous shaking to filter a representative sample. - Verify the Calibration of weighing balance to avoid fluctuation of measurement. - Cool the filter paper in desiccator after drying to avoid moisture absorbance |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Perform Testing/Determination of Total Suspended Solids (TSS) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Maintain the temperature of sample and working environment before analysis. |  |  |
| - Homogenize the sample before analysis and select an appropriate volume of sample to yield 2.5 and 200 mg dried residue |  |  |
| - Set up the Filtration apparatus as per given work instructions and conduct pre-use and safety checks. |  |  |
| - After homogenizing the sample with vigorous shaking or blending, Pipet from the approximate midpoint of container but not in vortex. |  |  |
| - Filter a specified volume of wastewater sample as per instructions. |  |  |
| - Carefully remove filter from filtration apparatus, Dry for at least 1 hour at specific temperature in an oven, cool in a desiccator to balance temperature, and weigh. |  |  |
| - Perform calculation to determine TSS |  |  |
| - Analyze one method blank with every batch. |  |  |
| - Record and report the Results with proper units and uncertainty |  |  |
| - Before analysis normalize the temperature of sample at room temperature |  |  |
| - Homogenise the sample by vigorous shaking to filter a representative sample. |  |  |
| - Verify the Calibration of weighing balance to avoid fluctuation of measurement |  |  |
| - Cool the filter paper in desiccator after drying to avoid moisture absorbance |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Total Suspended Solids (TSS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Maintain the temperature of sample and working environment before analysis. |  |  |  |  |  |
|  | Homogenize the sample before analysis and select an appropriate volume of sample to yield 2.5 and 200 mg dried residue |  |  |  |  |  |
|  | Set up the Filtration apparatus as per given work instructions and conduct pre-use and safety checks. |  |  |  |  |  |
|  | After homogenizing the sample with vigorous shaking or blending, Pipet from the approximate midpoint of container but not in vortex. |  |  |  |  |  |
|  | Filter a specified volume of wastewater sample as per instructions. |  |  |  |  |  |
|  | Carefully remove filter from filtration apparatus, Dry for at least 1 hour at specific temperature in an oven, cool in a desiccator to balance temperature, and weigh. |  |  |  |  |  |
|  | Perform calculation to determine TSS |  |  |  |  |  |
|  | Analyze one method blank with every batch. |  |  |  |  |  |
|  | Record and report the Results with proper units and uncertainty |  |  |  |  |  |
|  | Before analysis normalize the temperature of sample at room temperature |  |  |  |  |  |
|  | Homogenise the sample by vigorous shaking to filter a representative sample. |  |  |  |  |  |
|  | Verify the Calibration of weighing balance to avoid fluctuation of measurement |  |  |  |  |  |
|  | Cool the filter paper in desiccator after drying to avoid moisture absorbance |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Total Suspended Solids (TSS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the difference between TSS and TDS |  |  |
|  | Enlist the sources of error during TSS determination |  |  |
|  | Write down the volume required for range of 0-200 |  |  |
|  | Define seeding |  |  |
|  | Why sample is incubated in amber colored bottle? |  |  |
|  | How will you maintain the pH of sample in the specific range? |  |  |
| 777 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________