Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Wastewater Assessment and Treatment |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | - Testing/Determination of Biochemical Oxygen Demand (BOD) by Monometric Pressure Measurement Method - Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method - Testing/Determination of Oil and Grease in Wastewater by OCMA-350 - Determine flow discharge measurement of wastewater - Determine wastewater treatment processes - Demonstrate Sewage Treatment Plant |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Testing/Determination of Biochemical Oxygen Demand (BOD) by Monometric Pressure Measurement Method - Identify appropriate test method, Glassware equipment and safety requirements. - Perform required pre-treatment of the sample. - Select the specific range and required volume of the sample for BOD incubation. Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method - Prepare 100ppm COD Standard - Select the COD range, and digest the sample - Record the results on equipment and report it with proper units Testing/Determination of Dissolved Oxygen (DO) by DO Meter - Perform Calibration the DO Meter - Record the DO of the sample with proper units Testing/Determination of Oil and Grease in Wastewater by OCMA-350 - Extract the Oil from given sample and measure the concentration. Testing/Determination of Total Suspended Solids (TSS) - Analyze given sample for TSS and Calculate it using appropriate formula Determine flow discharge measurement of wastewater - Demonstrate the measurement of Total discharge of stream - Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 40 seconds and the stream had a sandy bottom. The width and length of the stream is 4.79 ft. and 7.42ft respectively. - If the distance covered by an object is 15 feet and Float time is 20 seconds. Calculate the velocity of an object. Demonstration of wastewater treatment processes - Demonstrate the composition of the wetlands and its functioning with horizontal and vertical at laboratory level. - Demonstrate the Abiotic mechanisms of treatment process. - Identify the parts of dissolved air flotation equipment and chemicals added to enhance the flocculation before floating. - Sketch a flow diagram of and identify four applications of DAF process. Demonstrate Sewage Treatment Plant - Identify major components and processes of Sewage treatment system. - Identify the three stages of Chemical Precipitation. - Sketch a flow diagram of primary treatment of wastewater. - Demonstrate the role of screeners, grit chambers, and skimming tanks, employed in preliminary screening. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Module | Wastewater Assessment and Treatment |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Testing/Determination of Biochemical Oxygen Demand (BOD) by Monometric Pressure Measurement Method - Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method - Testing/Determination of Oil and Grease in Wastewater - Determine flow discharge measurement of wastewater - Determine wastewater treatment processes - Demonstrate Sewage Treatment Plant |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Perform required pre-treatment of the sample. |  |  |
| - Select the specific range and required volume of the sample for BOD incubation. |  |  |
| - Prepare 100ppm COD Standard |  |  |
| - Select the COD range, and digest the sample |  |  |
| - Record the results on equipment and report it with proper units |  |  |
| - Perform Calibration the DO Meter |  |  |
| - Record the DO of the sample with proper units |  |  |
| - Extract the Oil from given sample and measure the concentration. |  |  |
| - Analyze given sample for TSS and Calculate it using appropriate formula |  |  |
| - Demonstrate the measurement of Total discharge of stream |  |  |
| - Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 40 seconds and the stream had a sandy bottom. The width and length of the stream is 4.79 ft. and 7.42ft respectively. |  |  |
| - If the distance covered by an object is 15 feet and Float time is 20 seconds. Calculate the velocity of an object. |  |  |
| - Demonstrate the composition of the wetlands and its functioning with horizontal and vertical at laboratory level. |  |  |
| - Demonstrate the Abiotic mechanisms of treatment process. |  |  |
| - Identify the parts of dissolved air flotation equipment and chemicals added to enhance the flocculation before floating. |  |  |
| - Sketch a flow diagram and identify four applications of DAF process. |  |  |
| - Identify major components and processes of Sewage treatment system. |  |  |
| - Identify the three stages of Chemical Precipitation. |  |  |
| - Sketch a flow diagram of primary treatment of wastewater. |  |  |
| - Demonstrate the role of screeners, grit chambers, and skimming tanks, employed in preliminary screening |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Wastewater Assessment and Treatment |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Testing/Determination of Biochemical Oxygen Demand (BOD) by Monometric Pressure Measurement Method - Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method - Testing/Determination of Oil and Grease in Wastewater - Determine flow discharge measurement of wastewater - Determine wastewater treatment processes - Demonstrate Sewage Treatment Plant |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Perform required pre-treatment of the sample. |  |  |  |  |  |
|  | Select the specific range and required volume of the sample for BOD incubation. |  |  |  |  |  |
|  | Prepare 100ppm COD Standard |  |  |  |  |  |
|  | Select the COD range, and digest the sample |  |  |  |  |  |
|  | Record the results on equipment and report it with proper units |  |  |  |  |  |
|  | Perform Calibration the DO Meter |  |  |  |  |  |
|  | Record the DO of the sample with proper units |  |  |  |  |  |
|  | Extract the Oil from given sample and measure the concentration. |  |  |  |  |  |
|  | Analyze given sample for TSS and Calculate it using appropriate formula |  |  |  |  |  |
|  | Demonstrate the measurement of Total discharge of stream |  |  |  |  |  |
|  | Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 40 seconds and the stream had a sandy bottom. The width and length of the stream is 4.79 ft. and 7.42ft respectively. |  |  |  |  |  |
|  | If the distance covered by an object is 15 feet and Float time is 20 seconds. Calculate the velocity of an object. |  |  |  |  |  |
|  | Demonstrate the composition of the wetlands and its functioning with horizontal and vertical at laboratory level. |  |  |  |  |  |
|  | Demonstrate the Abiotic mechanisms of treatment process. |  |  |  |  |  |
|  | Identify the parts of dissolved air flotation equipment and chemicals added to enhance the flocculation before floating. |  |  |  |  |  |
|  | Sketch a flow diagram and identify four applications of DAF process. |  |  |  |  |  |
|  | Identify major components and processes of Sewage treatment system. |  |  |  |  |  |
|  | Identify the three stages of Chemical Precipitation. |  |  |  |  |  |
|  | Sketch a flow diagram of primary treatment of wastewater. |  |  |  |  |  |
|  | Demonstrate the role of screeners, grit chambers, and skimming tanks, employed in preliminary screening |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Wastewater Assessment and Treatment |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define the working principle of BOD Measurement |  |  |
|  | Write any 2 pre-treatments required for BOD Test. |  |  |
|  | Define the factors affect the Dissolved oxygen level of water |  |  |
|  | Define Activated sludge and its disposal |  |  |
|  | Write any two functions of flotation and flocculation chamber. |  |  |
| 777 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________