Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Apply Hydro kinematic Principles |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Determine coefficient of discharge using venture meter. - Calculate energy losses in pipe flow. - Determine hydraulic Co-efficient for circular orifices - Calculate hydraulic and energy gradient for pipe lines. - Calculate flow in open channels. - Calculate flow through Vee and Trapezoidal Notch - Calculate flow through weirs |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Determine coefficient of discharge using venture meter - Check dimensions of venture meter and water tank. - Calculate at inlet and throat - Open inlet valve and take piezometer readings - Measure the head. - Calculate actual discharge. - Calculate theoretical discharge. - Calculate the coefficient of discharge using formulae. Calculate energy losses in pipe flow. - Identify the apparatus. - Open valve and pass water through pipe. - Check piezometric readings - Draw hydraulic grade line. Determine hydraulic Co-efficient for circular orifices - Identify the orifice and adjust with the apparatus - Set constant head in the tank - Measure horizontal and vertical coordinates - Find actual discharge by using a container and stop watch - Use formulae to calculate coefficient of velocity and discharge Calculate hydraulic and energy gradient for pipe lines. - Prepare pipeline design charts using standard formulae. - Identify the limitations of formulae. - Identify variations in roughness coefficients. - Calculate the pressure in pipeline systems using the hydraulic gradient line. - Calculate the pipe discharge from reservoirs. Calculate flow in open channels. - Identify methods used for measuring flows in open channels. - Identify instruments to be used - Use formulae for calculating flows in open channels. - Find the velocity by current meter and velocity rod - Find discharge. Calculate flow through Vee and Trapezoidal Notch. - Identify the methods used for measuring flows in notches. - Calculate area of notch. - Measure head of water over the notch. - Use the formulae for calculating flow in notches. Calculate flow through weirs - Identify the methods used for measuring flows in notches. - Calculate area of weirs - Measure head of water over the weirs - Use the formulae for calculating flow in weirs |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Apply Hydro kinematic Principles |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Determine coefficient of discharge using venture meter. - Calculate energy losses in pipe flow. - Determine hydraulic Co-efficient for circular orifices - Calculate hydraulic and energy gradient for pipe lines. - Calculate flow in open channels. - Calculate flow through Vee and Trapezoidal Notch - Calculate flow through weirs |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check dimensions of venture meter and water tank. |  |  |
| - Calculate at inlet and throat |  |  |
| - Open inlet valve and take piezometer readings |  |  |
| - Measure the head. |  |  |
| - Calculate actual discharge. |  |  |
| - Calculate theoretical discharge. |  |  |
| - Calculate the coefficient of discharge using formulae |  |  |
| - Identify the apparatus. |  |  |
| - Open valve and pass water through pipe. |  |  |
| - Check piezometric readings |  |  |
| - Draw hydraulic grade line |  |  |
| - Identify the orifice and adjust with the apparatus |  |  |
| - Set constant head in the tank |  |  |
| - Measure horizontal and vertical coordinates |  |  |
| - Find actual discharge by using a container and stop watch |  |  |
| - Use formulae to calculate coefficient of velocity and discharge |  |  |
| - Prepare pipeline design charts using standard formulae. |  |  |
| - Identify the limitations of formulae. |  |  |
| - Identify variations in roughness coefficients. |  |  |
| - Calculate the pressure in pipeline systems using the hydraulic gradient line. |  |  |
| - Calculate the pipe discharge from reservoirs. |  |  |
| - Identify methods used for measuring flows in open channels. |  |  |
| - Identify instruments to be used |  |  |
| - Use formulae for calculating flows in open channels. |  |  |
| - Find the velocity by current meter and velocity rod |  |  |
| - Find discharge |  |  |
| - Identify the methods used for measuring flow in notches. |  |  |
| - Calculate area of notch. |  |  |
| - Measure head of water over the notch. |  |  |
| - Use the formulae for calculating flow in notches. |  |  |
| - Identify the methods used for measuring flow in notches. |  |  |
| - Calculate area of weirs |  |  |
| - Measure head of water over the weirs |  |  |
| - Use the formulae for calculating flow in weirs |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Apply Hydro kinematic Principles |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Determine coefficient of discharge using venture meter. - Calculate energy losses in pipe flow. - Determine hydraulic Co-efficient for circular orifices - Calculate hydraulic and energy gradient for pipe lines. - Calculate flow in open channels. - Calculate flow through Vee and Trapezoidal Notch - Calculate flow through weirs |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check dimensions of venture meter and water tank. |  |  |  |  |  |
|  | Calculate at inlet and throat |  |  |  |  |  |
|  | Open inlet valve and take piezometer readings |  |  |  |  |  |
|  | Measure the head. |  |  |  |  |  |
|  | Calculate actual discharge. |  |  |  |  |  |
|  | Calculate theoretical discharge. |  |  |  |  |  |
|  | Calculate the coefficient of discharge using formulae |  |  |  |  |  |
|  | Identify the apparatus. |  |  |  |  |  |
|  | Open valve and pass water through pipe. |  |  |  |  |  |
|  | Check piezometric readings |  |  |  |  |  |
|  | Draw hydraulic grade line |  |  |  |  |  |
|  | Identify the orifice and adjust with the apparatus |  |  |  |  |  |
|  | Set constant head in the tank |  |  |  |  |  |
|  | Measure horizontal and vertical coordinates |  |  |  |  |  |
|  | Find actual discharge by using a container and stop watch |  |  |  |  |  |
|  | Use formulae to calculate coefficient of velocity and discharge |  |  |  |  |  |
|  | Prepare pipeline design charts using standard formulae. |  |  |  |  |  |
|  | Identify the limitations of formulae. |  |  |  |  |  |
|  | Identify variations in roughness coefficients. |  |  |  |  |  |
|  | Calculate the pressure in pipeline systems using the hydraulic gradient line. |  |  |  |  |  |
|  | Calculate the pipe discharge from reservoirs. |  |  |  |  |  |
|  | Identify methods used for measuring flows in open channels. |  |  |  |  |  |
|  | Identify instruments to be used |  |  |  |  |  |
|  | Use formulae for calculating flows in open channels. |  |  |  |  |  |
|  | Find the velocity by current meter and velocity rod |  |  |  |  |  |
|  | Find discharge |  |  |  |  |  |
|  | Identify the methods used for measuring flow in notches. |  |  |  |  |  |
|  | Calculate area of notch. |  |  |  |  |  |
|  | Measure head of water over the notch. |  |  |  |  |  |
|  | Use the formulae for calculating flow in notches. |  |  |  |  |  |
|  | Identify the methods used for measuring flow in notches. |  |  |  |  |  |
|  | Calculate area of weirs |  |  |  |  |  |
|  | Measure head of water over the weirs |  |  |  |  |  |
|  | Use the formulae for calculating flow in weirs |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Apply Hydro kinematic Principles |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define hydro kinematics |  |  |
|  | Distinguish path lines and stream lines. |  |  |
|  | Distinguish the type of flow in pipes i.e. steady and unsteady flow, uniform and non-uniform flow, turbulent flow. State the term hydrodynamics. State the energies of liquid in motion. |  |  |
|  | State the total head of flowing liquid and total energy. |  |  |
|  | Explain Bernoulli's theorem with its formula, limitations and practical application i.e., venture meter & pipit tube. . |  |  |
|  | State and explain difference between flow through pipes and open channel flow |  |  |
|  | Distinguish types of flow in pipes i.e. steady and unsteady flow, uniform and non-uniform flow, turbulent flow. |  |  |
|  | Explain the major and minor losses of head of water flowing through pipes. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________