National Vocational Certificate Level 3 in

“Water Quality and Resource Management” (Water Quality Surveyor)

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

Introduction	5

a.	Definition/Description of training program	5

b.	Purpose of the training program:	5

c.	Overall objectives of training program:	5

d.	Competencies to be gained after completion of course:	6

e.	Possible available job opportunities, available immediately and later in the future:	7

f.	Trainee entry level:	8

g.	Minimum qualification of trainer:	9

h.	Recommended trainer: trainee ratio	9

i.	Medium of instruction i.e. language of instruction:	9

j.	Duration of the course (Total time, Theory & Practical time):	10

k.	Sequence of modules:	10

Summary template-overview of the curriculum:	11

Module 1021CS-031.	Perform Pre Sampling Operations	15

Module 1021CS-032.	Perform Collection of Samples (Ground Water)	19

Module1021CS-033.Perform Water Quality Sampling (Surface Water)	22

Module 1021CS-034.	Collect Water Quality Samples for Quality Control	27

Module 1021CS-035.	Perform on site Field Testing	30

Module 1021CS-036.	Store and transport the samples to laboratory	34

Module 1021CS-037 Module: Demonstrate the regulatory requirements for water and wastewater quality	36

Module 1021CS-038 Module: Identify the requirements of national policies on water and environment	39

Module: 1021CS-039.  Perform Testing of pH by pH Meter	39

Module: 1021CS-040.  Testing of Electrical Conductivity (EC) by EC Meter	45

Module: 1021CS-041.  Perform Testing of Turbidity by Turbidity Meter	50

Module 1021CS-042: Perform Testing of Calcium & Magnesium by EDTA Titrimetric Method	56

Module 1021CS-043: Perform Testing of Hardness by EDTA Titrimetric Method	60

Module 1021CS-044: Perform Testing of Alkalinity by Titrimetric Method	65

Module 1021CS-45: Perform Testing for Total Coliforms and Fecal Coliforms (Method-I)	71

Module 1021CS-46: Perform Testing for Total Coliforms and Fecal Coliforms (Method-II)	81

Module 1021CS-047.	Identify plumbing tools & equipment	88

Module 1021CS-048.Perform cutting, threading & reaming	90

Module 1021CS-049.Make water connection	91

Module 1021CS-050.	Layout for domestic water supply	94

Module 1021CS-051. Join pipes & fittings	96

Module 1021CS-052. Install plumbing fixtures	100

Module 1021CS-053. Install & repair water pumps	108

Module 1021CS-054. Install turbine pumps	112

Module 1021CS-055. Prepare sketches of aqueducts & water pipes	114

Module 1021CS-056. Plan water distribution system	119

List of Tool & Equipment:	123

# Introduction

# Definition/Description of training program

Water quality and treatment is process that improves the quality of water to make it more acceptable for a specific end-use. The end use may be drinking, industrial water supply, irrigation, river flow maintenance, water recreation or many other uses, including being safely returned to the environment. Water treatment removes contaminants and undesirable components, or reduces their concentration so that the water becomes fit for its desired end-use. This treatment is crucial to human health and allows humans to benefit from both drinking and irrigation use.

In fact, no sphere of life may be identified that does not include the contribution of water technology. Thus, the importance of this diploma may be determined according to its usefulness in our daily life. Therefore, industry expectations for skilled workforce are also dynamic which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for water quality and treatment Technology under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representation from the leading department of water industry (WASA, PCSIR, PHED) of the country.

# Purpose of the training program:

The purpose of these qualification is to set high professional standards for Water Quality and Resource Management.

# Overall objectives of training program:

The Overall objectives of the training program are as under:

1.	Improve the professional competence of the trainees

2.	Provide opportunities for recognition of skills attained through non-formal or informal pathways

3.	 Improve the quality and effectiveness of training and assessment for automobile industry

4.	 Enable the existing workforce to capacitate themselves in new water technologies and method

# Competencies to be gained after completion of course:

At the end of the course, the trainee has attained the following core competencies:

- Perform Pre Sampling Operations

- Perform of Samples (Ground Water Collection)

- Perform Water Quality Sampling (Surface Water)

- Collect Water Quality Samples for Quality Control

- Perform on site Field Testing

- Store and transport the samples to laboratory

- Demonstrate the regulatory requirements for water and wastewater quality

- Identify the requirements of national policies on water and environment

- Perform Testing of pH by pH Meter

- Perform Testing of Electrical Conductivity (EC) by EC Meter

- Perform Testing of Turbidity by Turbidity Meter

- Perform Testing of Calcium & Magnesium by EDTA Titrimetric Method

- Perform Testing of Hardness by EDTA Titrimetric Method

- Perform Testing of Alkalinity by Titrimetric Method

- Perform Testing for Total Coliforms and Fecal Coliforms (Method-I)

- Perform Testing for Total Coliforms and Fecal Coliforms (Method-II)

- Identify plumbing tools & equipment

- Perform cutting, threading & reaming

- Make water connection

- Layout for domestic water supply

- Join pipes & fittings

- Install plumbing fixtures

- Install & repair water pumps

- Install turbine pumps

- Prepare sketches of aqueducts & water pipes

- Plan water distribution system

# Possible available job opportunities, available immediately and later in the future:

Possible Careers

- Water Hygiene Assistant

- Hydrology Assistant

- Water Quality Surveyor

- Water Works Supervisor

# Trainee entry level:

The entry levels of National Vocational Certificate Level-3 for “Water Quality and Resource Management” are given below:

| Title | Entry requirements |
| --- | --- |
| National Vocational Certificate Level-3 for “Water Quality and Resource Management” | National Vocational Certificate Level-1 & 2 for “Water Quality and Resource Management” |

# Minimum qualification of trainer:

    - Must be a holder of Level 5 Diploma in Civil Technology/ Water Quality and Resource Management with at least 2 years relevant experience

OR

    - BSc (4 years) in Chemistry or equivalent

OR

    - BSc Engineering Technology (Civil) / B.E Civil /BSc Civil Engineering

# Recommended trainer: trainee ratio

The recommended maximum trainer: trainee ratio for this program is 1 trainer for 25 trainees.

# Medium of instruction i.e. language of instruction:

Instructions will be in Urdu/ English/ Local language.

Duration of the course (Total time, Theory & Practical time):

Proposed Course Duration -   600 Hrs

# Sequence of modules:

- Perform Pre Sampling Operations

- Perform of Samples (Ground Water Collection)

- Perform Water Quality Sampling (Surface Water)

- Collect Water Quality Samples for Quality Control

- Perform on site Field Testing

- Store and transport the samples to laboratory

- Demonstrate the regulatory requirements for water and wastewater quality

- Identify the requirements of national policies on water and environment

- Perform Testing of pH by pH Meter

- Testing of Electrical Conductivity (EC) by EC Meter

- Perform Testing of Turbidity by Turbidity Meter

- Perform Testing of Calcium & Magnesium by EDTA Titrimetric Method

- Perform Testing of Hardness by EDTA Titrimetric Method

- Perform Testing of Alkalinity by Titrimetric Method

- Perform Testing for Total Coliforms and Fecal Coliforms (Method-I)

- Perform Testing for Total Coliforms and Fecal Coliforms (Method-II)

- Identify plumbing tools & equipment

- Perform cutting, threading & reaming

- Make water connection

- Layout for domestic water supply

- Join pipes & fittings

- Install plumbing fixtures

- Install & repair water pumps

- Install turbine pumps

- Prepare sketches of aqueducts & water pipes

- Plan water distribution system

# Summary template-overview of the curriculum:

Following is the structure of the course:

| NVQF (Competency Standards) | Level | Category | Estimated Hours |  |  | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th. | Pr. | T H |  |
| Level 3 |  |  |  |  |  |  |
| 6. Water and Waste water Sampling and field Monitoring (Water Quality Surveyor) |  |  |  |  |  |  |
| Perform Pre Sampling Operations | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Perform Collection of Samples (Ground Water) | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Perform Water Quality Sampling (Surface Water) | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Collect Water Quality Samples for Quality Control | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Perform on site Field Testing | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Store and transport the samples to laboratory | 3 | Technical | 3 | 9 | 12 | 1.2 |
| Total |  |  | 18 | 54 | 72 | 7.2 |
| 7. Water Quality Standards and Guidelines |  |  |  |  |  |  |
| ## Demonstrate the regulatory requirements for water and wastewater quality | 3 | Technical | 10 | 20 | 30 | 3.0 |
| ## Identify the requirements of national policies on water and environment | 3 | Technical | 4 | 15 | 19 | 1.9 |
| Total |  |  | 14 | 35 | 49 | 4.9 |
| 8. Water and waste water Testing (Physico-chemical Parameter)-I |  |  |  |  |  |  |
| Perform Testing of pH by pH Meter | 3 | Technical | 6 | 14 | 20 | 2 |
| Perform Testing of Electrical Conductivity(EC) by EC Meter | 3 | Technical | 6 | 20 | 26 | 2.0 |
| Perform Testing of Turbidity by Turbidity Meter | 3 | Technical | 8 | 20 | 28 | 2.8 |
| Perform Testing of Calcium & Magnesium by EDTA Titrimetric Method | 3 | Technical | 10 | 35 | 45 | 4.5 |
| Perform Testing/Determination of Hardness by EDTA Titrimetric Method | 3 | Technical | 10 | 30 | 40 | 4.0 |
| Perform Testing/Determination of Alkalinity by Titrimetric Method | 3 | Technical | 10 | 30 | 40 | 4.0 |
| Total |  |  | 50 | 149 | 199 | 19.9 |
| 9. Water Quality Testing for Microbiological Contamination-I (Water Testing Technician (Microbiological) |  |  |  |  |  |  |
| Perform Testing for Total Coliforms and Fecal Coliforms (Method-I) | 3 | Technical | 18 | 35 | 53 | 5.3 |
| Perform Testing for Total Coliforms and Fecal Coliforms (Method-II) | 3 | Technical | 17 | 35 | 52 | 5.2 |
| Total |  |  | 35 | 70 | 105 | 10.5 |
| 10. Plumber |  |  |  |  |  |  |
| Identify plumbing tools & equipment | 3 | Technical | 5 | 10 | 15 | 1.5 |
| Perform cutting, threading & reaming | 3 | Technical | 5 | 15 | 20 | 2 |
| Make water connection | 3 | Technical | 5 | 15 | 20 | 2 |
| Layout for domestic water supply | 3 | Technical | 5 | 15 | 20 | 2 |
| Install plumbing fixtures | 3 | Technical | 5 | 15 | 20 | 2 |
| Install & repair water pumps | 3 | Technical | 5 | 15 | 20 | 2 |
| Install turbine pumps | 3 | Technical | 5 | 15 | 20 | 2 |
| Prepare sketches of aqueducts & water pipes | 3 | Technical | 5 | 15 | 20 | 2 |
| Plan water distribution system | 3 | Technical | 5 | 15 | 20 | 2 |
| Total |  |  | 45 | 130 | 175 | 17.5 |
| Grand Total |  |  | 162 | 438 | 600 | 60 |

National Vocational Certificate Level-3 for “Water Quality and Resource Management”

## Module 1021CS-031.	Perform Pre Sampling Operations

Objective: After the completion of this module, the Trainee will be able to develop skill and competence required to collect water samples in a professional manner.

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Demonstrate the Objectives of the Sampling | Trainee will be able to: - Establish the scope and objectives of sampling as per project/assessment objectives. - Identify the purpose for which the various types of samples will be collected - Review site files and field folders. (Site location, description and access, and review any previously collected physical, chemical, and biological data.) - Decide sampling design and sample size - Follow the standard methods for sampling . | - Define scope and objectives of sampling - Describe standard method for sampling - Decide sampling design and sample size Practical Activity: Demonstrate pre- sample operations | Theory- 1.5Hrs Practical- 02 Hrs Total- Hrs | - Standard operating procedures manual | Lab |
| LU2. Prepare sampling plan | Trainee will be able to: - Plan field visits and formulate sampling team - Make checklist for pre-sampling, sampling and post sampling preparations - Select Suitable Sampling Techniques (Grab, composite) - Select Sampling Bottles and Preservatives as per requirements of water quality test parameters - Check calibrations of field equipment to perform Accurate Field Measurements - Check Maps, distance measuring equipment, global positioning systems, or other location determining equipment; | - Describe sampling check list - Describe various sampling Techniques - Nam the sample preservatives used Practical Activity: Calibrate the field instruments | Theory- 0.5 Hrs Practical-2 Hrs Total- Hrs | - Personal protective equipment - Map of the sites | Lab |
| LU3. Identify Types of Water samples, preservation and labeling | - Type A – All sites –in sterilized 200 ml sampling bottles; fro microbiological analysis - Type B –All sites – with 2 ml/liter nitric acid as preservative for trace elements; - Type C –All sites – with 1 ml/100 ml, 1 M boric acid as preservative for nitrate; - Type D –All sites – no preservative for other water quality parameters; - Type E – Surface and drain water – in plastic bottles for COD and BOD; and - Type F – Surface water– in glass bottles for Persistent Organic Pollutan P7. Label the sampling bottles with - The site code. a. The parameter(s) to be measured. b. The date of collection. c. A unique sample number. | - Define the purpose of preservatives - Which type of sample is used for Microbiological analysis - Which preservative is used for trace metals Practical Activity: Demonstrate the sample bottles for sample type coding and preservative | Theory- 0.5 Hrs Practical-2 Hrs Total- Hrs | - Polystyrene bottles of 0.5 and 1.5 liter capacities - pre sterilized bottles for Microbiological samples - Preservatives |  |
| LU4. Observe the Site Details | - Document all the information regarding location, depth, type, number of users, and anything unusual/notable around the sampling site/source. - Consider physical characteristics of the area, such as size and shape, land use, tributary and runoff characteristics, geology, - point and nonpoint sources of contamination, hydraulic conditions, climate, water depth for surface water sampling - Document Physical and meteorological conditions at time of sample collection. - Ensure Signatures or initials of appropriate field personnel. - Filled out fully at each site before moving to the next site. | - Describe the onsite information around the sampling location - Described the notable physical characteristics of the area - Describe point and nonpoint sources of contamination | Theory- 0.5Hrs Practical- 03Hrs Total- Hrs | - Water Sampling Questionnaire - GPS - Water Sampler - Hand washer | Field |

## Module 1021CS-032.	Perform Collection of Samples (Ground Water)

Objective: After the completion of this module, the Trainee will be able to  Collect sample for chemical analysis and Microbiological analysis from ground water.

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Collect sample for chemical analysis | - Follow fallowing and precautionary measures while collecting samples from the field. - Select an un-rusted tap while collecting water sample/s from water supply line/consumer end. Clean the tap properly and allowed to flow for a few minutes before collection of sample. - Collect the water sample from a tube well after allowing it to flow for at least 10 minutes to get representative sample of the groundwater. Record the depth of groundwater level. - Collect the water samples from a distribution network from the source of supply (tube well) as close as possible, to minimize the effects of pollution in the distribution system; and from consumer end (tap) to evaluate the actual quality of water being used. Fill all the water sampling bottles slowly to avoid turbulence and air bubbles, after flushing the system for sufficient time. - Hand Pump/Dug Well: Collect the water sample from a selected hand pump or dug well after purging, making one stroke for every foot of depth (a hand pump or dug well having 30 feet of depth, needs 30 strokes for its purging). | - Describe the precautionary measures while collecting the sample - Describe the procedure while collecting sample from Tube well Practical Activity: Demonstrate the water sample collection from Hand Pump | Theory- 1.5Hrs Practical- 06 Hrs Total- Hrs | - Preservatives - Sample bottles - Permanent marker - Hand washer - Personal Protective equipment PPE | Field |
| LU2. Collect sample for Microbiological analysis | - Collect the water samples for microbiological analysis in clean, sterile plastic bottles (200 ml). - Ensure that no accidental contamination occurs during sampling. - Take Samples from those taps, which were not leaking between the spindle and gland to avoid outside contamination. - P3. Kept the samples cool (in ice box) and in dark during transportation to designated laboratory. Where there a proper place was available, - P4.Analyse the samples just after collection by field testing method. | - Describe the collection of water sample for Microbiological testing Microbiological testing - Describe the storage and transportation of microbiological samples Practical Activity: Demonstrate the water sample collection of water sample for microbiological sample | Theory- 0.5 Hrs Practical-3 Hrs Total- Hrs | - Preservatives - Sample bottles - Permanent marker - Hand washer - Personal Protective equipment PPE | Field |

## Module1021CS-033.Perform Water Quality Sampling (Surface Water)

Objective: After the completion of this Module, the Trainee will be able to  Collect sample of surface water

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare work area | - Determine the extent of the sampling effort, the sampling methods to be employed, and which equipment and supplies are needed. - Obtain necessary sampling and monitoring equipment. - Decontaminate or pre clean equipment, and ensure that it is in working order | - Describe the surface water sampling procedure - Enlist the necessary sampling equipment required for surface water sampling Practical Activity: Demonstrate the decontamination and pre cleanliness of equipment’s | Theory- 1.0Hrs Practical- 03 Hrs Total- Hrs | - Preservatives - Sample bottles - Permanent marker - Hand washer - Personal Protective equipment PPE | Field |
| LU2. Take Direct Sample | - Ensure that labeling on the bottle to be filled is correct and that the sample number matches the number on the paperwork (field observation form). - Take the sample from the bank, or wade into the water in waders or boots, minimizing disturbance as much as possible. - Don’t uncap the bottle until just before the sample is to be taken. - When filling the bottle (both for rinsing and for the final sample) take the sample upstream and to the side of you. - Uncap the bottle to be filled, immerse the bottle in the water (to a depth of ~15cm) lying it flat with its mouth towards the flow of the water, then slowly move the bottle forwards into the flowing water. - If rinsing is required (make sure you check the standard operating procedure) allow approximately 20 mL of water to enter the bottle. Cap, shake well andpour the rinsate downstream of yourself. - Repeat twice so the bottle is rinsed a total of three times (if required). - Then fill the bottle, again upstream and to the side of yourself at a depth of~15 cm, moving it slowly forwards through the water to the required level (generally the shoulder of the bottle, but always check the sampling and analysis plan). Cap, and store the sample container as required for transport to the laboratory. - If bottles contain preservatives (i.e. for metal analysis), they must not be rinsed and should be filled by decanting from another, rinsed | - Define direct sampling - Describe rinsing of bottles Practical Activity: Demonstrate the water sample collection of stream | Theory- 1.0 Hrs Practical-3 Hrs Total-10.3 Hrs | - Surface water sampler - Auto sampler - Sample collection bottles - Sample bottle preservatives | Field |
| LU3. Take Grab sample | - . Ensure that labelling on bottle to be filled is correct and that the sample number matches the number on the paperwork (field observation form). - Check that the grab sampler is clean; this should be done at the completion of each day’s sampling, normally by simply rinsing in tap water. - Extend the grab sampler so that it will reach to the point that you wish to sample. - Carefully lower the grab sampler into the water with the mouth of the bottle facing upstream into the flow of water to a depth of ~15 cm. Keep the bottle moving forward into the flow of water while it is filling - Allow the bottle to partially fill, take it out of the water, swirl around, and tip out rinsate downstream of sampling site. - Repeat twice so that the grab sampler has been rinsed three times. - Then, fill the grab sampler at a depth of ~15 cm, with the mouth of the bottle facing upstream, slowly moving the bottle forward into theflow of water. - Use this sample to rinse the labelled sample container three times using the same procedure as for taking a direct sample. - Then, fill the rinsed, labelled sample container from the grab sample bottle. It may be necessary to refill the grab sample bottle to obtain enough water to fill the sample container. If this is necessary, recap the sample container between top-ups. Fill the sample container to therequired level (generally the shoulder,but check the sampling and analysis plan, as this may vary). - Take care not to touch the opening of the sample container with any part of the grab pole bottle or your hands as this can easily introduce contaminants to the sample. - If the sample container contains a preservative, be careful when filling to prevent any splash back. - Cap (tightly) and store the sample container as required for transport to the laboratory. | - Define the grab sampling - Describe the precautionary measure required during grab sampling Practical Activity: Demonstrate collection of grab sample | Theory- 1.0 Hrs Practical-3 Hrs Total- Hrs | - Sample collection bottles - Sample bottle preservatives - Grab Sampler | Field |

## Module 1021CS-034.	Collect Water Quality Samples for Quality Control

Objective: After the completion of this Module, the Trainee will be able to  Collect sample for quality control purpose to ensure the sampling accuracy

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare Field blank | - Take, extra labeled, empty containers for field blanks - Take suitable preservative - Filled containers with distilled deionized - Closed The bottle and handle the contents same as real samples during transfer and storage - label the sample as QC sample | - Describe purpose of field blank sample - Describe the field blank sample preparation Practical Activity: Demonstrate the field blank sample preparation | Theory- 1.5Hrs Practical- 06 Hrs Total- Hrs | - Deionized Water - Sample bottles - Permanent marker - Hand washer - Personal Protective equipment PPE | Field |
| LU2. Collect Replicate samples | - Take at least two but preferably three samples simultaneously - Select same site, date, time, depth, matrix and method to establish the reproducibility of sampling. - Label the sample as QC Sample | - Describe purpose of replicate samples - Describe the procedure of replicate sample collection Practical Activity: Demonstrate the replicate samples collection | Theory- 1.5 Hrs Practical-3 Hrs Total- Hrs | - Sample collection bottles - preservatives | Field |

## Module 1021CS-035.	Perform on site Field Testing

Objective: After the completion of this Module, the Trainee will be able to  perform the calibration and onsite field testing using the field equipments

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform Pre-field calibration of Equipment’s | - Be familiar with the contents of the operating manual for that specific instrument - Calibration must be undertaken as per the instrument manufacturer’s instructions - Make sure that the calibrating standards have not been expired. - Perform calibration using standards in the range of values expected to be encountered in the field. - Perform and record calibration before the start of a field trip, and should be checked at the conclusion of each field trip. - Calibrate/standardize the instrument with the calibrating standards as per the manufacturer instruction | - Define calibration - Describe the purpose of the calibration of field equipment’s - Enlist the field equipment’s Practical Activity: Demonstrate the calibration of the Electrical conductivity meter | Theory- 0.5Hrs Practical- 02 Hrs Total- Hrs | - Deionized Water - Portable Electrical Conductivity Meter - Portable pH Meter - Portable Dissolve Oxygen (DO) Meter - Calibrating standards - EC, pH standards - Ice box | Field |
| LU2. Perform pH | - Rinse the conductivity cell with at least three portions of the sample. - Immerse the conductivity cell containing the electrodes in a sufficient volume of the sample for the liquid level to be above the vent holes in the cell. There should be no air bubbles clinging to the electrodes and the cell should not be closer than 2 cm to the sides and bottom of the container. - Turn the meter on. Follow the manufacturer’s operating instructions and record the meter reading. - Turn the meter off and pack it and the electrode in the carrying | - Define pH - Describe the basic principal of the pH meter Practical Activity: Demonstrate the calibration of the pH meter | Theory- 0.5 Hrs Practical-2 Hrs Total- Hrs | - Portable pH Meter - Calibrating standards - Manufacturer manual | Field |
| LU3.Perform Electrical conductivity | - Rinse the conductivity cell with at least three portions of the sample. - Immerse the conductivity cell containing the electrodes in a sufficient volume of thesample for the liquid level to be above the vent holes in the cell. There should be no airbubbles clinging to the electrodes and the cell should not be closer than 2 cm to the sides and bottom of the container. - Turn the meter on. Follow the manufacturer’s operating instructions and record the meter reading. - Turn the meter off and pack it and the electrode in the carrying case for transport | - Define Electrical conductivity - Describe the basic principal of electrical conductivity Practical Activity: Demonstrate the calibration of the EC meter | Theory- 1.0Hrs Practical- 02 Hrs Total- Hrs | - Portable Electrical Conductivity Meter - Calibrating standards - Manufacturer manual | Field |
| LU4.Perform Testing of Dissolved Oxygen | - Perform Testing of Dissolved Oxygen Calibrate/standardize the instrument as per the manufacturer instruction - Rinse the electrode in a portion of the sample which is to be analyzed for dissolved oxygen. - Immerse the electrode in the water, ensuring a continuous flow of water past the membrane to obtain a steady response on the meter. - Record the meter reading and the temperature - Switch the meter off and pack it and the electrode in the carrying case for transport. | - Define the Dissolved Oxygen - In which unit DO reported | Theory- 1.0Hrs Practical- 03 Hrs Total- Hrs | - Manufacturer manual - Portable Dissolve Oxygen (DO) meter - Manufacturer manual | Field |

## Module 1021CS-036.	Store and transport the samples to laboratory

Objective: After the completion of this Module, the Trainee will be able to  store and transport the samples according to the required standards

Duration:  12 Hours			Theory: 3 Hours		Practice: 9  Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Store the samples | - Place the samples bottles in a box for transport to the laboratory. - Use insulated wooden or plastic boxes - Protect samples from sunlight, prevent the breakage of sample bottles, - Maintain the temperature of the box 4 °C - Use ice packs or coolants. | - Enlist the items required for storage of samples - State the recommended temperature for sample storage Practical Activity: Demonstrate the storage of samples | Theory- 1.5Hrs Practical- 06 Hrs Total- Hrs | - Ice box - Sample container | Field |
| LU2. Transport the sample | - Co-ordinate with the laboratory personnel’s. - Ensure that the samples will be delivered with in standard holding time - Let the analyst know the no. of samples - Coordinate the time of arrival of the samples - Communicate the results of any measurements completed in the field. | - State the standard holding time of water samples Practical Activity: Demonstrate packing of water samples for transportation | Theory- 1.5 Hrs Practical-3 Hrs Total- 4.5Hrs | - Ice box - Sample container | Field |

101

## Module 1021CS-037 Module: Demonstrate the regulatory requirements for water and wastewater quality

Objective: After the completion of this module, the trainee will be able to interpret water quality test data for different applications such as drinking, irrigation, and wastewater.

Duration: 30 Hours			Theory:  10 Hours		Practice:  20 Hours                  Credit Hours:  3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify the requirements of water/wastewater quality standards | Trainee will be able to understand the requirements of: - National water quality standards - National environmental quality standards, - USEPA drinking water standards, - WHO Drinking water guidelines, - Surface water and irrigation water quality - Standards/permissible limits. | Enlist different water quality standards/guidelines. Practical Activity: Prepare a comparison table for standards/guidelines to identify difference of permissible limits | Theory-5 Hrs Practical-10 Hrs Total-15 Hrs | - Published standards and guidelines | Class Room Training Workshop |
| LU2. Identify the usage of water quality standards and guidelines | Trainee will be able to get familiarize and apply the requirements of below standards: - National drinking water quality standards of Pakistan, - National Environmental Quality Standards, - USEPA drinking water standards, - WHO Drinking water guidelines, - Surface water and irrigation water quality standards/permissible limits. - Interpretation of water quality data of major cities comparing with standards - Generating the technical report applying water quality standards on the test data | - Compare the permissible limits of different physico-chemical and biological parameters recommended by different national/international standard and guidelines. - Explain the requirements of drinking water quality in relation to different standards/guidelines - Describe the regulatory requirements for disposal of industrial wastewater - Explain the irrigation water quality requirements for agricultural applications. - Use the analytical data of different cities and describe how data is interpreted using different water quality standards. Practical Activity: Interpret the test data of a city comparing with different drinking water standards/guidelines and generate the summary report. | Theory-5 Hrs. Practical-10 Hrs. Total-15 Hrs. | - Copies of the published standards and guidelines - Water quality test data of cities | Class Room |

## Module 1021CS-038 Module: Identify the requirements of national policies on water and environment

Objective: After the completion of this module, the trainee will be able to develop skill and competence required to get up-to-date knowledge and enhanced capacity in adopting different water and waste water quality standards and test data interpretation.

Duration:  19 Hours			Theory:  4 Hours		Practical: 15 Hours                  Credit Hours:  1.9

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify the requirements of different national policies | Trainee will be able to understand: - Pakistan’s National Water Policy - Pakistan’s National Environmental Policy - Pakistan’s National Sanitation Policy - Pakistan’s National Climate Change Policy | - Enlist different national level water/environment policies and their objectives - Summarize the policy requirements for drinking water - Explain the capacity building requirements of national water policy - Summarize the policy requirements for environment in Pakistan - Explain the capacity building requirements of national environmental policy - Summarize the policy requirements for Sanitation in Pakistan - Explain the capacity building requirements of national Sanitation policy - Summarize the policy requirements for climate change issues in Pakistan - Explain the capacity building requirements of national climate change policy Practical Activity: Prepare a comparison table indicating the commonalities in national water, environment, sanitation and climate change policies | Theory-2 Hrs Practical-8 Hrs Total- 10 Hrs | - Copies of all national policies approved documents | Class Room |
| LU2. Identify and understand the common topics in all national policies | Trainee will be able to identify the differences and similarities of the national level policies listed below: - Pakistan’s National Water Policy - Pakistan’s National Environmental Policy - Pakistan’s National Sanitation Policy - Pakistan’s National Climate Change Policy | - Explain the role of water supply agencies for compliance to national water policy. - Define the safe and unsafe environment in relation to national water policy. - Describe the requirements for disposal of industrial and municipal effluents. - Enlist the technologies for climate change adaptation Practical Activity: - Summarize what actions are taken in Pakistan in order to reduce climate change impacts. | Theory-2 Hrs Practical-7 Hrs Total-9 Hrs | - Internet access - Library access - PC/Laptop | Class Room Library |

## Module: 1021CS-039.  Perform Testing of pH by pH Meter

Objective: After the completion of this module, the trainee will be able to prepare samples for laboratory testing of pH, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 20 Hours			Theory: 6 Hours		Practice: 14 Hours                  Credit Hours:  2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples and Solutions for pH testing | Trainee will be able to: - Check the sample label for the requirement of pH testing. - Maintain the Laboratory room temperature at 25 °C through heating or cooling whatever required - Keep the sample at room temperature for few minutes. - Prepare pH buffer solution. - Identify appropriate test method, equipment and safety requirements. | - Define the pH Describe the pH range - Describe the permissible limit of pH for drinking water - Describe the optimum temperature required for pH testing Practical Activity: Prepare sample and buffer solution for pH testing | Theory-02 Hrs Practical-03 Hrs Total- 05 Hrs | - Water Sample - pH buffers chemicals for pH 4, 7 & 10 - Deionized water - Glass ware | Chemical Laboratory/Class Room |
| LU2. Prepare equipment for laboratory testing | Trainee will be able to: - Set up pH meter and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Check the calibration status of pH meter. Perform calibration if required. | - Understand the standard operating procedure for testing - Describe the calibration of pH meter Practical Activity: Calibrate the pH meter for water testing | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | - pH meter with electrode - pH buffer solutions 7,10 - Deionized water - Glassware | Chemical Laboratory/Class Room |
| LU3. Perform pH tests of samples | - Turn on the instrument and give it 5 minutes warm up time and press the desired mode of measurement. - Rinse the electrode with deionized water and check the calibration by running known buffers of pH (4.00, 7.00, and/or 10.00). - Take 50 ml sample in a beaker, immerse the probe and stir it until instrument gives stable pH reading. - Analyze three replicates (3 readings per sample) - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Describe the working principal of pH meter. - Understand the purpose of stirring the sample during analysis Practical Activity: Analyze water sample for pH | Theory-01 Hrs Practical- 02 Hrs Total- 03 Hrs | - pH meter with electrode - Water Sample - pH buffer solutions 7,10 - Deionized water - Glassware | Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - pH meter is standardized by running known standard. - Method blank is analyzed after every 10 samples. - Laboratory Control samples of pH 7.05 analyzed with every batch of 10 samples. - Check repeatability by re-analyzing a pre-analyzed sample once a day. - Daily quality control data is recorded in QC Data sheet-I. - Results of laboratory control sample are regularly displayed in the form of control charts | - Define quality control practices. - Understand calibration verification Practical Activity: Analyze quality control samples for pH | Theory-01 Hrs Practical- 02 Hrs Total- 03 Hrs | - pH meter with electrode - pH buffer solutions 7,10 - Deionized water - Glassware | Chemical Laboratory/Class Room |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. | Define replicate analysis. Practical Activity: Record the results and finalize the work | Theory-1/2 Hrs Practical- 02 Hrs Total- 2.5 Hrs | - pH meter with electrode - Analyst work book with pen - Deionized water - Duster | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Ensure before taking any measurement that meter has been calibrated. - If the probe has been left dry, condition it in pH (7) solution at least for one hour to reactivate it. - Submerge the probe in the sample to be tested while stirring it gently. - If the measurements of different samples are taken successively rinse the probe tip thoroughly to eliminate cross contamination, after clearing rinse the probe tip with some of the sample to be measured. | - Describe the reactivation of electrode before analysis. - Understand the importance of rinsing of electrode during the analysis Practical Activity: Perform practical step to avoid cross contamination during the analysis of multiple samples | Theory-1/2 Hrs Practical- 02 Hrs Total- 2.5 Hrs | - pH meter with electrode - Water Sample - pH buffer solutions 7,10 - Deionized water - Glassware | Chemical Laboratory/Class Room |

## Module: 1021CS-040.  Testing of Electrical Conductivity (EC) by EC Meter

Objective: After the completion of this module, the Trainee will be able to Prepare samples for laboratory testing of Electrical Conductivity (EC), Perform tests on given samples by following proper quality control checks, record the and finalize the results and adopt precautions during the work.

Duration: 26 Hours			Theory: 6 Hours		Practice: 20 Hours                  Credit Hours:  2.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples and solutions for Electrical Conductivity (EC) testing | Trainee will be able to: - Check the sample label for the requirement of EC testing. - Maintain the Laboratory room temperature at 25 °C through heating or cooling whatever required. - Keep the sample at room temperature for few minutes. - Check for the availability of EC standard of concentration 1413 µS/cm. - Identify appropriate test method, equipment and safety requirements. | - Define the EC - Describe the permissible limit of EC for drinking water - Describe the optimum temperature required for EC determination Practical Activity: Prepare sample and EC standard for testing | Theory-02 Hrs Practical-04 Hrs Total- 06 Hrs | - Water Sample - EC standard of concentration 1413 µS/cm. - Deionized water - Glassware | Chemical Laboratory/Class Room |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up EC meter and/or reagents in accordance with the standard work instructions. - Conduct pre-use and safety checks. - Check the calibration status of equipment. Perform calibration if required. | - Understand the standard operating procedure for testing - Describe the calibration of EC meter Practical Activity: Calibrate the EC meter for testing of drinking water samples | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - EC meter with electrode - EC standard of 1413 µS/cm. - Deionized water - Glassware | Laboratory |
| LU3. Perform tests on samples | - Turn on the instrument and give it 5 minutes warm up time. Press the desired mode of measurement. - Rinse the electrode with deionized water and check the calibration by running known EC standard of concentration 1413 µS/cm. - Take 50 ml-deionized water in a beaker, immerse the probe in it and stir the blank until the instrument gives stable EC reading. - Analyze three replicates (3 readings per sample) - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Describe the working principal of EC meter. - Understand the purpose of stirring the sample during analysis Practical Activity: Analyze water sample for Electrical Conductivity (EC) | Theory-01 Hrs Practical- 05 Hrs Total- 06 Hrs | - EC meter with electrode - Water Sample - EC standard of 1413 µS/cm. - Deionized water - Glassware | Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Electrical Conductivity meter is standardized by running known standard. - Method blank is analyzed after every 10 samples. - Laboratory Control samples of 1413 µS/cm analyzed with every batch of 10 samples. - check repeatability by re-analyzing a pre-analyzed sample once a day - Daily quality control data is recorded in QC Data sheet-I. - Results of laboratory control sample are regularly displayed in the form of control charts. | - Define quality control practices. - Understand calibration verification Practical Activity: Analyze quality control samples for EC | Theory-01 Hrs Practical- 03 Hrs Total- 04 Hrs | - EC meter with electrode - EC standard of 1413 µS/cm. - Deionized water - Glassware | Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. | Define replicate analysis. Practical Activity: Record the results and finalize the work | Theory-1/2 Hrs Practical- 02 Hrs Total- 2.5 Hrs | - EC meter with electrode - Analyst work book with pen - Deionized water - duster | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Before taking any measurement makes sure the meter has been calibrated. - Warm up instrument for 5 minutes before start working on it. - Rinse its probe properly with deionized water and select desired mode of working. - The presence of particulate matter in the sample can lead to unstable and non-reproducible results. If necessary filter, or allow the particles to settle prior to immersion. - If the measurements of different samples are taken successively rinse the probe tip thoroughly to eliminate cross contamination, after clearing rinse the probe tip with some of the sample to be measured | - Understand the importance of rinsing of electrode during the analysis Practical Activity: Perform practical step to avoid cross contamination during the analysis of multiple samples | Theory-1/2 Hrs Practical- 02 Hrs Total- 2.5 Hrs | - EC meter with electrode - Water Sample - EC standard of 1413 µS/cm. - Deionized water - Glassware | Laboratory |

## Module: 1021CS-041.  Perform Testing of Turbidity by Turbidity Meter

Objective: After the completion of this module, the Trainee will be able to prepare samples for laboratory testing of turbidity, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 28 Hours			Theory: 8 Hours		Practice: 20 Hours                  Credit Hours:  2.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Check the sample label for the requirement of Turbidity testing. - Keep the sample at room temperature for few minutes. - Check for the availability of Turbidity standard of10 NTU, otherwise prepare from 100 NTU Stock solution through dilutions as per requirements. - Identify appropriate test method, equipment and safety requirements. | - Define the Turbidity - Describe the permissible limits for Turbidity in drinking water - Define NTU Practical Activity: Prepare sample and standard solution for Turbidity | Theory-1.5 Hrs Practical-04 Hrs Total- 5.5 Hrs | - Water Sample - Turbidity standards, 10 &100 NTU - Deionized water - Glassware | Chemical Laboratory/Class Room |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up test equipment Turbidity meter and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Check the calibration status of equipment. Perform calibration if required. | - Understand the standard operating procedure for testing - Describe the calibration of Turbidity meter Practical Activity: Calibrate the Turbidity meter for testing drinking water | Theory-1.5 Hrs Practical-03 Hrs Total- 4.5 Hrs | - Turbidity meter with cuvet - Turbidity standards, 10 &100 NTU - Deionized water - Glassware | Class Room/Laboratory |
| LU3. Perform tests on samples | Trainee will be able to: - Turn the meter on by pressing specific key. - Rinse the cuvet with turbidity free water and shake the sample bottle gently. - Fill the cuvet up to the mark with thoroughly agitated sample. - Wipe the cuvet thoroughly with lint free tissue, to make the cuvet free of oil drift and fingerprints. - Shake vigorously. - Place the cuvet into the cell, the mark on the cuvet cap should point towards the LCD/screen. - Run the sample as per work instructions - The turbidity value will appear on the screen. - Analyze three replicates. (3 readings per sample) - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment | - Describe the working principal of Turbidity meter. - Define the phenomenon of scattering of light Practical Activity: Analyze water sample for Turbidity | Theory-1.5 Hrs Practical- 03 Hrs Total- 4.5 Hrs | - Turbidity meter with cuvet - Water Sample - Turbidity standards, 10 &100 NTU - Deionized water - Glassware | Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Turbidity meter is standardized by running known standard. - Method blank is analyzed after every 10 samples. - Laboratory Control samples of 10 NTU analyzed with every batch of 10 samples. - Check repeatability by re-analyzing a pre-analyzed sample once a day. - Daily quality control data is recorded in QC Data sheet-I. - Results of laboratory control sample are regularly displayed in the form of control charts | - Define quality control practices. - Understand calibration verification Practical Activity: Analyze quality control samples for Turbidity | Theory-1.5 Hrs Practical- 04 Hrs Total- 5.5 Hrs | - Turbidity meter with cuvet - Turbidity standards, 10 &100 NTU - Deionized water - Glassware | Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. | Define replicate analysis. Practical Activity: Record the results and finalize the work | Theory-01 Hrs Practical- 03 Hrs Total- 04 Hrs | - Turbidity meter with cuvet - Analyst work book with pen - Deionized water - Duster | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Rinse the cuvet with turbidity free water carefully. - Allow the sufficient time for bubbles to escape before securing the cap and do not over tighten the cap. - Shake the sample thoroughly before taking in cuvet because the debris and coarse sediments which settle out rapidly on the cuvet will give false results. - Tighten the cap of cuvet to the same degree each time. - Avoid the use of dirty and scratched or edged cuvet/ glassware. | - Define the turbidity free water - Describe the importance of shaking of sample before analysis Practical Activity: Perform practical step to avoid cross contamination/false results during the analysis of multiple samples | Theory-01 Hrs Practical- 03 Hrs Total- 04 Hrs | - Turbidity meter with cuvet - Water Sample - Turbidity standards, 10 &100 NTU - Deionized water - Glassware | Laboratory |

## Module 1021CS-042: Perform Testing of Calcium & Magnesium by EDTA Titrimetric Method

Objective: After the completion of this Module, the trainee will be able to develop skills and knowledge required for determination of Calcium (Ca) and Magnesium (Mg) in water by Titration method.

Duration:  45 Hours			Theory: 10 Hours		Practice:  35 Hours                  Credit Hours:  4.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Check the sample and environmental conditions required Ca & Mg testing - Recognize appropriate test method and Glassware and safety requirement - Prepare the Calcium Standard Solution for 10 or 100ppm from 1000ppm stock solution or as per requirement. | - Define the Permissible limit for Ca & Mg in drinking Water - Explain the preparation of 100ppm Calcium standard by dilution method - Enlist the glassware needed for Titration Practical Activity: Prepare the Calcium Standard of 100 ppm from 1000 ppm Stock Solution | Theory- 02 Hrs. Practical- 05 Hrs. Total- 07 Hrs. | - Auto-pipette - 1000 ppm Ca Stock Solution - Deionized water - Glass ware (Class A) | Class Room/lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Preparation of washing acid - Proper washing of all glassware with washing acid and deionized water - Set up the glassware and filling of burette with EDTA - Conduct Pre-use and safety checks. | - Explain the procedure of glassware washing - Enlist the glassware needed for Ca Titration Practical Activity: Prepare washing acid. | Theory- 02 Hrs. Practical- 05 Hrs. Total- 07 Hrs. | - 1000ppm Ca Standard - 0.01N EDTA - Auto-pipette - Hydrochloric acid - Glass ware (Class A) | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Prepare the sample for Titration - Maintain the pH (12) of the sample with 1M NaOH and addition of pinch of Murexide (ammonium purpurate) indicator. - Titrate the prepared sample against the EDTA (0.01 M) - Identify the sharp end point (from light pink to purple) - Calculate the results for Calcium concentration in the sample. - Analyzed Three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store glassware - Calculate Magnesium by using the formula Mg=(Hardness-2.5xCa)0.243 | - Explain the procedure of sample preparation for Ca test. - Define the basic principle of EDTA Titration for Calcium - state the starting and end point of titration - Calculate the calcium conc. for the - Explain the procedure of reagent storage and disposal of waste material. - Calculate the Magnesium (Mg) conc. for the given reading. Practical Activity: Demonstrate the analytical procedure for the measurement of Ca & Mg | Theory- 02 Hrs. Practical- 10 Hrs. Total- 12 Hrs. | - 1000 ppm Ca stock solution - 0.01N EDTA - Deionized water - 1M NaOH - Murexide indicator - Glass ware (Class A) | Class Room Lab |
| LU4. Perform quality control checks | Trainee will be able to: - Verification of EDTA concentration by titrating with known standards of Ca. - Method blank analysis after every 10 samples - Laboratory Control samples of 10 & 100ppm Calcium standard with every batch of 10 samples. - Check repeatability by reanalyzing a pre-analyzed sample once a day - Record of Daily quality control data in QC Data sheet - Generation of control charts. | - Enlist the QC checks involved in testing - Define the Lab Control Sample (LCS) - Explain repeatability - Elaborate the trend analysis of Control chart Practical Activity: Analyse the Quality Control samples for Ca and Mg | Theory- 01 Hrs. Practical- 05 Hrs. Total- 06 Hrs. | - 1000 ppm Ca stock solution - 0.01N EDTA - Deionized water - 1M NaOH - pH Meter - Murexide indicator - Glass ware (Class A) | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Describe the procedure for uncertainty measurement. - Define replicate analysis Practical Activity: Calculate the uncertainty of the results of analyzed sample | Theory- 02 Hrs. Practical- 05 Hrs. Total- 07 Hrs. | - Note book - Result record form - Calculator | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Trainee will be able to: - Use of 1M NaOH solution adjustment of pH of sample - Maintain the pH of the sample to 12. | - Explain why the pH of sample is maintained at 12 Practical Activity: Adjust the pH of the given sample | Theory- 01 Hrs. Practical- 05 Hrs. Total- 06 Hrs. | - Water Sample - 1M NaoH - pH Meter | Class Room Lab |

## Module 1021CS-043: Perform Testing of Hardness by EDTA Titrimetric Method

Objective: After the completion of this Module, the trainee will be able to develop skills and knowledge required for determination of Hardness in water by EDTA Titration method.

Duration:  40 Hours			Theory: 10 Hours		Practice:  30 Hours                  Credit Hours:  4.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Check the sample and environmental conditions required for analysis of Hardness - Recognize appropriate test method and Glassware and safety requirement - Prepare the Hardness Standard Solution | - Define the term ‘Hardness’ - Define the Permissible limit for Hardness in drinking Water - Enlist the glassware needed for Titration Practical Activity: Prepare the sample and buffer solution for hardness testing | Theory- 02 Hr. Practical- 05 Hrs. Total- 07 Hrs. | - Burette - Hardness Standard - Deionized water - Glass ware (Class A) - Auto-pipette | Class Room/lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Preparation of washing acid - Proper washing of all glassware with washing acid and deionized water - Set up the glassware and filling of burette with EDTA - Conduct Pre-use and safety checks. | - Explain the procedure of glassware washing - Enlist the chemicals and glassware needed for Hardness Titration Practical Activity: Prepare washing acid. | Theory- 02 Hrs. Practical- 05 Hrs. Total- 07 Hrs. | - Washing acid - Burette - Glass Beaker (Class A) - EDTA (0.01 M) - Deionized water - Auto-pipette | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Prepare the sample by taking 10 sample, 20ml deionized water, 1ml of Buffer inhibitor and small amount of EBT indicator in it and shake it till the indicator get dissolved and wine red color is produced. - Titrate the above solution against the EDTA (0.01 M) from the burette, EDTA solution till the sky blue color appeared (end point). - Multiply the EDTA burette reading with 100, to get the total hardness of the sample as per standard. - Analyze three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Explain the procedure of sample preparation for Hardness - Define the basic principle of EDTA Titration for Hardness - State the starting and sharp end point for titration Practical Activity: Demonstrate the water testing for hardness | Theory- 04 Hrs. Practical- 10 Hrs. Total- 14 Hrs. | - Burette - EDTA (0.01 M) - Buffer Inhibitor - Hardness Standard - Erichrome black T Deionized water - Wash Bottle - Glass Ware (Class A) Auto-pipette | Class Room Lab |
| LU4. Perform quality control checks | Trainee will be able to: - Verification of EDTA concentration by running known standard - Method blank analysis after every 10 samples - Laboratory Control samples must be analyzed with every batch of 10 samples. - Check repeatability by reanalyzing a pre-analyzed sample once a day - Record of Daily quality control data in QC Data sheet - Generation of control charts. | - Define Quality control practices - Define the Lab Control Sample (LCS) - Explain repeatability Practical Activity: Analyse the Quality Control samples for Hardness | Theory- 01 Hrs. Practical- 05 Hrs. Total- 06 Hrs. | - Hardness Standard - 0.01N EDTA - Deionized water - 1M NaOH - pH Meter - Murexide indicator - Glass ware (Class A) | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Describe the procedure for uncertainty measurement. - Define replicate analysis Practical Activity: Record the results on workbook and finalize the work | Theory- 01 Hrs. Practical- 03 Hrs. Total- 04 Hrs. | - Note book - Result record form - Calculator | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Trainee will be able to: - Conduct titration at near or room temperature - Always store the buffer inhibitor in amber color bottle. | - Explain why buffer inhibitor is stored in amber colored bottle Practical Activity: Demonstrate safe handling and storage of buffer solution | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs | - Amber colored bottle - Buffer inhibitor - pH meter | Class Room Lab |

## Module 1021CS-044: Perform Testing of Alkalinity by Titrimetric Method

Objective: After the completion of this module, the trainee will be able to develop skills and knowledge required for determination of Alkalinity in water by Titrimetric  method

Duration:  40 Hours			Theory: 10 Hours		Practice:  30 Hours                  Credit Hours:  4.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Check the sample and environmental conditions required for analysis of Alkalinity - Recognize appropriate test method and Glassware and safety requirement - Prepare the Hydrochloric acid (HCl) Solution | - Define the term ‘Alkalinity’ - Enlist the glassware needed for Titration Practical Activity: Prepare 0.02N HCl Solution | Theory- 01 Hr. Practical- 05 Hrs. Total- 06 Hrs. | - Burette - HCl - Deionized water - Glass ware (Class A) - Auto-pipette | Class Room/lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Preparation of washing acid - Proper washing of all glassware with washing acid and deionized water - Set up the glassware and filling of burette with HCl - Conduct standardization of 0.02N HCl against 0.05N Na2CO3 | - Explain the procedure of glassware washing - Identify the chemicals and glassware needed for Alkalinity Practical Activity: Standardize the 0.02N HCl with 0.05N Sodium Carbonate (Na2CO3) | Theory- 02 Hrs. Practical- 05 Hrs. Total- 07 Hrs. | - Washing acid - Burette - Glass Beaker (Class A) - HCl (0.02 N) - 0.05N Na2CO3 - Deionized water - Auto-pipette - Burette | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Prepare the sample by taking 10 sample, few drops of mixed indicator with the appearance of green color - Select the burette for low and high alkalinity range. 25 ml burette with 0.05ml resolution for titration, for low alkalinity less than 50mg/l 10ml burette with 0.02ml resolution - Titrate the prepared sample against 0.02N HCl with the change of color from green to light pink end point - The total Alkalinity is calculated by using following formula Alkalinity, mg CaCO3/L; - =; - A × N × 50000. - ml sample. Where: A = ml standard acid used N = Normality of the standard acid. - Analyze Three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. Clean and store equipment | - Describe the basic principle of Alkalinity Titration - Explain the steps involved in Titration procedure - State the formula for Alkalinity measurement Practical Activity: • Analyse the sample for Alkalinity | Theory- 04 Hrs. Practical- 10 Hrs. Total- 14 Hrs. | - Burette - Hydrochloric Acid solution (0.1N) - Hydrochloric Acid solution (0.02N) - Sodium carbonate solution (0.05N) - Bromocresol green + Methyl red (Mixed indicator) - Deionized water - Glass Ware (Class A) - Auto-pipette - Wash Bottle Auto-pipette | Class Room Lab |
| LU4. Perform Quality Control Checks | Trainee will be able to: - Method blank analysis after every 10 samples - Laboratory Control samples of 5 and 100 ppm must be analyzed with every batch of 10 samples. - Check repeatability by reanalyzing a pre-analyzed sample once a day - Record of Daily quality control data in QC Data sheet - Generation of control charts of the recorded data | - Define Quality control practices - Define the Lab Control (LCS) & Audit blind sample (ABS) - Explain repeatability Practical Activity: Analyze the Audit blind sample for Alkalinity | Theory- 01 Hrs. Practical- 05 Hrs. Total- 06 Hrs. | - Burette - Hydrochloric Acid solution (0.1N) - Hydrochloric Acid solution (0.02N) - Sodium carbonate solution (0.05N) - Bromocresol green + Methyl red (Mixed indicator) - Deionized water - Glass Ware (Class A) - Auto-pipette - Wash Bottle Auto-pipette | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Enlist the steps for uncertainty measurement. - Define replicate analysis Practical Activity: Record the results on workbook and finalize work | Theory- 01 Hrs. Practical- 03 Hrs. Total- 04 Hrs. | - Note book - Result record form - Calculator | Class Room Lab |
| LU6. Adopt the precautions during testing work | Trainee will be able to: - Drying of Sodium Carbonate before making solution at 250oC for 4 hours. - Titration must be done carefully and quickly to avoid loss of dissolved gasses during titration. - Dissolved gases can, directly or indirectly contribute to alkalinity; therefore the gases must neither be lost nor gained during sampling, storage and titration. | - Describe the condition required for Sodium Carbonate solution preparation - Define the contribution of dissolved gases in Alkalinity Practical Activity: Perform practical Step to avoid error during the analysis | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs | - Oven - Sodium Carbonate | Class Room Lab |

## Module 1021CS-45: Perform Testing for Total Coliforms and Fecal Coliforms (Method-I)

Objective: After the completion of this module, the Trainee will be able to develop skill and competence for the preparation of media, testing  and confirmation of Coliform, Fecal Coliform and  E-coli  using multiple tube fermentation technique (MPN method).

Duration:  53 Hours			Theory:  18 Hours		Practical:  35 Hours                  Credit Hours:  5.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare to undertake basic microbiological tests | Trainee will be able to: - Prepare sterile environment for undertaking tests. - Collect samples for microbiological examination in clean, sterile, non reactive borosilicate glass or plastic bottle. - Ensure that water sample is appropriate for the test requested. - When the sample is collected, leave ample air space in the bottle at least 2.5 cm to facilitate mixing by shaking before examination - Ice samples during transport to the laboratory if they cannot be processed within 1 hour after collection. - Maintain samples in the dark and keep cool with ice at < 8 oC but not frozen. - For coliforms and E-coli analyses, the holding time from collection to analysis is 30 hour. | - Understanding of sterile environment required for microbiology - Knowledge of sample collection and transportation under controlled environment Practical Activity: Demonstrate the sample collection and transportation procedures for microbiological analysis | Theory-2 Hrs Practical-3 Hrs Total-5 Hrs | - surgical mask - gloves - microbiological sample collection kit - coolants in ice cooler - microbiological sample collection sterile bottles - Safety Shoes | Microbiological Laboratory Field |
| LU2. Adopt recommended preparatory method for Coliform | Trainee will be able to: - Use commercially available media for detection of Coliforms following Multiple Tube Fermentation technique. - Prepare recommended media (Lauryl tryptose broth, LTB) double strength and single strength by weighing an amount as per supplier’s instructions using calibrated analytical balance as presumptive phase. - Use fifteen test tubes method for testing as per standard method. - Add inverted vial (durham tube) in each test tube or alternatively add 0.01 g/L bromocresol purple in media. - Prepare recommended media (brilliant green lactose bile broth (BGLB) for confirmed coliforms by weighing an amount as per supplier’s instructions using calibrated analytical balance as confirmed phase. - Add inverted vial (durham tube) in each test tube. - Close tubes with metal or heat resistant plastic caps. - Maintain pH of media after sterilization as per manufacturer’s instruction after sterilization. - Autoclave media and store all sterilized media in refrigerator as per standard before use. | - Enlist the different steps for media preparation - Describe the Multiple tube fermentation technique using fifteen test tube method - Describe the working of analytical balance - Describe the operation of Autoclave for wet sterilization of media Practical Activity: Demonstrate preparation of media for Total Coliforms and its sterilization using Autoclave | Theory-2 Hrs Practical-3 Hrs Total-5 Hrs | - surgical mask - gloves - Lauryl tryptose broth & Brilliant green lactose bile broth media - Test tubes - Durham tubes - Media dispenser - Analytical balance - Autoclave - Magnetic stirrer - pH meter - Media preparation bottles - De-ionized water - Bromocresol purple | Microbiological Laboratory |
| LU3. Adopt recommended preparatory method for Fecal Coliform | Trainee will be able to: - Use commercially available media for detection of fecal coliforms following Multiple Tube Fermentation technique. - Prepare recommended media (EC broth) for confirmation of fecal coliforms by weighing an amount as per supplier’s instructions using calibrated analytical balance. - Dispense media in fermentation tubes along with inverted fermentation tubes as per standards. - Close tubes with metal or heat resistant plastic caps. - Maintain pH of media as per manufacturer’s instruction after sterilization. - Autoclave media and store all sterilized media in refrigerator as per standards before use. | - Enlist the different steps for media preparation - Describe the working of analytical balance - Describe the working of pH meter - Describe the operation of Autoclave for wet sterilization of media Practical Activity: Demonstrate preparation of media for Fecal Coliforms and its sterilization using Autoclave | Theory-2 Hrs Practical-3 Hrs Total-5 Hrs | - surgical mask - gloves - EC broth media - Test tubes - Durham tubes - Media dispenser - Analytical balance - Autoclave - Magnetic stirrer - pH meter - Media preparation bottles - De-ionized water | Microbiological Laboratory |
| LU4. Adopt recommended preparatory method for E-coli | Trainee will be able to: - Use commercially available media for detection of E-coli following Multiple Tube Fermentation technique. - Prepare recommended media (LEMB agar) for confirmation of E-coli by weighing an amount as per supplier’s instructions using calibrated analytical balance. - Dispense media in bottle, autoclave and maintain pH as per standards. - Bring medium at room temperature after autoclaving, dispense in each petri plate and allow solidifying. | - Enlist the different steps for media preparation - Describe the working of analytical balance - Describe the working of pH meter - Describe the operation of Autoclave for wet sterilization of media Practical Activity: Demonstrate media preparation for E-coli, sterilization of media and pouring of media in disposable, sterile petriplates. | Theory-2 Hrs Practical-4 Hrs Total-6 Hrs | - surgical mask - gloves - LEMB agar media - Test tubes - Disposable & sterile ,plastic petriplates - Analytical balance - Autoclave - Magnetic stirrer - pH meter - Media preparation bottles - De-ionized water - Microwave oven | Microbiological Laboratory |
| LU5. Perform handling or basic testing of samples for coliforms | Trainee will be able to: - For presumptive phase, Inoculate test tubes of double and single strength of LTB media as per standards. - Incubate test tubes at required temperature for the growth of coliforms for 24-48 hours as per standards. - Colour change from purple to yellow and the gas and bubble formation in the test tubes constitute a positive test. - No colour change and gas formation indicate negative test. - For confirmation phase, shifting of positive LTB into Brilliant Green Lactose Bile Broth (BGLB) using metallic loop. - Incubate test tubes at required temperature for confirmed growth of coliforms into BGLB for 24-48 hours as per standards. - For completed phase and QC check, inoculate 10 % positive test tubes of EC medium, incubate as per standard, note the positive test tube as turbid. - Results are reported as MPN index/100 ml using MPN table. | - Describe the inoculation of test tubes. - Describe the incubation of test tubes. - Understanding of positive and negative test results. - Knowledge of reporting of results using MPN table Practical Activity: Demonstrate inoculation, incubation and recording of test results for presumptive, confirmatory and completed test for total coliforms. | Theory-2 Hrs Practical-10 Hrs Total-12 Hrs | - surgical mask - gloves - Lauryl tryptose, Brilliant green lactose bile broth and EC broth - Test tubes - De-ionized water - Auto-pipette(10ml, 1ml and 0.1 ml) - Auto-pipette tips - Biological safety cabinet - Metallic loop - Bunsen burner - Incubator - MPN table | Microbiological Laboratory |
| LU6. Perform handling or basic testing of samples for fecal coliforms | Trainee will be able to: - For fecal coliform confirmation, Shift a loopful of positive growth from LTB into EC broth, incubate for 24-48 hours at standard required temperature. - Report results of fecal coliforms using MPN table. | - Describe the shifting of test tubes for Fecal Coliforms using metallic loop - Define the incubation of test tubes at recommended temperatures - Describe positive and negative test results for Fecal Coliforms - Define the reporting of results. Practical Activity: Demonstrate shifting of culture from positive test tubes of LT broth into EC broth media, incubation and recording of results. | Theory-2 Hrs Practical-4 Hrs Total-6 Hrs | - surgical mask - gloves - EC broth - Test tubes - Biological safety cabinet - Metallic loop - Bunsen burner - Incubator - MPN table | Microbiological Laboratory |
| LU7. Perform handling or basic testing of samples for E-coli | Trainee will be able to: - Streak LEMB agar plate using platinum loop, incubate at required temperature as per standards. - Growth of dark centred purple colonies, flat, with or without metallic sheen indicates E-coli colonies. | - Describe the streaking technique for E-coli. - Enlist the recording of results. Practical Activity: Demonstrate streaking procedure for E-coli | Theory-2 Hrs Practical-3 Hrs Total-5 Hrs | - surgical mask - gloves - LEMB agar - Disposable petriplates - Biological safety cabinet - Metallic loop - Bunsen burner - Incubator | Microbiological Laboratory |
| LU8. Apply appropriate confirmation techniques | Trainee will be able to: - Perform microscopic examination as per standards for the confirmation of E-coli which seems rod shape and red in colour during gram staining. - Perform biochemical testing as per standards i.e. IMViC test for the confirmation of E-coli. | - Describe microscopy and gram staining technique. - Describe IMVIC test for E-coli Practical Activity: Demonstrate slide preparation of E-coli using gram staining technique. Demonstrate IMViC test for confirmation of E-coli | Theory-2 Hrs Practical-3 Hrs Total-5 Hrs | - surgical mask - gloves - Microscope - Slides - Gram staining reagents - Slide cover - Test tubes - Biological safety cabinet - Metallic loop - Bunsen burner - Incubator - SIM agar - MRVP broth - Simmons citrate agar - Barritt’s reagent - Rabbit plasma - Methyl red - Safranin - Crystal violet - Acetone - Iodine solution | Microbiological Laboratory |
| LU9. Maintain Environment and Quality Control | Trainee will be able to: - Accept or reject media / sample based on the condition and sterility as per standards. - Check and maintain sterility, temperature and humidity of rooms and equipment as per standards. - Use controls i.e. positive and negative controls along with the tests as per standards. - Clean and store equipment in accordance with laboratory guidelines. - Sterilize equipment as required - Store chemicals, media and controls as per standards. - Clean and disinfect area | - Describe media quality control for receiving. - Enlist environmental conditions i.e. temperature and humidity. - Describe the use of controls i.e. +ve/-ve - Understanding of sterilization and safety precautions. - Describe the sterilization technique for equipment and glassware. - Describe the storage protocols for chemical/media and standards. - Describe the decontamination protocols for contaminated material. Practical Activity: Demonstrate reference culture preparation i.e. ATCC, Master, Stock and Working cultures | Theory-2 Hrs Practical-2 Hrs Total-4 Hrs | - surgical mask - gloves - Media:broth/agar - Disposable petriplates - Biological safety cabinet - Bunsen burner - Incubator - Temperature and humidity meter - Thermometer - Autoclave - Ethanol | Microbiological Laboratory |

## Module 1021CS-46: Perform Testing for Total Coliforms and Fecal Coliforms (Method-II)

Objective: After the completion of this module, the Trainee will be able to develop skill and competence for the preparation of media, testing  and confirmation of Coliform, Fecal Coliform and  E-coli  using Membrane Filtration technique.

Duration: 52 Hours			Theory:  17 Hours		Practical 35:  Hours                  Credit Hours:5.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare to undertake basic microbiological tests | Trainee will be able to: - Prepare sterile environment for undertaking tests. - Collect samples for microbiological examination in clean, sterile, non-reactive borosilicate glass or plastic bottle. - Ensure that water sample is appropriate for the test requested as per standards. - When the sample is collected, leave ample air space in the bottle at least 2.5 cm to facilitate mixing by shaking before examination. - Ice samples during transport to the laboratory if they cannot be processed within 1 hour after collection. - Maintain samples in the dark and keep cool with ice at < 8 oC but not frozen. - For coliforms and fecal coliform analyses, the holding time from collection to analysis is 30 hour. | - Understanding of sterile environment required for microbiology - Knowledge of sample collection and transportation under controlled environment Practical Activity: Demonstrate the sample collection and transportation procedures for microbiological analysis | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | - surgical mask - gloves - microbiological sample collection kit - coolants in ice cooler - microbiological sample collection sterile bottles - Safety Shoes | Microbiological Laboratory Field |
| LU2. Adopt recommended preparatory method for coliform | Trainee will be able to: - Use commercially available media for detection of Coliforms following Membrane Filtration technique. - Prepare recommended media (m-Endo agar) by weighing the amount as per manufacturers’ instruction using calibrated analytical balance. - Heat to boiling the media but do not autoclave. - Maintain pH of media after sterilization as per manufacturer’s instruction after sterilization. - Bring medium at room temperature after autoclaving, dispense in each petri plate and allow solidifying. | - Enlist the different steps for media preparation - Describe the working of analytical balance - Describe the working of pH meter. Practical Activity: Demonstrate media preparation for Total Coliforms and its sterilization. | Theory-2 Hrs Practical- 4 Hrs Total-6 Hrs | - surgical mask - gloves - m-Endo agar - Analytical balance - Magnetic stirrer - pH meter - Media preparation bottles - De-ionized water - Microwave oven | Microbiological Laboratory |
| LU3. Adopt recommended preparatory method for Fecal Coliform | Trainee will be able to: - Use commercially available media for detection of fecal coliforms following Membrane Filtration technique. - Prepare recommended media (mFC agar) for confirmation of fecal coliforms by weighing an amount as per supplier’s instructions using calibrated analytical balance. - Do not autoclave the media, just heat to boiling. - Maintain pH of media after sterilization as per manufacturer’s instruction after sterilization. - Bring medium at room temperature after autoclaving, dispense in each petri plate and allow solidifying. | - Enlist the different steps for media preparation - Describe the working of analytical balance - Describe the working of pH meter. Practical Activity: Demonstrate media preparation for Fecal Coliforms and its sterilization. | Theory-2 Hrs Practical-5 Hrs Total-7 Hrs | - surgical mask - gloves - EC broth media - Test tubes - Durham tubes - Media dispenser - Analytical balance - Autoclave - Magnetic stirrer - pH meter - Media preparation bottles - De-ionized water | Microbiological Laboratory |
| LU4. Perform handling or basic testing of samples for coliforms | Trainee will be able to: - For coliform testing, pass recommended volume of water sample as per standards through the membrane filter using sterile membrane filtration assembly. - Place the membrane filter on recommended media for coliforms; incubate petri plates inverted in incubator set at the required temperature as per standard for 24-48 hours. - Count coliform colony as a pink to dark red color with metallic sheet - Report result in units as per standard. | - Enlist the steps of sample inoculation for coliforms using MF technique. - Describe the incubation of petriplates for coliforms. - Describe the recording of the results by counting coloform colonies. Practical Activity: Demonstrate the inoculation, incubation and recording of test results for coliforms using MF technique. | Theory-5 Hrs Practical-8 Hrs Total-13 Hrs | - surgical mask - gloves - m-Endo agar - membrane filtration assembly - sterilized water - microwave oven - De-ionized water - Biological safety cabinet - Bunsen burner - Incubator - Colony counter | Microbiological Laboratory |
| LU5. Perform handling or basic testing of samples for fecal coliforms | Trainee will be able to: - Pass recommended volume of water sample through the membrane filter using sterile membrane filtration assembly for fecal coliforms as per standards. - Place the membrane filter on recommended media for fecal coliforms; incubate petri plates inverted in incubator set at the required temperature as per standard for 24-48 hours. - Count fecal coliform colony as a blue colour .Report result in units as per standard. | - Enlist the steps of sample inoculation for fecal coliforms using MF technique. - Describe the incubation of petriplates for fecal coliforms. - Describe the recording of the results by counting fecal coliform colonies. Practical Activity: Demonstrate the inoculation, incubation and recording of test results for fecal coliforms using MF technique. | Theory-4 Hrs Practical-11 Hrs Total-15 Hrs | - surgical mask - gloves - mFC agar - membrane filtration assembly - sterilized water - microwave oven - De-ionized water - Biological safety cabinet - Bunsen burner - Incubator - Colony counter | Microbiological Laboratory |
| LU6. Maintain Environment and Quality Control | Trainee will be able to: - Adopt recommended safety precautions when handling biologically hazardous specimen. - Accept or reject media / sample based on the condition and sterility as per standards. - Check and maintain sterility, temperature and humidity of rooms and equipment as per standards. - Use controls i.e. positive and negative controls along with the tests as per standards. - Clean and store equipment in accordance with laboratory guidelines. - Sterilize equipment as required in standard. - Store chemicals, media and controls as per standards. - Clean and disinfect area - Properly dispose contaminated waste in accordance with the standards. | - Describe the safety guidelines in microbiology laboratory. - Describe media quality control for receiving. - Enlist environmental conditions i.e. temperature and humidity. - Describe the use of controls i.e. +ve/-ve - Understanding of sterilization and safety precautions. - Describe the sterilization technique for equipment and glassware. - Describe the storage protocols for chemical/media and standards. - Describe the decontamination protocols for contaminated material. Practical Activity: Demonstrate the procedure for the proper disposal of contaminated material. | Theory-2Hrs Practical-4 Hrs Total-6 Hrs | - surgical mask - gloves - Media:broth/agar - Disposable petriplates - Biological safety cabinet - Bunsen burner - Incubator - Temperature and humidity meter - Thermometer - Autoclave - Ethanol | Microbiological Laboratory |

## Module 1021CS-047.	Identify plumbing tools & equipment

Objective: This module covers the knowledge and skills required to interpret layout drawing for Plumbing Lab its specifications, its Requirement for tools and equipment.

Duration: 6.0 Hours			Theory: 04 Hours				Practice: 02 Hours                      Credit Hours: 0.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw Layout drawing for Plumbing Lab | Trainee will be able to: - Mark North Point. - Measure the Lab dimension. - Develop layout drawing - Analyse Signs, Symbols and data - Identify location for Doors and windows. - Identify instruments places. - Identify sitting plan. | - Explain lay out drawings with its type. - Explain different drawing instruments - Describe different symbols for plumbing Practical Activity Draw layout of plumbing lab | Theory-01 Hrs Practical-1.5Hrs Total- 2.5 Hrs | Pencil Eraser Sharpener Calculator Measuring scale Drawing sheet Drawing board Tee Square Set Square Measuring Tape Computer AutoCAD | Class Room and workshop |
| - Identify Plumbing Tools & Equipment | Trainee will be able to: - Identify Tools & equipment - Check for safety hazards - Conduct operational testing - Maintain professional proficiency | - Explain safety requirements for the required tools. - Explain different specification for tools and equipment - Explain procedures for using different tools - Describe Plumbing History and Plumbing importance - Explain Safety measures while performing Plumbing tasks Practical Activity Identify Plumbing Tools & Equipment | Theory-03 Hrs Practical-0.5 Hrs Total- 3.5 Hrs | Plumbing tools and equipment | Class Room and workshop |

## Module 1021CS-048.Perform cutting, threading & reaming

Objective: This module covers the knowledge and skills required to perform pipe cutting, its threading and reaming.

Duration:  06 Hours						Theory: 02 Hours			Practice: 04 Hours                     Credit Hours"0.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Pipe Cutting. | Trainee will be able to: - Identify tools for cutting. - Secure work piece firmly - Measure required Length - Use cutter OR Hacksaw - Loose the cutting Piece - Check length for cutting piece - Observe OHSA | - Comprehend the purpose and application of plumbing tools - Explain safety precaution for using cutter and hacksaw - Explain the procedure to use of Hack saw Practical Activity - Perform cutting of pipe | Theory-0.5 Hrs Practical-01 Hrs Total- 1.5 Hrs | Pipe Cutting Tools Plumbing pliers, Plumbing wrenches Plumbing spanners, PPEs | Class Room and workshop |
| - Perform Pipe Threading. | Trainee will be able to: - Identify tools for threading. - Adopt safety measures - Fix work piece firmly - Clamp Threading die - Prepare threading - Unclamp the threading die - Observe OHSA | - Describe calibration of threading tools - Explain safety precaution for using threading tools - Explain different type of Dies - Explain the procedure to use of threading die Practical Activity - Perform threading of pipe | Theory-1.0 Hrs Practical-02 Hrs Total- 3.0 Hrs | Plumbing pliers, Plumbing wrenches Plumbing spanners, PPEs Threading Tools | Class Room and workshop |
| - Perform Pipe Reaming. | Trainee must be able to: - Identify tools for Reaming. - Adopt safety measures - Fix work piece firmly - Clamp Threading pipe piece - Use reamer - Unclamp pipe piece - Observe OHSA | - Explain safety precaution for using reamer - Explain the procedure to use of Reamer Practical Activity - Perform reaming of pipe | Theory-0.5 Hrs Practical-01 Hrs Total- 1.5 Hrs | Plumbing pliers, Plumbing wrenches Plumbing spanners PPEs Reaming tools | Class Room and workshop |

## Module 1021CS-049.Make water connection

Objective: This module covers the knowledge and skills required to make the new connection for house from the main water.

Duration:  05 Hours				Theory: 01 Hours				Practice: 04 Hours                    Credit Hours"0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Make water connection | Trainee will be able to: - Identify work place - Dig a pit on connection site to main water supply pipe. - Mount the clamp over the main water supply pipe. - Set the rubber seal in the clamp - Set the ferrule at the rubber seal under the clamp - Tighten the screws of the clamp with screw wrench - Mark hole in the main pipe with centre punch and hammer - Connect the socket on the ferrule - Connect the house pipe in the socket - Fit the sluice/gate and non-return valve in the house water supply line | - Describe different tools and equipment for making new connection for water supply - Explain taking connection procedure - Explain cutting and threading procedures - Explain PPEs - Explain uses of different tools - Explain clamps with its type - Explain use of valve while taking connection - Explain branch and main pipe Practical Activity Make water connection | Theory-0.75 Hrs Practical-3.5 Hrs Total- 4.25 Hrs | Pipe Cutting Tools, Deburrers OR Reamers Plumbing pliers, Plumbing wrenches Plumbing spanners Plungers, Pressure testing kits, PPEs Clamp for pipe Pipe (G.I OR PPRC) | Class Room and workshop |
| LU2. Clean-up work site area | Trainee will be able to: - Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Information of faults and maintenance according to the workplace Practical Activity - Perform clean up of site area | Theory-0.25Hrs Practical-0.5 Hrs Total- 0.75 Hrs |  | Class Room and workshop |

## Module 1021CS-050.	Layout for domestic water supply

Objective: This module covers the knowledge and skills required for layout domestic water supply in residence and residential schemes.

Duration:  	05 Hours			Theory: 01 Hours		Practice: 04 Hours              Credit Hours"0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for works | Trainee will be able to: - Interpret work instructions - Plan according to job requirements - Organise duties - Select appropriate tools & equipment | - Define work instructions - Understanding of job description - Explanation of different tools and equipment's Practical Activity - Prepare for work | Theory-0 Hrs Practical-01 Hrs Total- 01 Hrs | Work instruction file Job description file Different tools and equipment's | workshop |
| - Lay out for water supply scheme | Trainee will be able to: - Mark North Point on drawing sheet - Measure the Scheme area. - Interpret layout plan by scale - Identify sources of water supply - Indicate Water Conveyance System. - Show storage Reservoirs - Locate Main, sub main and branches | - Define water Layout system. - Define fundamentals of water reservoirs - Explain Types of water sources - Describe applications of water connections with main to branches - Explain gravity and pressure supply of water Practical Activity Draw Lay out for water supply scheme | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Pencil Eraser Sharpener Calculator Measuring scale Drawing sheet Drawing board Tee Square Set Square Measuring Tape Computer AutoCAD PPEs | Class Room and workshop |

## Module 1021CS-051. Join pipes & fittings

Objective: This module covers the knowledge and skills required to prepare for different type of pipe joints and it’s fitting on residential and commercial plumbing works.

Duration: 08 Hours			Theory: 03 Hours				Practice: 05 Hours                      Credit Hours"0.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Undertake pipe fitting and Installation | Trainee will be able to: - Observe basic principles for pipe fittings - Identify and select materials for task - Identify tools and equipment for task - Attach Pipe with fittings - Locate fixtures properly - Undertake pipe leakage test - Use PPEs | - Explain signs and symbols for water supply system - Explain method for different type of pipe joints - Explain different types of joints in pipe - Which test are performed for pipe leakage Practical Activity Installation of pipe fittings | Theory-0.42Hrs Practical-0.5 Hrs Total- 0.92 Hrs | Pipe Benders Pipe Cutting Tools, Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hack Saw with blade Different Fittings Safety Valve PPRC pipe and fittings | Class Room and workshop |
| - Install Hot and Cold-Water Supply Pipes | - Trainee will be able to: - Observe basic principles for pipe fitting - Identify and select materials for task - Identify tools and equipment for task - Attach cold Pipe with fittings - Attach Hot Pipe with Geyser and fittings - Locate cross over properly - Locate drainage pipes - Undertake pipe leakage test - Use PPEs | - Knowledge of Safety requirements for installing cold and hot water pipes in residential buildings. - Knowledge of Fittings attach with hot water - Explain specifications for cold and hot water connections - Knowledge of faults in hot water pipes - Explain safety values use in geysers Practical Activity Install hot and cold water pipes | Theory-0.42Hrs Practical-01 Hrs Total- 1.42 Hrs | Pipe Bender Pipe Cutting Tools Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hot water fittings Hot water accessories G.I. & Cost Iron Pipes according to specifications Pipe Vice Hack Saw with blade Different Fittings Geyser Safety Valve | Class Room and workshop |
| - Joining Cast iron pipes | - Trainee must be able to: - Place the spigot end of a pipe inside the bell end of another pipe making sure that both are clean and dry. - Inert the gasket into the hub of joint using yarning iron and then pack to the proper depth by using the packing iron. - Pour the molten lead into the joint up to the top of the hub. - Perform caulking after the lead has solidified and cooled - Align the pipe - Undertake pipe leakage test - Use PPEs | - Define cast iron pipes - Explain the equipment for installing and fittings of cast iron pipes - Usage of cast iron pipes - Name different types of cast iron pipes - Practical Activity - Join cast iron pipe according to instruction | Theory-0.42Hrs Practical-01 Hrs Total- 1.42 Hrs | Pipe Benders Pipe Cutting Tools, Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hack Saw with blade Different Fittings Safety Valve Cost Iron Pipe Lead Cocking Tools | Class Room and workshop |
| - Join G.I Pipes | - Trainee must be able to - Observe basic principles for G.I. pipes - Select materials for task - Identify tools and equipment for task - Threading & Cutting the Pipe - Tight pipe with socket - Undertake pipe leakage test - Use PPEs | - Define G.I pipes - Explain the equipment for installing and fittings of G.I pipes. - Define types of G.I pipes - Practical Activity - Join G.I pipes according to instruction | Theory-0.42Hrs Practical-01 Hrs Total- 1.42 Hrs | Pipe Benders Pipe Cutting Tools, Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hack Saw with blade Different Fittings Safety Valve G.I Pipes | Class Room and workshop |
| - Join PPRC Pipes | - Trainee must be able to - Observe basic principles for PPRC pipes - Adopt safety measures - Prepare welding machine with required dies of diameter. - Cut the pipes at right angles to the pipe axis using suitable cutter. - Remove any burrs or chips by cleaning the cutting area. - Heat the machine up to 260°C - Mark the welding depth on pipe - Insert the end of pipe into the heating sleeve up to the marked welding depth and mount the fitting also. - Leave the pipe and fitting on the heating tool until the heating time is elapsed (5 to 7 sec) - Remove the pipe and fitting from heating tool and push them immediately into each other up to marked welding depth without rotating. - Allow the joint to cool down | - Define PPRC pipes - Explain the equipment for installing and fittings of PPRC pipes. - Usage of PPRC pipes Practical Activity - Join PPRC pipes according to instructions | Theory-0.42Hrs Practical-0.5 Hrs Total- 0.92 Hrs | Pipe Benders Pipe Cutting Tools, Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hack Saw with blade Different Fittings Safety Valve PPRC Pipe with fittings Cocking Tools | Class Room and workshop |
| - Joining PVC Pipes | - Clean the ends of pipes to be joined. - Make one end of pipe should be cup/bell/ socket type if they are not in required shape. - Apply jointing solution in the bell/socket and over the spigot end - Insert the spigot end of a pipe into bell/socket of another pipe | - Define PVC pipes and its joints - Explain the equipment for installing and fittings of pipes - Practical Activity - Join PVC pipes according to instruction | Theory-0.42Hrs Practical-0.5 Hrs Total- 0.92 Hrs | Pipe Benders Pipe Cutting Tools, Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Hack Saw with blade Different Fittings PVC pipes Safety Valve | Class Room and workshop |
| - Joining Concrete Pipes | - Correctly position and bed the first pipe. - Prepare the bedding for the second pipe. - Apply the seal on the spigot end. - Ensure the joint ring is not twisted and correctly located on spigot. - Centre the socket/bell and fill the gap with cement mortar | - Define concrete pipes and its joints - Explain the equipment for installing and fittings of pipes - Explain drain Pipes - Practical Activity - Join concrete pipes according to instructions | Theory-0.42Hrs Practical-0.5 Hrs Total- 0.92 Hrs | Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Pressure testing kits PPEs Different Fittings Safety Valve Concrete pipes | Class Room and workshop |

## Module 1021CS-052. Install plumbing fixtures

Objective: This module covers the knowledge and skills required to install plumbing fixtures at work place i-e installation of water closet, flushing cistern, Wash hand Basin, English WC and Urinal.

Duration: 06 Hours				Theory: 02 Hours				Practice: 04Hours                     Credit Hours"0.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required |  | Learning Place |
| --- | --- | --- | --- | --- | --- | --- |
| - Install Wash Hand Basin | Trainee will be able to: - Identify safety requirements for installation - Identify tools for work - Identify Fixtures - Perform measurements - Mark out Installation point - Turn the water supply off of the concerned section. - Mark and drill pilot holes for the floor fixing screws. - Mark, drill and plug the wall holes for basin fixing screw - Install tee stop cock at the end of water supply pipe (hot and cold) - Connect the flexible rubber connection pipes with pillar cocks or mixture - Fit the coupling in the hole of basin. Fit floor trap under the waste pipe and adjust waste pipe with it. - Re-position the pedestal and screw it into proper place. - Position the basin and check its level then screw the basin to wall. - Inject silicon sealant for sealing. - Tighten the pedestal screws. - Turn on the water supply and check for leaks. | - Define hand basin and its types. - Use of tools and equipment’s for installing wash hand basin. - Knowledge of joining techniques for hand basin. - Explain wash hand basin Pedestal type - Explain fitting procedure to install wash hand basin Practical Activity - Install wash hand basin according to instructions | Theory-0.5 Hrs Practical-0.5 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Wash hand basin Bolt Kit Screws Clamps Hammer Tee cock Pillar cock | Class Room and workshop |
| - Install English water closet | Trainee will be able to: - Mark out Installation point - Compact and Level the floor at the place of installation of water closet. - Place P-trap at compacted and levelled surface. - Place the W.C pot on the trap in levelled surface and provide support to it. - Fill the P-trap with cement and cloth bandage soaked in cement solution. - Connect soil pipe to P-trap - Connect tee with soil pipe outside the toilet wall. - Joint the vent pipe with small end of tee. - Connect larger end of soil pipe to septic tank. - Attach flush pipe in to the pot hole. - Drill holes at the required place and height for flushing cistern. - Install flushing with screws and joint it with flush pipe. - Fill the earth to required level. - Finish conglomerate floor or tile flooring | - Define water closet and its types - Use of tools and equipment’s for installing water closet. - Knowledge of joining techniques for water closet - Knowledge of levelling and fixing WC Practical Activity - Install water closet according to instruction | Theory-0.5 Hrs Practical-0.5 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Bolt Kit Screws Clamps Hammer P-Trap W.C (Indian & English) Tee cock Pillar cock | Class Room and workshop |
| - Install Flushing Cistern | Trainee must be able to: - Mark out Installation point - Measure height for flushing cistern - Drill holes at the required place and height for flushing cistern. - Install flushing with screws and joint it with flush pipe - Fix flushing pipe - Connect inlet pipe with water supply - Perform final quality inspection - Check Level - Use PPEs | - Define flushing cistern with its types. - Use of tools and equipment’s for installing flushing cistern - Knowledge of installing techniques for flushing cistern Practical Activity - Install flushing cistern | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Bolt Kit Flushing cistern Screws Clamps Tee cock Pillar cock | Class Room and workshop |
| - Install Urinal | Trainee must be able to - Mark out Installation point - Turn the water supply off of the concerned section. - Install adequate support for wall hangers and install wall hangers if needed. - Drill the holes at two feet height and drill the holes. - Determine the position for waste pipe nipple - Apply thread sealant tape. - Install female collar to the waste pipe. - Place the gasket on the female collar with the bevelled surface facing away from the collar. - Position the urinal on the wall hangers and screwed them. - Secure the urinal bottle trap and waste pipe to female collar using the screws. - Install the flush valve according to manufacturer instructions. - Connect the water supply and complete waste pipe connection. - Turn on water supply. - Flush and check the entire installation for leakage | - Define urinal and its types - Use of tools and equipment’s for installing urinal - Knowledge of installing techniques for urinal Practical Activity - Install urinal according to instructions | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Bolt Kit Urinal Urinal with fitting Urinal Cistern | Class Room and workshop |
| - Install Sink | Trainee must be able to - Mark out Installation point - Measure height for sink - Install adequate support for wall hangers and install wall hangers if needed. - Fix sink fat measured height with drain pipe - Connect inlet pipe with water supply - Perform final quality inspection - Check Level - Conduct Operational Testing - Use PPEs | - Define sink and its types. - Use of tools and equipment’s for installing sink. - Knowledge of installing techniques for sink. Practical Activity - Install sink | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Bolt Kit Sink with mixer Tee cock Pillar cock | Class Room and workshop |
| - Install Bath Tub | - Mark out Installation point - Measure Height for bath tub - Set and level Bath Tub at designated place - Install a ledger board for supporting tub - Secure the tub to studs according to manufacturer instructions. - Attach drain to tub - Connect the overflow drain - Connect the drain pipe with P-trap - Connect inlet pipe with water supply - Perform leakage test - Perform Safety Precaution - Use PPEs | - Define bath tub and its types. - Use of tools and equipment’s for installing bath tub. - Knowledge of installing techniques for bath tub. - Practical Activity - Install bath tub as per requirements | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs |  | Pipe Benders Pipe Cutting Tools Pipe vice with stand Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers PPEs Bolt Kit Shower Geyser Bath Tub with accessories Mallet Tee cock Pillar cock | Class room and workshop |

## Module 1021CS-053. Install & repair water pumps

Objective: This module covers the knowledge and skills required to install drinking water pumps and its repair work.

Duration:  05 Hours				Theory: 01 Hours				Practice: 04 Hours              Credit Hours"0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install Air ejector Pump | Trainee will be able to: - Mark out Installation point - Perform Safety Precaution - Measure Pipes with fittings - Fix pump with suction & delivery pump - Connect with electricity - Perform leakage test - Use PPEs | - Knowledge of joining techniques and pipe fittings of air ejector pump - Knowledge of leakage in pipes and pumps - Explain working of air ejector pump Practical Activity - Install ejector pump | Theory-0.25 Hrs Practical-1 Hrs Total- 1.25 Hrs | Pipe Bender Pipe Cutting Tools Chain Pipe Wrench Deburrers Plumbing pliers, Plumbing wrenches Plumbing spanners Plungers Pressure testing kits Radiator tools PPEs Air ejector Pump with fitting | Class Room and workshop |
| - Install Centrifugal Pump | Trainee will be able to: - Mark out Installation point - Perform Safety Precaution - Measure Pipes with fittings - Fix flanges with suction & delivery pipes - Connect with electricity - Perform leakage test - Use PPEs | - Knowledge of joining techniques and pipe fittings of centrifugal pump. - Knowledge of leakage in pipes and in centrifugal pumps - Explain working of centrifugal pump. Practical Activity - Install centrifugal pump as per requirments | Theory-0.25 Hrs Practical-1 Hrs Total- 1.25 Hrs | Pipe Bender Pipe Cutting Tools Chain Pipe Wrench Deburrers Plumbing pliers, Plumbing wrenches Plumbing spanners Plungers Pressure testing kits Radiator tools PPEs Centrifugal Pump with fitting. | Class Room and workshop |
| - Install Rotary Pump | Trainee must be able to: - Mark out Installation point - Perform Safety Precaution - Measure Pipes with fittings - Fix flanges with suction & delivery pipes - Connect with electricity - Perform leakage test - Use PPEs | - Knowledge of joining techniques and pipe fittings of rotary pump. - Knowledge of leakage in pipes and in rotary pumps - Explain working of rotary pump. Practical Activity - Install rotary pump according to instructions | Theory-0.25 Hrs Practical-1 Hrs Total- 1.25 Hrs | Pipe Bender Pipe Cutting Tools Chain Pipe Wrench Deburrers Plumbing pliers, Plumbing wrenches Plumbing spanners Plungers Pressure testing kits Radiator tools PPEs Rotary Pump with fitting. Electricity | Class Room and workshop |
| - Carry out repair of Pump | Trainee must be able to - Perform Safety Precaution - Disconnect electricity and pump - Use PPEs - Check for Fault - Repair it - Refit with suction & delivery pipes - Connect with electricity - Perform leakage test | - Explain repair for different pumps. - Explain safety measures while performing repair of works - Explain leakage checking with its methods - Knowledge of leakage in pipes and pumps Practical Activity - Repair and maintenance of different pumps | Theory-0.25 Hrs Practical-01 Hrs Total- 1.25 Hrs | Pipe Bender Pipe Cutting Tools Chain Pipe Wrench Deburrers Plumbing pliers, Plumbing wrenches Plumbing spanners Plungers Pressure testing kits Radiator tools PPEs Different Pumps with fittings Electricity | Class Room and workshop |

## Module 1021CS-054. Install turbine pumps

Objective: This module covers the knowledge and skills required to install turbine

Duration: 07 Hours			Theory: 02 Hours				Practice: 05 Hours                  Credit Hours"0.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install turbine | Trainee will be able to: - Mark out Installation point - Use PPEs - Check depth of bore - Adopt Safety Measures - Measure turbine Pipes with fittings - Fix Turbine with flange & Pipes - Insert turbine into bore with tripod & chain pulley - Connect Motor with shaft fittings - Connect electricity and start - Remove tripod - Check discharge | - Define turbines and its types. - Explain different joining techniques and pipe fittings - Knowledge of leakage testing - Explain turbine impellers with its fittings - Explain installation method into bore. - Explain tripod and chain pulley function | Theory-1.5 Hrs Practical-04 Hrs Total- 5.5 Hrs | Pipe Cutting Tools Chain Pipe Wrench Deburrers Plumbing pliers Plumbing wrenches Plumbing spanners Plungers Pressure testing kits Radiator tools PPEs Turbine with impellers & Motor Electricity Turbine pipe with fittings Pipe wooden / steel clamps | Class Room and workshop |
| LU2. Clean-up work site area | - Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Information of faults and maintenance according to the workplace Practical Activity - Perform clean up | Theory-0.5 Hrs Practical-01 Hrs Total- 1.5 Hrs |  | Class Room and workshop |

## Module 1021CS-055. Prepare sketches of aqueducts & water pipes

Objective: This module covers the knowledge and skills required to prepare an aqueduct / watercourse constructed to carry water from a source to a distribution point far away. In modern engineering, the term aqueduct is used for any system of pipes, ditches, canals, tunnels, and other structures used for this purpose.

Duration: 14 Hours		           Theory: 02 Hours				 Practice: 12 Hours                              Credit Hours:1.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare Sketch for aqueduct | - Trainee will be able to: - Identify aqueduct. - Spread & fix sheet - Apply scale - Draw aqueduct | - Comprehend the purpose and application of aqueduct. - Explain design procedure for aqueduct - Describe working of Aqueduct. - Practical Activity - Prepare sketch of aqueduct | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Pencil Scale Rubber and Sharpner | Class Room |
| - Assemble G.I pipes | - Trainee will be able to: - Clean pipes surface - Carry out Lubrication on edges - Apply Threading - Equalize gasket - Perform alignment - Join pipes - Perform final quality inspection (Testing) | - Explain G.I pipes and there use in water supply system - Describe jointing methods for G.I pipes - Describe safety procedure for joining G.I pipes Practical Activity - Assemble G.I pipes as per instructions | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Pipes Valves Pipe repairs, Plungers, Pressure testing kits, Radiator tools Spirit level PPEs Threading die Pipe Vice Flanges Pipe cutter Wrench set Scale card Spanner set Clamps Nuts & Bolts Spring Washers | Class Room and workshop |
| - Assemble concrete pipes | - Trainee must be able to: - Clean pipes surface - Carry out watering on edges - Apply sealant - Equalize gasket - Perform alignment - Join pipes - Perform final quality inspection | - Explain concrete pipes and there use in water supply system - Describe jointing methods for concrete pipes - Describe safety procedure for joining concrete pipes - Describe types of concrete pipes - Practical Activity - Assemble concrete pipes | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Sealant Gasket Pipe repairs, Plungers, Pressure testing kits, Spirit level PPEs Clamps Nuts & Bolts Concrete pipe | Class Room and workshop |
| - Assemble PPRC pipes | - Trainee must be able to - Clean pipes surface - Carry out Heating on edges - Apply sealant - Perform alignment - Join pipes - Perform Test for joints | - Explain PPRC pipes and there use in water supply system - Describe jointing methods for PPRC pipes - Describe safety procedure for joining PPRC pipes. - Practical Activity - Assemble PPRC pipes | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Radiator tools Spirit level PPEs Threading die Pipe Vice Flanges Pipe cutter Wrench set Spanner set Clamps Nuts & Bolts PPRC pipes | Class Room and workshop |

## Module 1021CS-056. Plan water distribution system

Objective: This module covers the knowledge and skills required to interpret water distribution system, interpret layout for water distribution network, interpret layout for water Storage Reservoir, interpret storage capacity of Reservoir and Accumulate Hydraulic model

Duration:  14 Hours				Theory: 02 Hours				Practice: 12 Hours           Credit Hours: 1.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret water distribution system | - Trainee will be able to: - Identify safety requirements for installation - Identify Gravity system - Identify Pumping system - Identify partly gravity & pumping system | - Explain different system for water supply in housing scheme - Explain different system for water supply Pipe laying network in housing scheme - Define gravity and partly gravity system - Define pumping and partly pumping system - Practical Activity - Interpret water distribution system | Theory-0.25 Hrs Practical-02 Hrs Total- 2.25 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and field |
| - Interpret layout for water distribution network | - Trainee will be able to: - Mark out distribution network points - Identify dead end system - Identify Radial system - Identify Ring System - Identify Grid Iron System | - Define dead end system - Define radial system - Define ring system - Define grid iron system - Practical Activity - Interpret layout for water distribution network | Theory-0.25 Hrs Practical-02 Hrs Total- 2.25 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and field |
| - Interpret layout for water Storage Reservoir | - Trainee must be able to: - Mark out place for reservoir - Identify surface reservoir - Identify elevated reservoir - Monitor difference in working both reservoirs - Perform cleaning / repair process for reservoir | - Knowledge of water storage reservoir - Explain Uses of tools and equipment to clean and repair of water reservoir - Explain type of reservoir according to shapes, material and design - Explain reservoir storage parts frequently - Practical Activity - Interpret layout for water Storage Reservoir | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and workshop |
| - Interpret storage capacity of Reservoir | - Trainee must be able to - Identify quantity of water for reservoir - Identify balancing storage - Identify breakdown storage - Calculate Fire demand storage - Identify dead storage | - Explain type of reservoir according to shapes, material and design. - Define fire demand - Define breakdown storage - Define balancing storage - Practical Activity - Interpret storage capacity of Reservoir | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and reservoir |
| - Accumulate Hydraulic model | - Trainee must be able to - Evaluate methodology of distribution system - Develop pipe networks into sub networks - Recognize Data - Prepare hydraulic model - Analyse Results | - Explain hydraulic model - Differentiate between pipe networks and sub networks - Practical Activity - Accumulate Hydraulic model | Theory-0.5 Hrs Practical-02 Hrs Total- 2.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room |

# List of Tool & Equipment:

As mentioned in each module.