National Competency Standard Level 3

Electrical Technology (Industrial Electrician)

Equivalent to G-II

60 Credit Hours

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

Introduction	3

Purpose of the Qualification	4

Summary of Competency Standards and contact hours	4

Packaging of Occupation	4

Date of Validation	5

Date of Review	5

Codes of Qualifications	5

Members of Qualifications Review Committee	5

Members of Qualification Validation Committee	7

Entry Requirements	7

Detail of Competency Standards	8

0713E&E1	Verify Basic Laws of Electromagnetic induction	8

0713E&E2	Operate/Perform Associated Tests on Transformer	10

0713E&E3	Identify Vector Group of Three Phase Transformer	13

0713E&E4	Install Three Phase Complex Electrical Wiring	15

0713E&E5	Perform Testing of Electrical Three Phase Wiring	22

0713E&E6	Repair/ Maintain Electrical Installations for Three Phase	25

0713E&E7	Maintain professionalism in the workplace and advance Green Practices	29

# Introduction

Green skills incorporation in TVET aims to build capacity of skilled workforce, which is aware of environmental hazards and accordingly adopts more sustainable and environment friendly practices at the workplace. The workforce that possesses competencies and relevant knowledge & understanding oriented to green occupations is more employable and become an asset for businesses, enterprises and communities in developing green economies that results in improved human well-being and reducing environmental risks.

The United Nation’s Sustainable Development Goals (SDGs), UNESCO ESD initiatives UNEVOC, ILO, CPSC and ADB guidelines, studies and training manuals provide comprehensive green skill strategies to develop competencies / skills that can be imparted under vocational education and training. They are focused to prepare the workforce to adopt sustainable practices and address environmental degradation by appropriately managing human and material resources.

The vocational professions are increasingly getting attention in Pakistan, not only among the youth seeking to enter in the job market but also among adults who wish to polish their skills to develop a career out of it. The scope and demand of Domestic or General Electrician is very high in Pakistan due to fast growing population and construction projects in Pakistan. There are more job opportunities for electricians in Pakistan than any other vocational field. Pakistan is still facing energy crises, therefore needs more power houses, dams, renewable energy sources, solar installations etc. which will result in more demand of electrical technicians. Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector. Power sector reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.

The Government of Pakistan through National Vocational & Technical Training Commission (NAVTTC) in collaboration with German Development Company & BMZ has revised the national vocational qualifications for NVQF level 1 to Level 3 in Electrical Technology with greening concepts, which not only allows trainees to equip with growing Industrial trends but will be beneficial in rapidly capturing the job market across the globe.

This document identifies competencies related to electrician trade identified by the relevant industry during workshops held at Lahore Chamber of Commerce & Industry, Lahore. These skills either can be infused as a separate competency standard / competency unit in relevant qualifications or can be integrated as a separate module in the qualifications already developed or being developed under growth economic sectors. Critical evidence statements have also been added to assist assessors in preparation and conduct of assessment. The purpose of this document is to bring change in abilities, values and attitudes needed by human to support the sustainable and effective utilization of resources in the workplace. It focuses on the skills that will help preserve and conserve the environment. If qualifications implemented by training providers, will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.

This qualification can create a considerable impact in electrical field especially in the following areas:

- Energy saving infrastructures

- Renewable Energy

- Building Automation

- Solar Energy

Structural changes will realign sectors that are likely to decline as a result of the greening of the economy and workers will need to be retrained accordingly. The successful transition to a low-carbon economy will only be possible if workers can flexibly adapt and practice to go green as per their industry standards.

# Purpose of the Qualification

| Competency Standards | Category | Estimated Contact Hours |  |  | Cr Hrs. |
| --- | --- | --- | --- | --- | --- |
|  |  | Th. | Pr. | Total |  |
| Verify Basic Laws of Electromagnetic Induction | Technical | 10 | 40 | 50 | 5 |
| Operate/Perform Associated Tests on Transformer | Technical | 30 | 120 | 150 | 15 |
| Identify Vector Group of Three Phase Transformer | Technical | 10 | 50 | 60 | 6 |
| Install Three Phase Electrical Wiring | Technical | 24 | 116 | 140 | 14 |
| Perform Testing of Electrical Three Phase Wiring | Technical | 10 | 40 | 50 | 5 |
| Repair/ Maintenance of Electrical Installations for three Phase | Technical | 30 | 90 | 120 | 12 |
| Maintain Professionalism in the Workplace and Advance Green Practices | Generic | 6 | 24 | 30 | 3 |
| Total |  | 120 | 480 | 600 |  |

The qualifications are in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF) based on demand of respective employers. This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Competency Standards could be used as a referral document for the development of curricula and Assessment Packages to be used by training institutions and Qualification Awarding Bodies respectively.

The purpose of the training is to provide the Green skills to the trainees in the field of Electrical and convert it into value added product, which is acceptable by International market and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

# Summary of Competency Standards and contact hours

# Packaging of Occupation

The National Vocational Qualification for Industrial Electrician has been packaged as detailed below:

- Explain Basic Laws of Electricity

- Operate/Perform Associated Tests on Transformer

- Identify Vector Group of Three Phase Transformer

- Maintain Tools & Equipment for Three Phase System.

- Make Cable/Wire Joints for three phase

- Install Three Phase Electrical Wiring

- Perform Testing of Electrical Three Phase Wiring

- Repair/ Maintenance of Electrical Installations for three Phase

- Maintain Professionalism in the Workplace and Advance Green Practices

# Date of Validation

The National Competency Standards Level-3 for Electrical Technology “Industrial Electrician”

has been validated by the Qualifications Validation Committee (QVC) members on 12 April, 2023 and will remain valid for ten years i.e. 11 April, 2028.

# Date of Review

The National Competency Standards Level-3for Electrical Technology “Industrial Electrician”

has been reviewed / validated by the Qualifications Validation Committee (QVC) members on 12 April, 2023 and shall be reviewed after three years i.e. 11 April, 2026.

# Codes of Qualifications

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

0713E&E(3) National Vocational Certificate Level 3 in Electrical Technology

# Members of Qualifications Review Committee

The following members participated in the Qualification Review Committee meeting held at Lahore Chanber of Commerce and Industry and Punjab Vocational Training Council (PVTC) Head office Lahore:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Shehreyar Khan Marwat | AD (Academics/Operations) | KP- TEVTA |
| 2 | Mr. Muhammad Rehan Qureshi | Instructor | P-TEVTA |
| 3 | Mr. Waqas Niaz | SDO | NTDC |
| 4 | Mr. Yusuf Mirza | Deputy Director | CoE /GSTC mughalpura. |
| 5 | Mr. Taha Rehman | Sr. Engineer | Delta Electromechanical Works, Isb. |
| 7 | Engr. Muhammad Aleem | DACUM Facilitator | UoL Sargodha |
| 8 | Mr. Muhammad Aasim | NAVTTC Coordinator | NAVTTC HQ Islamabad |
| 9 | Mr. Muhammad Naeem Akhtar | Senior Technical Advisor (GIZ) | GIZ Islamabad |
| 10 | Mr. Syed Waqar Azeem | Director Curriculum | P-TEVTA, Lahore |
| 11 | Hafiz Waqar Hashmi | AD Curriculum | P-TEVTA, Lahore |
| 12 | Mr. Basit Ali | AD Curriculum | PVTC, Lahore |
| 13 | Mr. Atif Mehmood | Technical Advisor | GIZ, Islamabad |
| 14 | Hafiz Ahmed Jamil | Instructor | GTTI, Gulberg lahore |
| 15 | Khurram Sohail | Curriculum Department | PVTC, Lahore |
| 16 | Aijaz Ahmed Zia | Design & Application Engineer | INTECH Process Automation. Lahore |
| 17 | Amir Amin | HOD Electrical, Research Associate LUMS | City Polytechnic |
| 18 | Muhammad Faheem Anjum | Chief Instructor Electrical | P-TEVTA |
| 19 | Muhammad Asad | Instructor Electrical | P-TEVTA |
| 20 | Tahreem Javeed | Lab Engineer | The University of Lahore |
| 21 | Huma Naeem | Research Associate | COMSATS Lahore |
| 22 | Engr.Inayat Ur Rehman | DACUM Facilitator | KPK-TEVTA |
| 23 | Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |

# Members of Qualification Validation Committee

The following members participated in the qualifications validation of this qualification:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Aijaz Ahmed Zia | Design & Application Engineer | INTECH Process Automation. Lahore |
| 2 | Amir Amin | HOD Electrical, Research Associate LUMS | City Polytechnic |
| 3 | Muhammad Faheem Anjum | Chief Instructor Electrical | P-TEVTA |
| 4 | Muhammad Asad | Instructor Electrical | P-TEVTA |
| 5 | Tahreem Javeed | Lab Engineer | The University of Lahore |
| 6 | Huma Naeem | Research Associate | COMSATS Lahore |
| 7 | Engr.Inayat Ur Rehman | DACUM Facilitator | KPK-TEVTA |
| 8 | Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |

# Entry Requirements

The entry level for National Vocational Certificate Level 3 in Electrical Technology is:

- A person having National Vocational Certificate Level 2 in Electrical Technology

# Detail of Competency Standards

### Verify Basic Laws of Electromagnetic induction

Overview:

This competency standard focuses on the skills and knowledge required to verify various aspects of Faraday's law, which is a fundamental principle of electromagnetism. The module also focuses on maintaining green TVET concept by adopting 6 R’s of Green Skills I.e. Recycle, Reduce, Reuse, Renew, Repair, Rethink concepts.

| Competency Units | Performance Criteria |
| --- | --- |
| - Verify Faraday’s law by moving permanent magnet inside the coil. | - Construct a coil. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow. - Record the effect of movement of magnet on reading of Galvanometer. - Hold the magnet inside the coil. - Record the effect on reading of Galvanometer again. |
| - Verify Faraday’s law by moving coil near the magnet field. | - Construct a coil. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it. - Record the effect of movement of coil on reading of Galvanometer. - Hold the coil near the magnetic field and do not move. - Record the effect on reading of Galvanometer. |
| - Verify Faraday’s law using relative motion of coil and magnet. | - Construct a coil. - Connect Galvanometer with coil. - Make relative motion of coil and magnet. - Record the effect of movement on reading of Galvanometer. |
| - Perform Faraday’s Law using simple loop generator. | - Identify single loop generator and its parts. - Select field winding. - Connect Galvanometer with single loop coil. - Rotate the single loop coil of generator in the field - Measure the voltage induce in loop generator. - Record the effect of movement on reading of Galvanometer. |
| - Verify Torque induce in a current carrying loop | - Construct a coil. - Apply DC voltage to this coil. - Place a current carrying loop in this coil. - Check the direction of force to verify the torque produce. |
| - Verify Mutual induction | - Construct 2 coils on two different legs of single core. - Apply AC voltage to the any one coil. - Check the volts induce in other coil by voltmeter. |

Knowledge & Understanding

- What is Faraday’s first law of Electro-Magnetic Induction?

- What is second law of Faraday?

- How can we find the direction of induced EMF?

- What is the role of magnetic strength in Faraday’s Law?

- What is the role of conductor’s length or turns in Faraday’s Law?

- What is Lenz’s Law

- What is torque?

- Why force produce on current carrying conductor?

- What is core?

- What is induction?

- What is meaning of coupled coils?

- Why EMF induced in 2nd coil, when voltage is applied to 1st coil?

- What is mutual induction?

- Which machine work on the principle of mutual induction

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Coil |
| 2 | Galvanometer |
| 3 | Voltmeter |
| 4 | Transformer |
| 5 | Connecting leads. |
| 6 | Magnet. |
| 9 | DC source |
| 10 | Rheostat |
| 12 | Loop |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate Faraday’s law by moving coil near the magnet field.

### Operate/Perform Associated Tests on Transformer

Overview:

This competency standard outlines the skills and knowledge required to Operate/Perform Associated Tests on Transformer. The module also focuses on maintaining green TVET concept by adopting 6 R’s of Green Skills

| Competency Units | Performance Criteria |
| --- | --- |
| - Operate Single Phase Transformer | - Identify types of transformer. - Make transformer winding - Measure transformation ratio of single phase transformer. - Determine voltage regulation of single phase transformer with different load. - Perform parallel operation of single phase transformer. |
| - Perform Tests on Single Phase Transformer | - Perform polarity test of single phase transformer. - Perform Open circuit test of transformer. - Perform Short circuit test of transformer. - Calculate efficiency of transformer by direct method. - Calculate efficiency of transformer by Back to Back test. |
| - Operate Auto Transformer | - Identify the connection of auto transformer. - Calculate Voltage ratio of auto transformer. - Calculate Current ratio of auto transformer. |
| - Perform Tests on Auto Transformer | - Perform open circuit test of auto transformer. - Perform short circuit test of auto transformer. - Calculate efficiency of auto transformer. |
| - Operate Three Phase Transformer | - Make three phase transformer winding. - Perform star to star connection of three phase transformer. - Perform star to delta connection of three phase transformer. - Perform delta to delta connection of three phase transformer. - Perform delta to star connection of three phase transformer. - Connect two single phase transformers in open delta. - Perform parallel operation of 3 phase transformers. |

Knowledge and understanding

- Explain different parts of transformer.

- Explain connection of the windings.

- Differentiate single phase, three phase, and auto and instrument transformer.

- How to connect volt meters on both side of the transformer & how to apply voltage to the primary?

- How to select the wire for primary and secondary winding?

- Explain winding procedure.

- How to adjust the core pieces into the winding?

- How to remove the insulation of enameled wire?

- What is sleeve?

- Explain continuity test with ohm meter.

- Explain voltage regulation of the transformer.

- Explain the word voltage drop.

- What is transformation ratio?

- Explain polarity test of transformer.

- Describe the conditions for paralleling of the transformer.

- What is indicator?

- Differentiate between additive and subtractive polarity.

- How to use watt meter?

- How many components of excitation branch?

- Why we connect watt meter, ampere meter and volt meter to the lower voltage side of transformer & to the higher voltage side of transformer in case of short circuit test.

- Why we short Circuit the low voltage side of the transformer in short circuit test.

- Explain the reason to apply 10 % to 15 % of rated voltage to higher voltage side of transformer.

- What is iron loss?

- Why we perform open circuit & short circuit test in transformer?

- What is the different between auto transformer and ordinary transformer?

- How to identify step up and step down transformer.

- Explain voltage ratio of auto transformer.

- Explain the connection of ammeter and volt meter

- Why we open high voltage side of transformer instead of low voltage side.

- Differentiate between star & delta connections?

- How to mark the polarity of the winding terminals?

- Explain the relation between line & phase voltage in star connection & line current and phase current in delta connection

- Explain open delta connection & the relation between line voltage and phase voltage in open delta connection.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Ammeters |
| 2 | Voltmeters |
| 3 | Ohmmeters |
| 4 | Connecting wires |
| 5 | Wattmeter |
| 6 | Insulating pap |
| 7 | Core |
| 8 | Winding wire |
| 9 | Hammer |
| 10 | Winding machine |
| 11 | Sleeve |
| 12 | Single phase transformer |
| 13 | Auto transformer |
| 14 | Three phase transformer |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Operation of a transformer and identification

- Demonstrate working principle of Auto transformer

- To understand the phase position in the transformer

- Verify the relation ratio in input and output

- Verify the star-to-delta connection of the three-phase transformer.

### Identify Vector Group of Three Phase Transformer

Overview:

This competency standard focuses on the skills and knowledge required to connect three-phase transformers in different vector group configurations. The module also focuses on maintaining green TVET concept by adopting 6 R’s of Green

| Competency Units | Performance Criteria |
| --- | --- |
| - Connect 3-phase transformers as per given vector group Yyo and Yy6 | - Connect three identical single phase transformer in star to star connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |
| - Connect 3-phase transformers as per given vector group Ddo and Dd6 | - Connect three identical single phase transformer in delta to delta connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |
| - Connect 3-phase transformers as per given vector group Yd11 and Yd1 | - Connect three identical single phase transformer in star to delta connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (300 lag or 300 lead). |

Knowledge and understanding

- Explain the term phase angle.

- How to connect phase angle meter between primary and secondary of the transformer.

- What is the phase angle of vector group Yy0.

- How to connect phase angle meter between primary and secondary of the transformer.

- What is the phase angle of vector group Yy6.

- What is the phase angle of vector group Dd0.

- What is the phase angle of vector group Dd6.

- What is the phase angle of vector group Yd11?

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Single phase transformers |
| 2 | Phase angle meter |
| 3 | Connecting wires |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- single phase transformer in the star-to-star connection

- Measurement of the phase angle between primary and secondary

- Use of phase angle meter in between windings

### Install Three Phase Complex Electrical Wiring

Overview:

This Competency Standard covers the skills and knowledge required to Make and Install a 3phase motor connection Reverse/ forward by Magnetic contactor, Magnetic contactor with indicator, manual, auto, 2 speed, and2-speedd with indicator

| Competency Units | Performance Criteria |
| --- | --- |
| - Make and Install 3phase motor connection Reverse/ forward by Magnetic contactor. | - Draw the layout circuit diagram of the circuit. - Draw a control diagram of the circuit. - Draw a power diagram of the circuit. - Draw a wiring diagram of the circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercises on the exercise board according to the installation/layout diagram along with accessories. - Lay wires in duct/pipe according to the layout diagram. - Make connections according to the wiring diagram. - Check the circuit before connecting the main supply and connect the motor. - Make a connection with the main supply. - Check the control circuit, power circuit, and motor connection carefully in the supervision of the trainer/assessor - Check the function of the circuit after connecting the main supply |
| - Make and Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator. | - Draw a layout circuit diagram of the circuit. - Draw a control diagram of the circuit. - Draw a power diagram of the circuit. - Draw a wiring diagram of the circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercises on the exercise board according to the installation/layout diagram along with accessories. - Lay wires in duct/pipe according to the layout diagram. - Make connections according to the wiring diagram. - Check the circuit before connecting the main supply and connect the motor. - Make a connection with the main supply. - Check the control circuit, power circuit, and motor connection carefully in the supervision of the trainer/assessor - Check the function of the circuit after connecting the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection 2 speed by Magnetic contactor. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of the circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply Safety precautions - Apply the safety measures regarding the exercise - earth must be connected |
| - Perform Electrical Work for Industrial Area. | - Install Main Distribution BOX.as per the given task - Install wire for grounding in given task. - Install Electric Breakers and switch gears in main box/ distribution Box, as per load for safety measures - Install change over switch for emergency light system in main box distribution Box, as per standard color scheme - Laying conduits or Trunks in the as per drawing - Install electrical wiring, as per drawing and standard. - Install main box OR distribution box. |

Knowledge & Understanding

- Define Three-phase supply.

- Describe Control Diagram

- Define power diagram.

- Define installation diagram.

- Describe Star/Delta connection.

- Describe types of Three-phase motor.

- Describe types of Three-phase motor connection

- Explain reverse/forward circuit and its uses.

- Describe the purpose of indicator.

- Explain reverse/forward circuit and its uses.

- Describe 2 speed motor connection and its uses.

- Describe the purpose of 2 speed motor circuit.

- Describe the safety of installation

- Explain the Protective measures against too high voltage and electrical accidents.

- Explain Fundamentals of installation engineering

- Describe the Power overhead-line systems.

- Explain Low-voltage switchgear and distribution systems.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Magnetic Contactors for star delta exercise |
| 2 | Diagonal wire cutter, Combination Plier, Nos Plier |
| 3 | Line Tester /Test boy |
| 4 | Insulation Tape |
| 5 | Erath leakage test meter Digital |
| 6 | Electrical drills machine with hammering |
| 7 | Labeling machines |
| 8 | Phase difference Meter Digital |
| 9 | Wire strippers / Insulation Remover |
| 10 | Multi-meter digital |
| 11 | Electrician Tool kit Advance |
| 12 | Push button |
| 13 | Wooden Screw |
| 14 | PVC Connector Bar |
| 15 | PVC Wire as per task required |
| 16 | PVC Pipe/Duct. |
| 17 | PVC Board. |
| 18 | Three phase induction motor |
| 19 | Over load relay |
| 20 | Indicator |
| 21 | Timer with base. |

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Make and Install a 3phase motor connection Reverse/ forward by Magnetic contactor

- Make and Install 3 phase motor connection 2 speed by Magnetic contactor

- Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor.

- Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator.

- Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor

- Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator

- Make and Install 3 phase motor connection 2 speed by Magnetic contactor

- Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator

- Perform Electrical Work for Industrial Areas.

### Perform Testing of Electrical Three Phase Wiring

Overview:

This competency standard covers the skills and knowledge required to perform Testing of Electrical Three Phase Wiring

| Competency Units | Performance Criteria |
| --- | --- |
| - Perform Open Circuit Test | - Perform open circuit with line tester in given task - Perform open circuit with Test boy equipment in the given task. |
| - Perform Short Circuit Test | - Cool check Open DB or given task and look in DB for any short circuit OR burned cable. - Remove shortage with a suitable method OR replace the burned cable… |
| - Perform Continuity/Loop Test | - Connect all metal-clad switches, metal parts, and conduits with earth. - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and independent earth. |
| - Perform Visual Test | - Check the joints of the wire. - Check if there is any spark. - Check overheating of wires. - Check all the appliances are looking in good condition. - Check all indications of meters. - Check Voltages on all phases. - Check the DB and Breakers. - Check the main supply is coming properly. |
| - Perform Polarity Test | - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect the ohmmeter between the main line and all the terminals of sockets and load points one by one. - Ensure the meter-reading value must be less than 1 ohm. |
| - Perform Earth Resistance Test | - Place 3 electrodes on earth at a distance of 10m apart between every electrode. - Connect terminal E of the earth resistance tester to the first electrode. - Connect terminal P of the earth resistance tester to the second electrode. - Connect terminal C of the earth resistance tester with third electrode. - Measure the resistances after applying specific voltage. - Repeat P1 to P5 by interacting earthling regions. - Ensure 3 readings must be equal. |
| - Perform BLAVIER & Earth Loop Test | - Perform given task with Erath leakage tester |

Knowledge & Understanding

- Explain the function of distribution box.

- Explain the function of fuse.

- Explain which equipment used for open circuit and short circuits test.

- Observation of short circuit test.

- Explain the purpose of continuity test.

- Explain the purpose of polarity test.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Sockets |
| 2 | Magger |
| 3 | Breakers |
| 4 | Earth resistance tester |
| 5 | Continuity tester |
| 6 | Multi-meter digital / analogue |
| 7 | Distribution Box |

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Evaluation of different circuits

- Differentiate open, close and short circuits

- Troubleshooting in Distribution Box to evaluate fault

- Earth circuit with measuring equipment

- Earth leakage test

### Repair/ Maintain Electrical Installations for Three Phase

Overview:

This Competency Standard identifies the competencies required to Analyze Faults in Electrical Installations, troubleshoot of electrical equipment, and Carry out Preventive Maintenance, repair, and maintenance work in accordance with the manufacturer’s instructions and organizational requirements.

| Competency Units | Performance Criteria |
| --- | --- |
| - Analyze Fault in Electrical Installations | - Inspect the electrical wiring, fixtures, equipment, soldering, connection, appliances, and machinery for discovering faults and defects - Check the installation for consistency with the electrical drawing - Draw the layout of the equipment before disassembling of electrical components - Check the faulty components with scope or meter - Re-assembled the components as per drawing and the installation - Check the fault indication at the relay for HT installation - Test electrical equipment as specified in the manufacturer’s manual and record the results |
| - Repair Fault in Electrical Installations | - Prepare a list of items/material(s) required for repair / replacement as per specifications - Draw circuit diagram of electrical equipment's be disassembling - Make necessary adjustments in the control and protective switchgear - Replace defective control & protective switch gear, cables and accessories with standard items - Replace defective earth electrode & faulty/damaged earthling conductors - Test installed electrical equipment for safe and optimum performance according to standards & regulations - Record the results of the test performed on a standard format |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard.

- Interpretation of layout diagrams, technical sketches, graphic symbols and wiring diagrams, and manufacturer’s specifications etc.

- Types of electrical tools used for troubleshooting and preventive maintenance purposes

- Types of electrical measuring instruments used in testing electrical installations

- Types of electrical wiring systems for domestic& industrial purposes

- Methods of tracing the fault

- Types of electrical control and protective switchgear and accessories used in electrical circuits

- Types and principles of operation of circuit breakers used in electrical installations and their applications

- Types of electrical wires and cables and their ratings

- Types of electrical accessories and their applicant

- electrical installations

- Types of earthling systems used in domestic& industrial

Electrical installations

- Importance of testing electrical installations Importance of corrective & preventive maintenance

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Ammeter for panel |
| 2 | Cable Cutter |
| 3 | Clamp Meter |
| 4 | Circuit Boards |
| 5 | Chisel |
| 6 | Cable Knife |
| 7 | Bearing Puller |
| 8 | Bench Vice |
| 9 | Cable / Wire Gauge |
| 10 | Battery Charger |
| 11 | Hammer |
| 12 | Hacksaw |
| 13 | Combination Plier Set |
| 14 | Disk Grinder |
| 15 | Files (set |
| 16 | Earth Tester |
| 17 | Filler gauge |
| 18 | Solar Inverter compete with plates 5 KVA |
| 19 | Handsaw |
| 20 | Hole saw |
| 21 | Hydrometer |
| 22 | IR Temperature Gun |
| 23 | L Shape Measuring Scale Ruler (Gunya) |
| 24 | Lugs Punching Machine (Hydraulic and Manual) |
| 25 | Lux Meter |
| 26 | Magnetic Conductor |
| 27 | Megger meter (Insulation Tester) |
| 28 | Multi-meter Analogue |
| 29 | Phase Sequence Meter |
| 30 | Ring Spanner Set |
| 31 | Philips Screw drivers Set |
| 32 | RPM Meter |
| 33 | Safety Belt |
| 34 | Safety Goggles |
| 35 | Safety Helmet |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

  - Trace out the fault and take corrective action

  - Carry out the preventive maintenance

  - Update the service/repair record

### Maintain professionalism in the workplace and advance Green Practices

Overview:

This unit describes the skills and knowledge required to create systems and processes to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. Also adopted green practices.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Establish personal work goals | - Serve as a positive role model in the workplace through personal work planning - Ensure personal work goals, plans, and activities reflect the organization s plans, and own responsibilities and accountabilities - Measure and maintain personal performance in varying work conditions, work contexts, and when contingencies occur |
| - Set and meet own work priorities | - Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives - Use technology efficiently and effectively to manage work priorities and commitments - Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to |
| CU3. Develop and maintain professional competence | - Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans - Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence - Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence - Participate in networks to enhance personal knowledge, skills and work relationships - Identify and develop new skills to achieve and maintain a competitive edge |
| CU4. Implement Advance Green Practices | - Implement sustainable and environmentally friendly practices in precision electrical field - Implement strategies to reduce environmental impact and promote biodiversity - Record and report environmental data to the supervisor. |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Establish personal work goals

- Set and meet own work priorities

- Develop and maintain professional competence

- Implement Advance Green Practices

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Computer with Internet |
| 2 | Stationary |
| 3 | Sign boards |
| 4 | Multimedia |

| List of Tools / Equipment For 25 Trainee |  |  |
| --- | --- | --- |
| Sr. No. | Name of Tools / Equipment | Quantity |
|  | Screw Driver flat and plus type set off 4”, 6”, 8” | 25 Nos each |
|  | Neon phase tester light duty pocket size | 25 Nos |
|  | Insulated pliers with side cutter | 25 Nos |
|  | Insulated long nose pliers with side cutter | 25 Nos |
|  | Insulated wire cutter | 25 Nos |
|  | High insulation rubber hand gloves | 5 Nos |
|  | Insulated Electrical Knife | 25 Nos |
|  | Chisels 6”, 12” | 10 Nos each |
|  | Hammers 200 grm. | 25 Nos |
|  | Hand Hack saws 12”, 6” with blade | 25 Nos each |
|  | Electric soldering iron 45, 100 and150 watt 220V | 10 Nos each |
|  | Wire Strippers | 25 No,s |
|  | Philips screw driver No 1, 2, 3. | 25 Nos each |
|  | Measuring tap 3m | 25 Nos |
|  | Steel foot rule. | 25 Nos |
|  | Files (Flat) 250 x 1, 200 x 2 | 25 Nos each |
|  | Files (Triangular) 150 x 2 | 25 Nos |
|  | Files (Half round) 200 x 2 | 25 Nos |
|  | Files (Round) 200 x 1 | 25 Nos |
|  | Files (Raps cut) 150 | 25 Nos |
|  | Bench Vice 5” | 25 Nos |
|  | Tri square 150 x 100 mm | 25 Nos |
|  | Vernier caliper 150 mm | 25 Nos |
|  | Center punch | 25 Nos |
|  | Hammer 500 grm | 10 Nos |
|  | Scriber | 25 Nos |
|  | Rubber hammer | 10 Nos |
|  | Vice clamps | 25 Nos |
|  | Insulation Remover 150 mm | 25 Nos |
|  | Bearing puller | 2 Nos |
|  | Farmer chisels 8”. | 10 Nos |
|  | Wooden saw 300 mm | 10 Nos |
|  | Test boy tester with all accessories | 25 Nos |
|  | Volt meter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Ammeter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 25 Nos |
|  | Basic electrical trainer complete with all accessories and practical’s manual (TLM) | 25 No,s |
|  | Advance electrical trainer complete with all accessories and practical’s manual (TLM) | 25 No,s |
|  | Multimeter Analogue A.C / DC (voltage, Current, OHM) | 25 No,s |
|  | Tong tester/ clamp meter Digital | 10 Nos |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 25 Nos |
|  | Multimeter Analogue A.C / DC (voltage, Current, OHM) | 25 No,s |
|  | Voltage, current and power Digital Panel meter | 25 No,s |
|  | Ampere Digital Panel meter | 25 No,s |
|  | Power Digital Panel meter | 25 No,s |
|  | Electric Hand drill machine with hammering 0-13 mm | 5 Nos |
|  | Pedestal drill machine | 5 Nos |
|  | Jigsaw machine portable | 2 No |
|  | Insulated Scissor 6” | 25 Nos |
|  | Single phase energy meter 220V /10-20A | 5 Nos |
|  | Three phase energy meter 30 A | 5 Nos |
|  | Dust brush / File brush | 25 Nos each |
|  | Magnetic Contactors 2 + 2 220 Volts / 10 A 50Hz | 50 Nos. |
|  | Single Phase Motor 220 Volts 50Hz ½ HP | 5 Nos. |
|  | Three Phase Motor 380 Volts 50Hz 2 HP | 5 Nos. |
|  | Push Button Single Way / Two Way / Three Way | 25 Nos. Each |
|  | Drum Switch ON / OFF, REV / FOR, Star / Delta | 10 Nos. Each |
|  | Overload Relay 0.5 – 3.0 Amp | 25 Nos. |
|  | Motor Protection Switch Three Phase | 10 Nos. |
|  | Ac Motor trainer complete with all accessories and practical’s manual (TLM) | 4 trainers |
|  | Level multi dimension big and small | Each 10 No’s |

List of Consumables

| SR.NO | NAME | QTY.REQUIRED |
| --- | --- | --- |
| 1 | Solder wire.500 gram 60/40 | 5 real |
| 2 | Soldering paste /Risen | 10 ten |
| 3 | Grinder Disks | 25 No,s |
| 4 | PVC Pipe/Duct. ½ and ¾ Length of 12 feet | 15 each size |
| 5 | PVC clamp./ saddle | 5 packet |
| 6 | PVC board.3x3 | 200 No,s |
| 7 | Distribution Box 6”x12” | 25 No,s |
| 8 | Circuit Breaker. 5A, 10A, 20A ,32A | 10 No,s each |
| 9 | Wooden Screw ½, 1, 1.5 and 2 inch | 5 boxes each |
| 10 | Single pole switch. 15A, Piono | 100 No,s |
| 11 | Lamp holder pin type, Screw Type | 50 each |
| 12 | Lamp, 100 and 200 watt | 25 No,s |
| 13 | Junction Box ½ and ¾ | 10 dozen |
| 14 | Impulse switch. | 10 No,s |
| 15 | Power plug 30A | 25 No,s |
| 16 | Sockets 3 pin 30A | 50 No,s |
| 17 | PVC wire 1/44 | 15 coil |
| 18 | PVC wire 3/29 | 15 coil |
| 19 | PVC wire 7/29 | 10 coil |
| 20 | PVC Cable 4 core 3/29 | 10 coil |
| 21 | PVC Cable 4 core 1/44 | 10 coil |
| 22 | Magnetic Contactor 220V 2+2, 16A and 40A | 50 No,s each |
| 23 | Overload relay 20A and 50A | 10 No,s each |
| 24 | Hacksaw Blade | 30 No,s |
| 25 | Drill bits kit | 15 No,s |
| 26 | Electrical PVC tapes in a different colour | 20 packet |
| 27 | Timer with base | 10 No,s each |
| 28 | Indicator Lamp | 100 No,s each |
| 29 | Connector Bar 30A | 5 Box |
| 30 | Battery 9V | 5 Paket |
| 31 | Cell 1.5 V | 5 Paket |