Assessment Evidence Guide For “General Electrician / Domestic Electrician Level-2” (Summative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | National Qualification General Electrician/Domestic Electrician (Level 2) |
| --- | --- |
| Competency Standard | - Follow Occupational Health and Safety practices - Demonstrate basic communication skills - Prepare estimates for electrical work - Follow basic green practices for Domestic/General Electrician - Install Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Install Security and Electrical Communication systems |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, the candidate is required to perform the given tasks by following operational health and safety at workplace within time frame (for practical demonstration & assessment): - Perform Estimation of material. - Make T joint. - Prepare Distribution Board for single Phase - Perform single phase connection - Make series/test lamp circuit. - Install Sleeping room circuit. - Perform open circuit test. - Perform Polarity test. |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Perform Estimation of Material - Identify requirements of the materials to be utilized for the work in accordance with the job specification and drawings. - Check and confirm the requirements of the materials from the client or supervisor for accurate estimation. - Quantify the material as per drawing. - Use appropriate methods to calculate the cost of material and accessories keeping in view the current market prices. - Check and present the cost estimate to the client or supervisor for agreement. Make T Joint - Select the cable. - Remove the insulation of cable 1 to 50mm from where a connection is required. - Separate conductors of cable 1 equally. - Take another 12 mm stripped wire 2. - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable 2. - Solder the joint. Prepare Distribution Board for Single Phase - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. - Select outgoing Miniature Circuit Breaker (MCB) according to load. - Provide space for future MCB. - Select Voltmeter, ampere meter and indicator according to load and phases. - Select wire according to load and for wiring in DB. - Make neutral common for all load. - Connect accessories according to the circuit diagram Perform single phase connection - Select cable gauge. - Select cables colors. - Connect cables. - Insulate Joints Make series/test lamp circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Install sleeping room circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Perform open circuit test - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect ohmmeter between starting and ending terminals of live conductor. - Ensure the reading must be near to 0 ohm. - Repeat P2 to P3 for neutral and earth conductor Perform Polarity test - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect ohm meter between main line and all the terminal of sockets and load points one by one. - Ensure meter reading value must be less than 1 ohm. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Qualification General Electrician/Domestic Electrician (Level 2) |
| Competency Standard | - Follow Occupational Health and Safety practices - Demonstrate basic communication skills - Prepare estimates for electrical work - Follow basic green practices for Domestic/General Electrician - Install Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Install Security and Electrical Communication systems |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | To meet this standard, the candidate is required to perform the given tasks by following operational health and safety at workplace within time frame (for practical demonstration & assessment): - Perform Estimation of material. - Make T joint. - Prepare Distribution Board for single Phase - Perform single phase connection - Make series/test lamp circuit. - Install Sleeping room circuit. - Perform open circuit test. - Perform Polarity test |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify requirements of the materials to be utilized for the work in accordance with the job specification and drawings. |  |  |
| - Check and confirm the requirements of the materials from the client or supervisor for accurate estimation. |  |  |
| - Quantify the material as per drawing. |  |  |
| - Use appropriate methods to calculate the cost of material and accessories keeping in view the current market prices. |  |  |
| - Check and present the cost estimate to the client or supervisor for agreement. |  |  |
| - Select the cable. |  |  |
| - Remove the insulation of cable 1 to 50mm from where a connection is required. |  |  |
| - Separate conductors of cable 1 equally. |  |  |
| - Take another 12 mm stripped wire 2. |  |  |
| - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable 2. |  |  |
| - Solder the joint. |  |  |
| - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |
| - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |
| - Select outgoing Miniature Circuit Breaker (MCB) according to load. |  |  |
| - Provide space for future MCB. |  |  |
| - Select Voltmeter, ampere meter and indicator according to load and phases. |  |  |
| - Select wire according to load and for wiring in DB. |  |  |
| - Make neutral common for all load. |  |  |
| - Connect accessories according to the circuit diagram |  |  |
| - Select cable gauge |  |  |
| - Select cables colors |  |  |
| - Connect cables |  |  |
| - Insulate Joints |  |  |
| - Draw wiring diagram of single pole switch circuit. |  |  |
| - Draw Current path diagram of single pole switch circuit. |  |  |
| - Draw layout diagram of single pole switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of single pole switch circuit. |  |  |
| - Draw Current path diagram of single pole switch circuit. |  |  |
| - Draw layout diagram of single pole switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. |  |  |
| - Connect ohmmeter between starting and ending terminals of live conductor. |  |  |
| - Ensure the reading must be near to 0 ohm. |  |  |
| - Repeat P2 to P3 for neutral and earth conductor |  |  |
| - Switch off the main switch. |  |  |
| - Disconnect all loads. |  |  |
| - Switch on all circuit control switches. |  |  |
| - Connect ohm meter between main line and all the terminal of sockets and load points one by one. |  |  |
| - Ensure meter-reading value must be less than 1 ohm. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Qualification General Electrician/Domestic Electrician (Level 2) |
| --- | --- |
| Competency Standard | - Follow Occupational Health and Safety practices - Demonstrate basic communication skills - Prepare estimates for electrical work - Follow basic green practices for Domestic/General Electrician - Install Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Install Security and Electrical Communication systems |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | To meet this standard, the candidate is required to perform the given tasks by following operational health and safety at workplace within time frame (for practical demonstration & assessment): - Perform Estimation of material. - Make T joint. - Prepare Distribution Board for single Phase - Perform single phase connection - Make series/test lamp circuit. - Install Sleeping room circuit. - Perform open circuit test. - Perform Polarity test. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify requirements of the materials to be utilized for the work in accordance with the job specification and drawings. |  |  |  |  |  |
|  | Check and confirm the requirements of the materials from the client or supervisor for accurate estimation. |  |  |  |  |  |
|  | Quantify the material as per drawing. |  |  |  |  |  |
|  | Use appropriate methods to calculate the cost of material and accessories keeping in view the current market prices. |  |  |  |  |  |
|  | Check and present the cost estimate to the client or supervisor for agreement. |  |  |  |  |  |
|  | Select the cable. |  |  |  |  |  |
|  | Remove the insulation of cable 1 to 50mm from where a connection is required. |  |  |  |  |  |
|  | Separate conductors of cable 1 equally. |  |  |  |  |  |
|  | Take another 12 mm stripped wire 2. |  |  |  |  |  |
|  | Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable 2. |  |  |  |  |  |
|  | Solder the joint. |  |  |  |  |  |
|  | Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |  |  |  |
|  | Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |  |  |  |
|  | Select outgoing Miniature Circuit Breaker (MCB) according to load. |  |  |  |  |  |
|  | Provide space for future MCB. |  |  |  |  |  |
|  | Select Voltmeter, ampere meter and indicator according to load and phases. |  |  |  |  |  |
|  | Select wire according to load and for wiring in DB. |  |  |  |  |  |
|  | Make neutral common for all load. |  |  |  |  |  |
|  | Connect accessories according to the circuit diagram |  |  |  |  |  |
|  | Select cable gauge |  |  |  |  |  |
|  | Select cables colors |  |  |  |  |  |
|  | Connect cables |  |  |  |  |  |
|  | Insulate Joints |  |  |  |  |  |
|  | Draw wiring diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of single pole switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of single pole switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. |  |  |  |  |  |
|  | Connect ohmmeter between starting and ending terminals of live conductor. |  |  |  |  |  |
|  | Ensure the reading must be near to 0 ohm. |  |  |  |  |  |
|  | Repeat P2 to P3 for neutral and earth conductor |  |  |  |  |  |
| 48. | Switch off the main switch. |  |  |  |  |  |
| 49. | Disconnect all loads. |  |  |  |  |  |
| 50. | Switch on all circuit control switches. |  |  |  |  |  |
| 51. | Connect ohm meter between main line and all the terminal of sockets and load points one by one. |  |  |  |  |  |
| 52. | Ensure meter reading value must be less than 1 ohm. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Qualification Automation & Process Control (Level 5) Basic Electrical Wiring (Single Phase) (Level 2) |
| --- | --- |
| Competency Standard | - Follow Occupational Health and Safety practices - Demonstrate basic communication skills - Prepare estimates for electrical work - Follow basic green practices for Domestic/General Electrician - Install Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Install Security and Electrical Communication systems |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Explain the difference between voltmeter and ammeter. |  |  |  |
|  | What is series test lamp circuit used for? |  |  |  |
|  | Draw wiring diagram of single pole switch circuit. |  |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |