National Competency Standards

Electrical  Technology (Domestic/General Electrician) Level-2

Equivalent to G-III

60 Credit Hours

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

Introduction	3

Purpose of the Qualification	4

Summary of Competency Standards and contact hours	4

Packaging of Occupations	5

Date of Validation	5

Date of Review	5

Codes of Qualifications	5

Members of Qualifications Review Committee	6

Members of Qualifications Development Committee	6

Members of Qualification Validation Committee	7

Entry Requirements	7

Detail of Competency Standards	8

0713E&E1	Follow Occupational Health and Safety Practices	8

0713E&E2	Demonstrate Basic Communication Skills	11

0713E&E3	Prepare Estimates for Electrical Work	13

0713E&E4	Follow basic green practices for Domestic/General Electrician	15

0713E&E5	Install single-phase Electrical wiring.	16

0713E&E6	Perform Testing of Electrical Wiring	20

0713E&E7	Install Security & Electrical Communication Systems	24

# Introduction

Green skills incorporation in TVET aims to build capacity of skilled workforce, which is aware of environmental hazards and accordingly adopts more sustainable and environment friendly practices at the workplace. The workforce that possesses competencies and relevant knowledge & understanding oriented to green occupations is more employable and become an asset for businesses, enterprises and communities in developing green economies that results in improved human well-being and reducing environmental risks.

The United Nation’s Sustainable Development Goals (SDGs), UNESCO ESD initiatives UNEVOC, ILO, CPSC and ADB guidelines, studies and training manuals provide comprehensive green skill strategies to develop competencies / skills that can be imparted under vocational education and training. They are focused to prepare the workforce to adopt sustainable practices and address environmental degradation by appropriately managing human and material resources.

The vocational professions are increasingly getting attention in Pakistan, not only among the youth seeking to enter in the job market but also among adults who wish to polish their skills to develop a career out of it. The scope and demand of Domestic or General Electrician is very high in Pakistan due to fast growing population and construction projects in Pakistan. There are more job opportunities for electricians in Pakistan than any other vocational field. Pakistan is still facing energy crises, therefore needs more power houses, dams, renewable energy sources, solar installations etc. which will result in more demand of electrical technicians. Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector. Power sector reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.

The Government of Pakistan through National Vocational & Technical Training Commission (NAVTTC) in collaboration with German Development Company & BMZ has revised the national vocational qualifications for NVQF level 1 to Level 3 in Electrical Technology with greening concepts, which not only allows trainees to equip with growing Industrial trends but will be beneficial in Rapidly capturing the job market across the globe.

This document identifies competencies related to electrician trade identified by the relevant industry during workshops held at Lahore Chamber of Commerce & Industry, Lahore. These skills either can be infused as a separate competency standard / competency unit in relevant qualifications or can be integrated as a separate module in the qualifications already developed or being developed under growth economic sectors. Critical evidence statements have also been added to assist assessors in preparation and conduct of assessment. The purpose of this document is to bring change in abilities, values and attitudes needed by human to support the sustainable and effective utilization of resources in the workplace. It focuses on the skills that will help preserve and conserve the environment. If qualifications implemented by training providers, will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.

This qualification can create a considerable impact in electrical field especially in the following areas:

- Energy saving infrastructures

- Renewable Energy

- Building Automation

- Energy Network Management

- e-Vehicles

- LED Illumination

- Solar Energy

Structural changes will realign sectors that are likely to decline as a result of the greening of the economy and workers will need to be retrained accordingly. The successful transition to a low-carbon economy will only be possible if workers can flexibly adapt and practice to go green as per their industry standards.

# Purpose of the Qualification

The qualifications are in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF) based on demand of respective employers. This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Competency Standards could be used as a referral document for the development of curricula and Assessment Packages to be used by training institutions and Qualification Awarding Bodies respectively.

The purpose of the training is to provide the Green skills to the trainees in the field of Electrical and convert it into value added product, which is acceptable by International market and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

# Summary of Competency Standards and contact hours

| Competency Standards | Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  |
| Follow Occupational Health and Safety practices |  | Functional | 8 | 32 | 40 | 4 |
| Demonstrate basic communication skills |  | Generic | 12 | 38 | 50 | 5 |
| Prepare estimates for electrical work |  | Functional | 16 | 64 | 80 | 8 |
| Follow basic green practices for Domestic/General Electrician |  | Generic | 8 | 32 | 40 | 4 |
| Install Single Phase Electrical Wiring |  | Technical | 60 | 250 | 310 | 31 |
| Perform Testing of Electrical Wiring |  | Technical | 8 | 32 | 40 | 4 |
| Install Security and Electrical Communication systems |  | Technical | 8 | 32 | 40 | 4 |
| Total |  |  | 120 | 480 | 600 |  |

# Packaging of Occupations

The National Vocational Qualification for General Electrician / Domestic Electrician has been packaged as detailed below:

- Follow Occupational Health and Safety practices.

- Demonstrate Basic Communication Skills.

- Prepare estimates for Electrical Work.

- Follow basic green practices for Domestic/General Electrician.

- Install Single Phase Electrical Wiring.

- Perform Testing of Electrical Wiring.

- Install Security and Electrical Communication System.

# Date of Validation

The National Competency Standards Level-2 for Electrical Technology “Domestic/General Electrician”

has been validated by the Qualifications Validation Committee (QVC) members on 12 April, 2023 and will remain valid for ten years i.e. 11 April, 2033.

# Date of Review

The National Competency Standards Level-2 for Electrical Technology “Domestic/General Electrician”

has been validated by the Qualifications Validation Committee (QVC) members on 12 April, 2023 and shall be reviewed after three years i.e. 11 April, 2026.

# Codes of Qualifications

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| 0713E&E(2) | National Vocational Certificate Level 2 in Electrical Technology |
| --- | --- |

# Members of Qualifications Review Committee

The following members participated in the qualification review committee of this qualification held at Lahore Chamber of Commerce & Industry Lahore:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Shehreyar Khan Marwat | AD Acad/Oper | KP- TEVTA, Peshawar |
| 2 | Mr. Rehan Qureshi | Instructor GTTI | P-TEVTA, Lahore |
| 3 | Mr. Waqas Niaz | SDO | NTDC, Islamabad |
| 4 | Mr. Yusuf Mirza | Deputy Director | CoE / GSTC Mughalpura, Lahore |
| 5 | Mr. Taha Rehman | Sr. Engineer | Delta Electromechanical Works, Islamabad. |
| 7 | Engr. Muhammad Aleem | DACUM Facilitator | Professor UoL, Sargodha |
| 8 | Mr. Muhammad Aasim | NAVTTC Coordinator | NAVTTC HQs, Islamabad |
| 9 | Mr. Hassan Abbas | XEN | IESCO, Islamabad |
| 10 | Syed Waqar Azeem | Director Curriculum | P-TEVTA, Lahore |
| 11 | Hafiz Waqar Hashmi | AD Curriculum | P-TEVTA, Lahore |
| 12 | Mr. Basit Ali | AD Curriculum | PVTC, Lahore |
| 13 | Mr. Atif Mahmood | Technical Advisor | GIZ, Islamabad |
| 14 | Mr. Muhammad Naeem Akhtar | Technical Advisor | GIZ, Islamabad |

# Members of Qualifications Development Committee

The following members participated in the qualification development of this qualification:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Aijaz Ahmed Zia | Design & Application Engineer | INTECH Process Automation. Lahore |
| 2 | Mr. Amir Amin | HOD Electrical, Research Associate LUMS | City Polytechnic, Lahore |
| 3 | Mr. Muhammad Faheem Anjum | Chief Instructor Electrical | P-TEVTA, Lahore |
| 4 | Mr. Muhammad Asad | Instructor Electrical | P-TEVTA, Lahore |
| 5 | Ms. Tahreem Javeed | Lab Engineer | The University of Lahore |
| 6 | Ms. Huma Naeem | Research Associate | COMSATS Lahore |
| 7 | Engr. Inayat Ur Rehman | DACUM Facilitator | KPK-TEVTA, Peshawar |
| 8 | Mr. Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |

# Members of Qualification Validation Committee

The following members participated in the qualifications validation of this qualification:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Israr Ahmad | DD Academic | KP-TEVTA, Peshawar |
| 2 | Mr. Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |
| 3 | Ms. Sayeda Fatima Iqbal | System Analyst | PBTE Lahore |
| 4 | Mr. Danish Khan | Calibration Engineer | NPSL(PCSIR) Islamabad |
| 5 | Mr. Ghulam Rasool Maka | Vice Principal | S TEVTA, Karachi |
| 6 | Mr. Muhammad Mehboob Butt | Associate Professor | P TEVTA, Lahore |
| 7 | Mr. Inayat Ur Rehman | EX Professor / Director Academics | KP-TEVTA, Peshawar |
| 8 | Mr. Muhammad Asad | Instructor Electrical | P-TEVTA, Lahore |

# Entry Requirements

The entry level for National Vocational Certificate Level 2 in Electrical Technology is Middle Grade 8 certificate.

# Detail of Competency Standards

### Follow Occupational Health and Safety Practices

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment. The learner will also be able to practice green skills and become more environmental friendly.

| Competency Units | Performance Criteria |
| --- | --- |
| - Ensure use of personal protective equipment (PPE) | - Arrange the required personal protective equipment - Check functional condition of PPE’s - Wear personal protective equipment - Store PPE at appropriate place after use. |
| - Maintain First-aid Box | - Ensure availability of first aid box - Check requisite first aid box for r emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. - Develop a waste management plan for first aid supplies, including proper disposal hazardous materials. - Promote the use of recyclable materials in the procurement of first-aid box. |
| - Oparate Fire Extinguisher | - Asses the fire situation. - Select the fire extinguisher based on the type and size of the fire. - Verify the working condition of the fire extengusher, ensuring it is properly pressurized and has a vilid inspection tag or seal. - Apply appropriate fire extinguishing technique such as using the PASS method (Pull, Aim, Squeeze, Sweep) for extngueshing the small fire - Check expiry of fire extinguisher - Operate fire extinguisher |
| - Ensure Safeguard of Machines | - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors |
| - Adopt company policies and procedures | - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard |
| - Attain health & safety training | - Take required health and safety training - Implement work hazardous material information system (WHMIS) - Adopt first aid cardio respiratory, resuscitation and CPR |
| - Prepare for emergencies | - Take emergency response training - Ensure practice of emergency exercises - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. |
| - Respond to emergencies | - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by(for emergency) |

Knowledge & Understanding

- Factors affecting Health & Safety in the workplace.

- Personal Protective Equipment (PPE)

- First-Aid-Box.

- Emergency medicines and expiry

- Methods of treatment against electric shock

- Methods of treatment against minor injuries

- Types of Fire Extinguisher

- Uses of Fire Extinguisher

- Safety measures

- Types of work site Hazards

| 12 | Emergency response Plan |  |
| --- | --- | --- |
| 13 | Fall Protection Plan |  |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Types of hazards that are most likely to cause harm to health and safety

- Health and safety signs and precautions

- Techniques and methods to identify the risks of hazards at workplace

- Safety reporting procedures and documentation

- Describe fire-fighting methods

- Demonstrate use of appropriate Personal Protective Equipment (PPE) for the assigned job

- Demonstrate removal and disposal of PPE.

List of Tools and Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Protection suits | 15 |
| 2 | Safety shoes | 15 |
| 3 | Safety goggles | 15 |
| 4 | Hearing protection | 15 |
| 5 | Respiratory mask | 20 |
| 6 | First Aid Box | 2 |
| 7 | First Aid Kit | 2 |
| 8 | Stretcher | 1 |
| 9 | Fire Buckets | 5 |
| 10 | Fire Extinguisher | 5 |
| 11 | Emergency Alarm/Bell | 3 |
| 12 | Emergency response Plan | 5 |
| 13 | Fall Protection Plan | 5 |
| 14 | Exhaust Fan | 5 |
| 15 | AVO meter. | 10 |
| 16 | Test Indicator | 20 |
| 17 | Electrician Tool kit. | 6 |
| 18 | Megger | 2 |
| 19 | Plier. | 20 |
| 20 | Nose plier. | 20 |
| 21 | Insulation remover. | 10 |
| 22 | Safety Helm | 20 |
| 23 | Specific Gravity Chart | 5 |
| 24 | Splicing Machine | 10 |
| 25 | Spring tension checking meter | 5 |
| 26 | Tachometer | 5 |
| 27 | Bearing Puller | 10 |
| 28 | Soldering Iron | 15 |
| 29 | Set of Screw Drivers | 15 |
| 30 | Circuit Boards | 30 |
| 31 | Safety Belt | 15 |
| 32 | Ring Spanner Set | 10 |
| 33 | RPM Meter | 15 |
| 34 | Ohmmeter | 20 |
| 35 | Earth resistance tester | 10 |
| 36 | Continuity tester | 20 |
| 37 | IR Temperature Gun | 10 |
| 38 | Mini Hydraulic Press Machine | 5 |
| 39 | OTDR Mete | 5 |
| 40 | Multimeter | 15 |
| 41 | Cable Knife | 15 |
| 42 | Phase Sequence Meter | 10 |
| 43 | Clamp Meter | 15 |
| 44 | L Scale | 10 |
| 45 | Lux Meter | 10 |
| 46 | Lugs Punching Machine (Hydraulic and Manual) | 5 |
| 47 | Cells tester | 10 |
| 48 | Micron Meter | 10 |
| 49 | Magnetic Conductor | 15 |
| 50 | Ammeter | 15 |
| 51 | Hydrometer | 15 |
| 52 | Disk Grinder | 10 |
| 53 | Handsaw | 15 |
| 54 | Hammer | 15 |
| 55 | Hacksaw cutter | 15 |
| 56 | Duct Rod | 15 |
| 57 | Battery Charger | 3 |
| 58 | Gloves Pair | 20 |
| 59 | Generator | 1 |
| 60 | Backup system | 1 |
| 61 | Flux | 5 |
| 62 | Filler gauge | 5 |
| 63 | Files (set) | 10 |
| 64 | Earth Tester | 2 |
| 65 | Battery Cleaning Kit | 2 |
| 66 | Bench Vice | 10 |
| 67 | Chisel | 15 |

List of Consumables

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 2 KG |
| 2 | Soldering paste | 10 |
| 3 | Grinder Disks | 15 |
| 4 | PVC Pipe/Duct. | 5 each size |
| 5 | PVC clamp. | 5 boxes |
| 6 | Wooden/PVC board. | 10 sheets |
| 7 | Distribution Box | 5 |
| 8 | Circuit Breaker. | 5 each size |
| 9 | Screw | 5 boxes |
| 10 | Single pole switch. | 25 |
| 11 | Lamp holder | 20 |
| 12 | Lamp | 100 |
| 13 | Series board. | 10 |
| 14 | Impulse switch. | 10 |
| 15 | Power plug | 10 |
| 16 | Sockets | 15 |
| 17 | RCD | 15 |
| 18 | Loads | 10 |
| 19 | Supply source | 8 |
| 20 | Cables PVC single core and multicore | 5 meter each size |
| 21 | Wires single core | 3 rolls each size |
| 22 | Wire stripper | 20 |
| 23 | Hole saw | 10 |
| 24 | Hacksaw Blade | 30 |
| 25 | Drill bits | 15 each size |
| 26 | Electrical pvc tapes | 200 |
| 27 | Two way switch | 25 |
| 28 | Two pole switch | 25 |
| 29 | Junction Box | 25 |