|  | Assessment Evidence Guide For Domestic HVACR Technician Level-2 Level-2 Equivalent to G-III Summative Assessment |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard | - Maintain workplace Safety. - Maintain HVACR Tools and Equipment. - Perform bench work. - Perform basic electrical Operations - Develop basic communication skills. - Install Domestic Air Conditioner - Maintain Domestic Air Conditioner - Repair/Service of Domestic refrigeration units. - Adopt Green Practices at Workplace |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 Hrs. time frame (for practical demonstration & assessment): Perform leak testing, evacuation, and gas charging of refrigerator as per given requirement. |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare charging line. - Apply Nitrogen pressure to the refrigerator as per standard. - Check leak testing with soap solution or leak detector - Repair the leakage where required. - Vacuum the refrigerator as per standard. - Charge the refrigerant in the refrigerator. - Switch ON the refrigerator and check the cooling status. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Domestic HVACR Technician Level-2 |
| Competency Standard | - Maintain workplace Safety. - Maintain HVACR Tools and Equipment. - Perform bench work. - Perform basic electrical Operations - Develop basic communication skills. - Install Domestic Air Conditioner - Maintain Domestic Air Conditioner - Repair/Service of Domestic refrigeration units. - Adopt Green Practices at Workplace |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Perform leak testing, evacuation, and gas charging of refrigerator as per given requirement. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare charging line |  |  |
| - Apply Nitrogen pressure to the refrigerator as per standard |  |  |
| - Check leak testing with soap solution or leak detector |  |  |
| - Repair the leakage where required |  |  |
| - Vacuum the refrigerator as per standard |  |  |
| - Charge the refrigerant in the refrigerator |  |  |
| - Switch ON the refrigerator and check the cooling status |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard | - Maintain workplace Safety. - Maintain HVACR Tools and Equipment. - Perform bench work. - Perform basic electrical Operations - Develop basic communication skills. - Install Domestic Air Conditioner - Maintain Domestic Air Conditioner - Repair/Service of Domestic refrigeration units. - Adopt Green Practices at Workplace |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Perform leak testing, evacuation, and gas charging of refrigerator as per given requirement. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare charging line |  |  |  |  |  |
|  | Apply Nitrogen pressure to the refrigerator as per standard |  |  |  |  |  |
|  | Check leak testing with soap solution or leak detector |  |  |  |  |  |
|  | Repair the leakage where required |  |  |  |  |  |
|  | Vacuum the refrigerator as per standard |  |  |  |  |  |
|  | Charge the refrigerant in the refrigerator |  |  |  |  |  |
|  | Switch ON the refrigerator and check the cooling status |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard | - Maintain workplace Safety. - Maintain HVACR Tools and Equipment. - Perform bench work. - Perform basic electrical Operations - Develop basic communication skills. - Install Domestic Air Conditioner - Maintain Domestic Air Conditioner - Repair/Service of Domestic refrigeration units. - Adopt Green Practices at Workplace |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define refrigerant |  |  |
|  | Name the refrigerant used in refrigerator |  |  |
|  | Define Vacuum |  |  |
|  | Name the types of pressure gauges. |  |  |
|  | Define Purging. |  |  |
|  | Describe different types of wastes |  |  |
|  | What is the importance of waste segregation? |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |