|  | Assessment Evidence Guide For Commercial HVACR Technician Level-3 Level-3 Equivalent to G-II Summative Assessment |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Commercial HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | - Perform basic computer operations. - Construct basic drawing and Symbols. - Perform Installation of Commercial Refrigeration Units - Maintain Commercial Refrigeration Units - Perform Installation Commercial Air Conditioning Systems - Maintain Commercial Air Conditioning System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): Replace the compressor of commercial HVACR unit, charge refrigerant, and record end result. |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Select tools, equipment and related accessories according to job requirements - Recover refrigerant before dismantling the compressor. - Dismantle compressor from the commercial HVACR unit. - Select the replacement compressor as per the specifications of the unit. - Install selected compressor. - Pressurize the refrigeration system with nitrogen gas. - Check and rectify any leakage in the system. - Evacuate the nitrogen gas with vacuum pump. - Purge charging hose before charging refrigerant. - Reclaim the recovered refrigerant as per the SOPs. - Charge the refrigerant as per the given specifications. - Check each component of the unit. - Check and record performance of the unit as per standard. - Prepare and submit report for the supervisor. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Commercial HVACR Technician Level-3 |
| Competency Standard | - Perform basic computer operations. - Construct basic drawing and Symbols. - Perform Installation of Commercial Refrigeration Units - Maintain Commercial Refrigeration Units - Perform Installation Commercial Air Conditioning Systems - Maintain Commercial Air Conditioning System |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Install the split Air conditioner and also servicing the Fan Coil Unit (FCU) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Recover refrigerant before dismantling the compressor. |  |  |
| - Dismantle compressor from the commercial HVACR unit. |  |  |
| - Select the replacement compressor as per the specifications of the unit. |  |  |
| - Install selected compressor. |  |  |
| - Pressurize the refrigeration system with nitrogen gas. |  |  |
| - Check and rectify any leakage in the system. |  |  |
| - Evacuate the nitrogen gas with vacuum pump. |  |  |
| - Purge charging hose before charging refrigerant. |  |  |
| - Reclaim the recovered refrigerant as per the SOPs. |  |  |
| - Charge the refrigerant as per the given specifications. |  |  |
| - Check each component of the unit. |  |  |
| - Check and record performance of the unit as per standard. |  |  |
| - Prepare and submit report for the supervisor. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | Commercial HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | - Perform basic computer operations. - Construct basic drawing and Symbols. - Perform Installation of Commercial Refrigeration Units - Maintain Commercial Refrigeration Units - Perform Installation Commercial Air Conditioning Systems - Maintain Commercial Air Conditioning System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Joint copper tube using permanent method and perform compressor test |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Recover refrigerant before dismantling the compressor. |  |  |  |  |  |
|  | Dismantle compressor from the commercial HVACR unit. |  |  |  |  |  |
|  | Select the replacement compressor as per the specifications of the unit. |  |  |  |  |  |
|  | Install selected compressor. |  |  |  |  |  |
|  | Pressurize the refrigeration system with nitrogen gas. |  |  |  |  |  |
|  | Check and rectify any leakage in the system. |  |  |  |  |  |
|  | Evacuate the nitrogen gas with vacuum pump. |  |  |  |  |  |
|  | Purge charging hose before charging refrigerant. |  |  |  |  |  |
|  | Reclaim the recovered refrigerant as per the SOPs. |  |  |  |  |  |
|  | Charge the refrigerant as per the given specifications. |  |  |  |  |  |
|  | Check each component of the unit. |  |  |  |  |  |
|  | Check and record performance of the unit as per standard. |  |  |  |  |  |
|  | Prepare and submit report for the supervisor. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Commercial HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | - Perform basic computer operations. - Construct basic drawing and Symbols. - Perform Installation of Commercial Refrigeration Units - Maintain Commercial Refrigeration Units - Perform Installation Commercial Air Conditioning Systems - Maintain Commercial Air Conditioning System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Which gas is used in split air conditioner? |  |  |
|  | Describe the procedure of Vaccum? |  |  |
|  | What does stand for FCU? |  |  |
|  | What is the gas charging pressure in split air conditioner? |  |  |
| 5 | What is the purpse of compressor in split air conditioner? |  |  |
| 6 | What is the purpse of FCU in commercial unit? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________