| DACUM Panel Engr. Zamir Ul Hassan MEP Manager MIDJAC Construction Islamabad Mr. Syed Shabbir Haider HVAC Expert Haier, Lahore Pakistan Mr. Muhammad Haroon Senior Instructor HVAC GCT. Railway Road, Lahore Mr. Muhammad Shahid Saeed HVAC Expert Govt. ATC, Township, Lahore Mr. Azhar Waheed Instructor HVAC PVTC, Islamabad Mr. Asad Masood HVAC Supervisor, Climate Control, Lahore Mr. Muhammad Atif Latif Sr. Technician HVAC Pakistan Railway, Lahore Mr. Farooq Saeed In charge HVAC, Greaves Air-Conditioning, Lahore Mr. Shehzad Yousaf, HVAC Expert, Cool Care, Shalimar Garden, Lahore DACUM Facilitator Mr. Amjad Mehmood Baloch Lahore Dr. Zulfiqar Ali Cheema Dy Director VT as Coordinator NAVTTC, HQ, Islamabad | DACUM Job Analysis of National Vocational Qualifications Level 2-3 “HVACR Technician (Domestic and Commercial)” May 20-24, 2023, Lahore National Vocational & Technical Training Commission (NAVTTC) Government of Pakistan |
| --- | --- |

DUTIES & TASKS

Level-2 (HVACR Technician Domestic)

- Maintain Safety at work place

| Ensure use of personal protective equipment (PPE) | Maintain First-aid Box | Maintain Fire Extinguisher | Ensure Safety of Tools & Equipment |
| --- | --- | --- | --- |
| Adopt company policies & procedures | Respond to emergencies |  |  |

- Maintain Tools and Equipment for HVAC Operations

| Arrange Tools & Equipment for HVAC operations. | Maintain Tool Kit | Maintain Inventory of tools and equipment |
| --- | --- | --- |

- Perform Bench Work

| - Carry-Out Sawing | - File the Work-Piece | - Carry out Drilling | - Produce Threads on Work- Piece | - Perform Hand Reaming | - Perform Riveting |
| --- | --- | --- | --- | --- | --- |

- Perform Basic Electric Operations

| - Measure Electrical Current and Resistance | - Measure Voltage | - Calculate Electrical Power | - Prepare estimate |
| --- | --- | --- | --- |

- Develop basic communication Skills

| Adopt effective Listening | Perform basic Nonverbal Communication Skill | Develop basic verbal communication Skill | Develop Basic Written Communication Skills |
| --- | --- | --- | --- |

- Install Domestic Air Conditioner

| Install Window Air Conditioner | Install Split Air Conditioner |  |
| --- | --- | --- |

- Maintain Domestic Air Conditioner

| Diagnose Faults in Domestic Air Conditioner | Repair Window / Split Air Conditioner | Service Window Air Conditioner | Service Split Air Conditioner |
| --- | --- | --- | --- |

- Repair / Service of Domestic Refrigeration Units.

| Diagnose Faults in Domestic Refrigeration Units | Repair / Service the Refrigerator / Freezer | Repair / Service Electric Water Cooler / Water Dispenser |
| --- | --- | --- |

- Adopt Green Practices at Workplace

| Identify types of waste | Implement waste reduction strategies | Conserve Resources |
| --- | --- | --- |

Level-3 (HVACR Technician Commercial)

- Perform Basic Computer Operations

| Operate MS word | Operate MS Excel | Operate MS Power Point | Perform Browsing | Print Document |
| --- | --- | --- | --- | --- |

- Construct Basic Drawings and Symbols

| Draw single stroke capital vertical lettering. | Draw single stroke capital inclined lettering | Draw horizontal, vertical and inclined lines | Draw circles, half circles, radius with compass |
| --- | --- | --- | --- |
| Draw various types of Lines, as per instructions | Draw basic electrical Symbols as per instructions |  |  |

- Perform Installation Commercial Refrigeration Units

| Install Walk-in Cooler / Freezer | Install Ice Making Machine | Install Chilled Water Tank | Install HVACR Allied Components for commercial refrigeration unit |
| --- | --- | --- | --- |

- Maintain Commercial Refrigeration Units

| Troubleshoot faults in commercial refrigeration unit | Repair Commercial Refrigeration Units |  |
| --- | --- | --- |

- Perform Installation of Commercial Air Conditioning Systems

| Install Packaged unit | Install Variable Refrigerant Flow (VRF) / Variable Refrigerant Volume (VRV) System | Install Air/Water-cooled Chiller | Install Air Handling Units (AHU) / Fan Coil Unit (FCU) |
| --- | --- | --- | --- |
| Install water circulating pump | Install Cooling Tower | Carry out Commissioning | Install HVAC Accessories for commercial Air Conditioning Systems |

- Maintain Commercial Air Conditioning System

| Troubleshoot the Fault in Commercial Air Conditioning System | Repair Chiller | Repair of Air Handling Unit / Fan Coil Unit | Repair Pumps and Cooling Tower |
| --- | --- | --- | --- |

Additional Information for “HVACR Technician”

| Worker traits Analytical, Creative Hard worker, Honest Physically fit, Punctual | Entry requirements At least middle or Grade 8 | Duration of Training Level-2: 6 Months Level-3: 6 Months Level-4: 1 Year, Level-5: 1 Year | Career Paths Attendant/Technician. Assistant and Supervisor. |
| --- | --- | --- | --- |

Level-2 (HVACR Technician Domestic)

| Related Knowledge - Maintain Safety at workplace. - Hazard and its Types - Treatment of various hazards - Personal Protective Equipment (PPE) and its uses - Occupational Health & Safety Regulations. - Knowledge and understanding of company policy and procedures. - Use of emergency equipment - First-Aid-Box and its uses. - Knowledge of first-aid-box items. - Know about the techniques for provision of first aid treatment. - Fire Extinguisher its types and uses - Types of fire extinguishing materials. - Maintain Tools and Equipment for HVAC operations - Describe Types and Uses of different Tools - Describe Calibration techniques - Describe Inventory Management - Perform Bench Work - Usage of bench-work tools and equipment Interpret basic drawings - Measurement systems - Use of measuring and marking tools Usage of bench working tools - Procedure of safe clamping the work-piece - Personal Protective Equipment (PPEs) and workplace safety 4. Perform Basic Electrical Operations - Define Voltage, Current, Resistance and Power - Define AC and DC - Define Ohm’s Law - Understand voltmeter, Ampere-meter, Ohm meter, wattmeter, multi-meter - Verify Ohm’s Law - Understand Electrical Power and Energy - Define Semiconductor Diode, Transistor - Norms and standard formats of preparing estimates - Factors effecting material cost - Method of calculating labor cast. - Develop basic communication Skills - Define effective Listening. - Describe various types of effective listening. - Define Nonverbal Communication - Define types of Nonverbal Communication. - Enlist various communication Medium - Install Domestic Air Conditioner - Basic load calculation for cooling / heating - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of Window / Split (DC Inverter) - Technical Operations of all types of Split Air Conditioners - Electrical / HVAC layout plans/wiring diagrams - Type of Electrical wires and cables including underground cables, their ratings and applications - Methods of Copper Tube Cutting / Reaming / Bending / Swaging / Flaring / Brazing / Jointing / Fixing - Basic masonry and carpentry applications - Gas welding (Soldering and Brazing) - Types of insulation and their applications - Compressor types and applications - Methods of Pressurizing / Evacuations / Purging / Refrigerant Charging - Types of Refrigerants, its properties, recycling, recovery and reclaiming - Record Keeping and reporting | Tools/Equipment - Steel-toed footwear, - Safety gloves, - Appropriate safety glasses, - High visibility vest, - Breathing apparatus, - Site emergency response plan, - Fire extinguishers, - Fire blankets, - Respirators, masks, - Fire hoses, - First aid kits, stretchers, - Adjustable Pipe Wrench 10”,12”,14” - Adjustable Screw Wrench 8”,10”,12” - Allen Key Set - Bearing Puller - Bench Vice - Box Spanner Screw Drivers - Box Spanner Set - Center Punch - Chisel Set - Combination Plier 10” - Crimping Tool - De-Soldering Tool - De-Soldering Tool (Solder Sucker) - Diagonal Side Cutter - Digital Air Flow / Velocity Meter - Digital Capacitor Analyzer - Digital Clamp-On Ampere Meter - Digital Humidity Meter - Digital Micro Meter - Digital Multi Meter - Digital Optical Tachometer - Digital Pressure Gauges Set (High & Combine) (High& Low) - Digital Psychrometer (Hygrometer) - Digital Vernier Caliper - Electric Hand Drills - Electric Hand Grinder - Electric Screw Driver Set (Star, Flat) - Electronic Leak Detector - File Set - Fins Straightening Comb Set - Flaring and Swaging Tool Kit - Gas Welding Set with Table and All Accessories - Hacksaw Frame - Hammer Set - Hand Electric Blower - HILTI Drill Machine (Piston Type) - Hot Air Gun - Insulation Remover - Laser Distance Measuring Device - Laser Temperature Measuring Device - LCR Meter - Locking Plier - Mallet Set - Manometer |
| --- | --- |
| - Maintain Domestic Air Conditioner - Knowledge of American Society of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Basic load calculation for cooling / heating - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for repairing of Window / Split Air Conditioners - Technical Operations of Split Air Conditioners - Electrical / copper piping layout plans/wiring diagrams - Type of Electrical wires and cables including underground cables, their ratings and applications - Techniques of diagnosing and troubleshooting of Domestic Air Conditioners - Familiarity with Domestic Air Conditioner error codes and solution - Types of motors used in Domestic Air Conditioners - Types of lubricants and their properties - Capable to replace PCB Card - Compressor types / Specifications and applications - Methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Methods of Pressurizing / Evacuation / Purging / Refrigerant Charging - Types of Refrigerants, its properties, recovery and reclaiming - Record Keeping and reporting 8 Repair / Service Domestic Refrigeration Units - Techniques of Copper Tube Cutting / Bending /Swaging / Flaring / Brazing / Jointing / Fixing - Gas welding (Soldering and Brazing) - Types of Refrigerants, its properties, recovery and reclaiming - Knowledge and Understanding of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Knowledge of Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for repairing of Refrigerators / Freezers / Water Coolers and Water Dispensers - Technical Operations of Non-Frost refrigerators - Types of electrical wires and cables, their ratings and applications - Techniques for Diagnosing and Troubleshooting of Domestic Refrigerators / Freezers / Water Coolers and Water Dispensers - Types of Lubricants and their properties - Capable to replace PCB Card - Compressor types/ Specifications and applications - Condenser Types & Function - Refrigerant Control Types & Function - Evaporator Types & Function - Methods of Pressurizing/ Evacuation / Purging / Refrigerant Charging - Record keeping and reporting 9. Adopt Green Practices at Workplace - Identification of various types of waste. - Importance of waste reduction strategies. - Identification of Environment adversely affecting materials - Principles of six R’s in greening - Waste reduction techniques | - Manual Screw Driver Set (Star, Flat) - Masonry Drill Set - Measuring Tape 5 Meter - Mega meter (0 - 1000 Volts) - Megohmmeter (0 - 1000 Volts) - Metal Drill Bit Set - Micron Pressure Gauge - Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor - Nose Plier Set - Open Ended Spanner Set - Pedestal Drill Machine - Personal Protective Equipment (PPE) - Pinch-Off Plier - Pipe Cutter - Pipe Vice - Portable Refrigerant Charging Station - Pulley Wheel Puller - Ratchet Wrench - Rivet Gun / Plier - Scissors 10” - Scriber - Socket Set - Soldering Iron 120 WATT - Spirit Level 12” - Steel Ruler 12” - Tap and Die Set - Try Square - Tube Benders (Spring Type and Pulley Bender Type) - Tube Cutter - Vacuum Pump 2-Stage, 6cfm - Water Pressure Gun for Service. - Wire Stripper |

Level-3 (HVACR Technician Commercial)

| - Perform Basic Computer Operations - Define Basic parts of computers - Describe the Importance and uses of MS Word - Describe the Importance and uses of MS Excel - Describe the Importance and uses of MS Power Point - Describe the importance of Internet. - Use of various search engines like Google, U-tube etc. - Describe Printing Procedure. - Construct Basic Drawings and symbols - Drawing Pencil, their grading, sharpening and using techniques. - Style of letters. - General rules for lettering - Basic lines - Importance of lines - Common Types of lines and correct line weightage. - Application of lines. - Introduction to geometry - Introduction to sketching techniques. - Introduction to geometry - Introduction to sketching techniques. - Techniques of sketching straight lines in different directions. - Electrical, Electronics and HVACR symbols - Perform Installation of Commercial Refrigeration Unit - Fundamental knowledge of refrigeration - Layout plans, drawing including HVAC symbols, and manufacturer’s specifications. - Type of pipes, pipe fittings and their applications. - Methods of pipe cutting / welding / jointing / fixing / sealing etc. - Preparation of hanging supportive structures for piping. - Maintain Commercial Refrigeration Unit - Fundamental knowledge of standards by American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Fundamental knowledge of Electrical and Electronics equipment - Electrical / Copper Piping layout plans / wiring diagrams related to the commercial refrigeration unit. - Techniques for diagnosing and troubleshooting of commercial Refrigeration Units - Familiarity with Refrigeration Units, their error codes, and solutions - Methods of Copper Tube Cutting / Bending / Swaging / Flaring / Brazing / Jointing / Fixing - Types of relevant Lubricants, their properties, and use. - Compressor types and applications - Types of refrigerants and its properties - Methods of Pressurizing / Evacuation / Purging / Refrigerant Charging - Appropriate use of personal protective equipment - Record keeping and reporting. - Perform Installation of Commercial Air Conditioning Systems - Knowledge of the standards of American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR, Electric and Electronics - Techniques for installation of commercial Air conditioners - Fundamental and Technical Operations of VRF / VRV system - Electrical / HVACR layout plans/wiring diagrams - Types of electrical control wires, cables, including underground cables, their ratings, and its applications - Methods of Copper Tube Cutting / Bending /Swedging / Flaring / Brazing / Y-Jointing / Fixing. - Gas welding types and techniques - Types of Insulation and their applications - Types of AHUs, FCU, Chillers and Cooling Towers, Compressor, Condenser and pump types and their applications - Types of refrigerants, its properties, recovery, and reclaiming - Procedure regarding commissioning the central HVACR systems - Record keeping and reporting | - Adjustable Pipe Wrench 10”,12”,14” - Adjustable Screw Wrench 8”,10”,12” - Allen Key Set - Bearing Puller - Bench Vice - Box Spanner Screw Drivers - Box Spanner Set - Center Punch - Chisel Set - Combination Plier 10” - Crimping Tool - De-Soldering Tool - De-Soldering Tool (Solder Sucker) - Diagonal Side Cutter - Digital Air Flow / Velocity Meter - Digital Capacitor Analyzer - Digital Clamp-On Ampere Meter - Digital Humidity Meter - Digital Micro Meter - Digital Multi Meter - Digital Optical Tachometer - Digital Pressure Gauges Set (High & Combine) (High& Low) - Digital Psychrometer (Hygrometer) - Digital Vernier Caliper - Electric Hand Drills - Electric Hand Grinder - Electric Screw Driver Set (Star, Flat) - Electronic Leak Detector - File Set - Fins Straightening Comb Set - Flaring and Swaging Tool Kit - Gas Welding Set with Table and All Accessories - Hacksaw Frame - Hammer Set - Hand Electric Blower - HILTI Drill Machine (Piston Type) - Hot Air Gun - Insulation Remover - Laser Distance Measuring Device - Laser Temperature Measuring Device - LCR Meter - Locking Plier - Mallet Set - Manometer - Manual Screw Driver Set (Star, Flat) - Masonry Drill Set - Measuring Tape 5 Meter - Mega meter (0 - 1000 Volts) - Megohmmeter (0 - 1000 Volts) - Metal Drill Bit Set |
| --- | --- |

| 6. Maintain Commercial Air Conditioning System - Understanding of regulations and standards of American Society Of Heating, Refrigeration, And Air Conditioning Engineers (ASHRAE) - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Fundamental knowledge of HVACR and Electrical / Electronic components - Technical Operations of Chillers, Cooling Tower, Pumps, AHUs & FCUs - Types of electrical controls, wires and cables, including underground cables, their ratings and its applications - Techniques for Diagnosing and Troubleshooting of commercial Air conditioning systems - Copper Tube Cutting / Bending /Swaging / Flaring / Brazing / Jointing / Fixing - Familiarity with commercial Air conditioners error codes and solution - Types of Motors used in commercial Air conditioners. - Types of controls and their functions used in commercial air conditioning systems - Capability to use and handle the micron gauge for deep vacuum measuring - Gas welding (Soldering and Brazing) - Types of Insulation and their applications - Compressor, Condenser, Evaporator types and applications - Types of Refrigerants, its properties, recovery and reclaiming - Record keeping and reporting. | - Micron Pressure Gauge - Nitrogen Gas Cylinder with Hose Pipe, Regulator and Flash Back Arrestor - Nose Plier Set - Open Ended Spanner Set - Pedestal Drill Machine - Personal Protective Equipment (PPE) - Pinch-Off Plier - Pipe Cutter - Pipe Vice - Portable Refrigerant Charging Station - Pulley Wheel Puller - Ratchet Wrench - Rivet Gun / Plier - Scissors 10” - Scriber - Socket Set - Soldering Iron 120 WATT - Spirit Level 12” - Steel Ruler 12” - Tap and Die Set - Try Square - Tube Benders (Spring Type and Pulley Bender Type) - Tube Cutter - Vacuum Pump 2-Stage, 6cfm - Water Pressure Gun for Service - Wire Stripper |
| --- | --- |