|  | # Assessment Evidence Guide # for # “Mason Level 3” Perform Insulation Work for a Masonry Structure (Formative Assessment) |
| --- | --- |
|  | 21th to 25th June 2021 |
|  | National Vocational & Technical Training Commission |

| Title of Qualification: National Vocational Certificate Level 3 in Construction (Mason) |  | CS Code: | Level: 3 | Version: 01 |
| --- | --- | --- | --- | --- |
| Competency Standard Title: Perform Insulation Work for a Masonry Structure Identify and Implement Workplace Policies and Procedures Apply Work Health and Safety Practices (WHS) Communicate at Workplace |  | Assessment Date (DD/MM/YY): Assessment Time : 04 hours |  |  |
| Candidate Details | Name: Registration/Roll Number: |  |  |  |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment): Assessment Task 1: Candidate is required to perform insulation of external wall as per instructions given by assessor. Assessment Task 2: Candidate is required to perform insulation of roof as per drawing given by assessor. And complete: - Knowledge assessment test (Written or Oral) - Portfolios at the time of assessment (if any) |  |  |  |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, you will complete: Assessment Task 1 Performance criteria 1: Select work place Performance criteria 2: Perform measurement for task Performance criteria 3: Select appropriate material according to the task Performance criteria 4: Select appropriate tools according to the task Performance criteria 5: Perform layout according to drawing Performance criteria 6: Prepare mortar according to the required ratio Performance criteria 7: Spread mortar on bricks Performance criteria 8: Place bricks for internal wall as per task Performance criteria 9: Place insulation material as per requirement Performance criteria 10: Place bricks for external wall as per task Performance criteria 11: Check the alignment Performance criteria 12: Fix tie bar as per standard Performance criteria 13: Fill the horizontal and vertical joints Performance criteria 14: Clean the working area Performance criteria 15: Check the workplace Performance criteria 16: Comply with duty of care requirements Performance criteria 17: Use personal protective equipment according to safe work practices Performance criteria 18:Use various media to communicate effectively |  |  |  |
|  | Assessment Task 2 Performance criteria 1: Select work place Performance criteria 2: Perform measurement for task Performance criteria 3: Select appropriate material according to the task Performance criteria 4: Select appropriate tools according to the task Performance criteria 5: Perform cleaning and washing of slab Performance criteria 6: Apply coats of hot bitumen as per drawings/specifications Performance criteria 7: Spread layers of polythene sheet as per drawings/specifications Performance criteria 8: Place insulation material Performance criteria 9: Spread polythene sheet on insulated area as per requirement Performance criteria 10: Place wire mesh with suitable concrete spacer Performance criteria 11: Place 2” thick concrete over wire mesh and finish it with wooden float Performance criteria 12: Perform tile flooring over concrete finish Performance criteria 13: Perform curing as per standards Performance criteria 14: Identify and inform hazards at workplace to relevant personnel Performance criteria 15:Communicate orally /written |  |  |  |

Assessors Judgment Guide (to be completed by the Assessor and signed both by the assessor and the candidate after the assessment)

| Candidate Details | Name: Registration/Roll Number: Candidate Signature: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: Assessor’s code: Signature of the Assessor: |  |  |  |  |  |  |  |
| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |  |
| Activity |  | Method |  |  |  |  | Result |  |
| Nature of Activity |  | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |  |

| Each Assessment Task (with performance criteria) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Assessment Task 1 |  |  | Description of Assessment Task 1 Candidate is required to perform insulation of external wall as per drawing given by assessor. |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select work place |  |  |  |  |  |
|  | Perform measurement for task |  |  |  |  |  |
|  | Select appropriate material according to the task |  |  |  |  |  |
|  | Select appropriate tools according to the task |  |  |  |  |  |
|  | Perform layout according to drawing |  |  |  |  |  |
|  | Prepare mortar according to the required ratio |  |  |  |  |  |
|  | Spread mortar on bricks |  |  |  |  |  |
|  | Place bricks for internal wall as per task |  |  |  |  |  |
|  | Place insulation material as per drawings/specifications |  |  |  |  |  |
|  | Place bricks for external wall as per task |  |  |  |  |  |
|  | Check the alignment |  |  |  |  |  |
|  | Fix tie bar as per standard |  |  |  |  |  |
|  | Fill the horizontal and vertical joints |  |  |  |  |  |
|  | Clean the working area |  |  |  |  |  |
|  | Check the workplace |  |  |  |  |  |
|  | Comply with duty of care requirements |  |  |  |  |  |
|  | Use personal protective equipment according to safe work practices |  |  |  |  |  |
|  | Use various media to communicate effectively |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |  |

| Assessment Task 2 |  |  | Description of Assessment Task 2 Candidate is required to perform insulation of roof as per drawing given by assessor. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select work place |  |  |  |  |  |
|  | Perform measurement for task |  |  |  |  |  |
|  | Select appropriate material according to the task |  |  |  |  |  |
|  | Select appropriate tools according to the task |  |  |  |  |  |
|  | Perform cleaning and washing of slab |  |  |  |  |  |
|  | Apply coats of hot bitumen as per drawings/specifications |  |  |  |  |  |
|  | Spread layers of polythene sheet as per drawings/ specifications |  |  |  |  |  |
|  | Place insulation material |  |  |  |  |  |
|  | Spread polythene sheet on insulated area as per requirement |  |  |  |  |  |
|  | Place wire mesh with suitable concrete spacer |  |  |  |  |  |
|  | Place 2” thick concrete over wire mesh and finish it with wooden float |  |  |  |  |  |
|  | Perform tile flooring over concrete finish |  |  |  |  |  |
|  | Perform curing as per standards |  |  |  |  |  |
|  | Identify and inform hazards at workplace to relevant personnel |  |  |  |  |  |
|  | Communicate orally /written |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |  |