|  | Assessment Evidence Guide For Summative Assessment “PLUMBER” LEVEL-2 |
| --- | --- |
|  | Date 04-09 April, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate “PLUMBER” LEVEL-2 |
| --- | --- |
| Competency Standard | 0732BCE1501 Maintain Safety at the Workplace 0732BCE1502 Prepare Plumbing Drawing 0732BCE1503 Perform Basic Metal Work 0732BCE1504 Carry Out Plumbing Job 0732BCE1505 Join Pipe & Fittings 0732BCE1506 Perform Sanitary Work 0732BCE1507 IT Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 Hrs. time frame (for practical & assessment): Task 1: Install a single open shower unit following the provided plumbing drawing, ensuring all connections are accurate, secure, and leak free. (Annex 1) OR Task 2: Install a washbasin in the designated hall as per the provided drawing. (Annex 2) |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | TASK 1: - Apply required PPEs and Maintain workplace safety. - Refer to plumbing drawing for layout confirmation. - Measure and cut pipes to specified lengths. - Cut 16 mm threading for pipe connections. - Apply lubrication during pipe threading. - Use clamp to fix the job securely on the training wall. - Install shower unit in specified position as per drawing. - Connect hot and cold-water lines to shower valve. - Ensure secure pipe joints using appropriate fittings. - Test for leaks and adjust connections as needed. - Check water flow rate and adjust if necessary. - Perform sanitary sealing around the installation. - Document installation process and tools equipments. TASK 2: - Apply required PPEs and Maintain workplace safety. - Select proper tools for installation according to drawing. - Review plumbing drawing for exact basin placement. - Prepare and cut pipes as per measurement requirements. - Use Teflon tape on threaded connections to prevent leaks. - Mount basin and secure it to wall/frame as specified. - Check proper leveling of the basin before final fixation. - Connect water supply and waste pipe fittings to basin. - Apply waterproof sealant around basin edges. - Check for and fix any leaks in the connections. - Ensure proper drainage flow from basin to outlet. - Inspect the sanitary condition of the installation. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate “PLUMBER” LEVEL-2 |
| Competency Standard | 0732BCE1501 Maintain Safety at the Workplace 0732BCE1502 Prepare Plumbing Drawing 0732BCE1503 Perform Basic Metal Work 0732BCE1504 Carry Out Plumbing Job 0732BCE1505 Join Pipe & Fittings 0732BCE1506 Perform Sanitary Work 0732BCE1507 IT Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Task 1: Install a single open shower unit following the provided plumbing drawing, ensuring all connections are accurate, secure, and leak-free. (Annex 1) OR Task 2: Install a washbasin in the designated hall as per the provided drawing. (Annex 2 |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| TASK 1: |  |  |
| - Apply required PPEs and Maintain workplace safety. |  |  |
| - Refer to plumbing drawing for layout confirmation. |  |  |
| - Measure and cut pipes to specified lengths. |  |  |
| - Cut 16 mm threading for pipe connections. |  |  |
| - Apply lubrication during pipe threading. |  |  |
| - Use clamp to fix the job securely on the training wall. |  |  |
| - Install shower unit in specified position as per drawing. |  |  |
| - Connect hot and cold-water lines to shower valve. |  |  |
| - Ensure secure pipe joints using appropriate fittings. |  |  |
| - Test for leaks and adjust connections as needed. |  |  |
| - Check water flow rate and adjust if necessary. |  |  |
| - Perform sanitary sealing around the installation. |  |  |
| - Document installation process and tools equipments. |  |  |
| TASK 2: |  |  |
| - Apply required PPEs and Maintain workplace safety. |  |  |
| - Select proper tools for installation according to drawing. |  |  |
| - Review plumbing drawing for exact basin placement. |  |  |
| - Prepare and cut pipes as per measurement requirements. |  |  |
| - Use Teflon tape on threaded connections to prevent leaks. |  |  |
| - Mount basin and secure it to wall/frame as specified. |  |  |
| - Check proper leveling of the basin before final fixation. |  |  |
| - Connect water supply and waste pipe fittings to basin. |  |  |
| - Apply waterproof sealant around basin edges. |  |  |
| - Check for and fix any leaks in the connections. |  |  |
| - Ensure proper drainage flow from basin to outlet. |  |  |
| - Inspect the sanitary condition of the installation |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate “PLUMBER” LEVEL 2 |
| --- | --- |
| Competency Standard | 0732BCE1501 Maintain Safety at the Workplace 0732BCE1502 Prepare Plumbing Drawing 0732BCE1503 Perform Basic Metal Work 0732BCE1504 Carry Out Plumbing Job 0732BCE1505 Join Pipe & Fittings 0732BCE1506 Perform Sanitary Work 0732BCE1507 IT Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Task 1: Install a single open shower unit following the provided plumbing drawing, ensuring all connections are accurate, secure, and leak-free. (Annex 1) OR Task 2: Install a washbasin in the designated hall as per the provided drawing.. (Annex 2 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
| TASK 1: |  |  |  |  |  |  |
| 01 | Apply required PPEs and Maintain workplace safety. |  |  |  |  |  |
| 02 | Refer to plumbing drawing for layout confirmation. |  |  |  |  |  |
| 03 | Measure and cut pipes to specified lengths. |  |  |  |  |  |
| 04 | Cut 16 mm threading for pipe connections. |  |  |  |  |  |
| 05 | Apply lubrication during pipe threading. |  |  |  |  |  |
| 06 | Use clamp to fix the job securely on the training wall. |  |  |  |  |  |
| 07 | Install shower unit in specified position as per drawing. |  |  |  |  |  |
| 08 | Connect hot and cold-water lines to shower valve. |  |  |  |  |  |
| 09 | Ensure secure pipe joints using appropriate fittings. |  |  |  |  |  |
| 10 | Test for leaks and adjust connections as needed. |  |  |  |  |  |
| 11 | Check water flow rate and adjust if necessary. |  |  |  |  |  |
| 12 | Perform sanitary sealing around the installation. |  |  |  |  |  |
| 13 | Document installation process and tools equipments. |  |  |  |  |  |
| TASK 2: |  |  |  |  |  |  |
| 01 | Apply required PPEs and Maintain workplace safety. |  |  |  |  |  |
| 02 | Select proper tools for installation according to drawing. |  |  |  |  |  |
| 03 | Review plumbing drawing for exact basin placement. |  |  |  |  |  |
| 04 | Prepare and cut pipes as per measurement requirements. |  |  |  |  |  |
| 05 | Use Teflon tape on threaded connections to prevent leaks. |  |  |  |  |  |
| 06 | Mount basin and secure it to wall/frame as specified. |  |  |  |  |  |
| 07 | Check proper leveling of the basin before final fixation. |  |  |  |  |  |
| 08 | Connect water supply and waste pipe fittings to basin. |  |  |  |  |  |
| 09 | Apply waterproof sealant around basin edges. |  |  |  |  |  |
| 10 | Check for and fix any leaks in the connections. |  |  |  |  |  |
| 11 | Ensure proper drainage flow from basin to outlet. |  |  |  |  |  |
| 12 | Inspect the sanitary condition of the installation |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate “PLUMBER” LEVEL 2 |
| --- | --- |
| Competency Standard | - 0732BCE1501 Maintain Safety at the Workplace - 0732BCE1502 Prepare Plumbing Drawing - 0732BCE1503 Perform Basic Metal Work - 0732BCE1504 Carry Out Plumbing Job - 0732BCE1505 Join Pipe & Fittings - 0732BCE1506 Perform Sanitary Work - 0732BCE1507 IT Fundamentals |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define PPE and explain why it is necessary on a plumbing job site |  |  |
|  | Define plumbing drawing and describe its purpose in plumbing installations |  |  |
|  | Define the purpose of installing an open shower unit in plumbing. |  |  |
|  | Define/Enlist the tools needed for installing a single open shower unit. |  |  |
|  | Define a stop cock and its function in plumbing. |  |  |
|  | Define a Tee and its purpose in plumbing systems. |  |  |
|  | What is the standard height of a shower from the floor level in millimeters? |  |  |
|  | What are the standard measurements required for installing a wash basin? |  |  |
|  | Name the different types of wash basins commonly used. |  |  |
|  | Which excavation tools are needed for installing PVC pipes for drainage? |  |  |
|  | What is Self Cleaning Velocity? |  |  |
|  | What is the difference between a vanity and a wash basin? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________

Annexure 1:

Installation of Single Open Shower:

- Height from floor level to main border is: 		18 inch

- Bib Cock Point:					24 inch

- Stop Cock Point: 					36 Inch

- Shower Head Point: 					84 inch

Note: All dimensions will be measure from the Floor level.

Annexure 2:

Installation of wash basin (PPRC or GI Pipe)

- Connection point from floor level:	580 mm

- Dimension between two connection points T-Cock cold & hot: 300 mm c/c.

Note: All dimensions will be measure from the Floor level.