|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Formative Assessment 0732BCE1603 Install Pumps |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1603 Install Pumps |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install Submersible pump as per plan - Install centrifugal pump as per plan - Repair of pumps if required ACTIVITY: - Install a Submersible Pump, Ensuring Proper Alignment, Secure Fittings, and Safety Measures. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Inspect the pump and components for damage before installation. - Apply correct tools, materials as per job requirement. - Prepare the installation site, ensuring it’s clear and accessible. - Align the pump correctly with inlet and outlet connections. - Secure the fittings properly to prevent leaks. - Use appropriate PPE during installation for safety. - Test the pump for proper operation after installation. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | PLUMBER Level-3 |
| Competency Standard | 0732BCE1603 Install pumps |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Submersible pump as per plan - Install centrifugal pump as per plan - Repair of pumps if required ACTIVITY: - Install a Submersible Pump, Ensuring Proper Alignment, Secure Fittings, and Safety Measures. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect the pump and components for damage before installation. |  |  |
| - Apply correct tools, materials as per job requirement. |  |  |
| - Prepare the installation site, ensuring it’s clear and accessible. |  |  |
| - Align the pump correctly with inlet and outlet connections. |  |  |
| - Secure the fittings properly to prevent leaks. |  |  |
| - Use appropriate PPE during installation for safety. |  |  |
| - Test the pump for proper operation after installation. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1603 Install pumps |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Submersible pump as per plan - Install centrifugal pump as per plan - Repair of pumps if required ACTIVITY: - Install a Submersible Pump, Ensuring Proper Alignment, Secure Fittings, and Safety Measures. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Inspect the pump and components for damage before installation. |  |  |  |  |  |
|  | Apply correct tools, materials as per job requirement. |  |  |  |  |  |
|  | Prepare the installation site, ensuring it’s clear and accessible. |  |  |  |  |  |
|  | Align the pump correctly with inlet and outlet connections. |  |  |  |  |  |
|  | Secure the fittings properly to prevent leaks. |  |  |  |  |  |
|  | Use appropriate PPE during installation for safety. |  |  |  |  |  |
|  | Test the pump for proper operation after installation. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | PLUMBER Level-3 |
| --- | --- |
| Competency Standard | 0732BCE1603 Install pumps |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define how to inspect the pump before installation. |  |  |
|  | What tools and materials are needed for installing a submersible pump? |  |  |
|  | Define how to prepare the site for installation. |  |  |
|  | What is the purpose of aligning the pump correctly? |  |  |
|  | Write the materials required for the installation of a submersible pump. |  |  |
|  | Define the safety measures to follow during installation. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________