|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Formative Assessment 0732BCE1604 Lay down drain system |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1604 Lay Down Drain System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform excavation & leveling as per given layout - Install traps as per requirement - Install manhole & sewerage pipelines according to plan - Excavate septic tank as per given layout ACTIVITY: - Install a manhole and connecting sewerage pipelines within the designated practical work area of the institute. Using the provided plan, you will prepare the site, install the manhole structure, and lay the sewerage pipes with the correct alignment and slope. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Review the provided plan and confirm the installation locations for the manhole and sewerage pipelines. - Prepare the site by excavating the designated area to the required depth and dimensions. - Select and inspect the required tools and materials for the installation process. - Install the manhole structure securely, ensuring it is positioned at the correct depth and alignment. - Lay the sewerage pipelines with the correct slope for effective drainage. - Ensure all pipe connections are secure and leak-free using proper jointing techniques. - Backfill the installation site carefully, ensuring no damage to the manhole or pipes. - Follow safety protocols throughout the installation process, including the use of appropriate PPE |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | PLUMBER LEVEL-3 |
| Competency Standard | 0732BCE1604 Lay Down Drain System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform excavation & leveling as per given layout - Install traps as per requirement - Install manhole & sewerage pipelines according to plan - Excavate septic tank as per given layout ACTIVITY: - Install a manhole and connecting sewerage pipelines within the designated practical work area of the institute. Using the provided plan, you will prepare the site, install the manhole structure, and lay the sewerage pipes with the correct alignment and slope. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Review the provided plan and confirm the installation locations for the manhole and sewerage pipelines. |  |  |
| - Prepare the site by excavating the designated area to the required depth and dimensions. |  |  |
| - Select and inspect the required tools and materials for the installation process. |  |  |
| - Install the manhole structure securely, ensuring it is positioned at the correct depth and alignment. |  |  |
| - Lay the sewerage pipelines with the correct slope for effective drainage. |  |  |
| - Ensure all pipe connections are secure and leak-free using proper jointing techniques. |  |  |
| - Backfill the installation site carefully, ensuring no damage to the manhole or pipes. |  |  |
| - Follow safety protocols throughout the installation process, including the use of appropriate PPE |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

.

Assessors Judgment Guide

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1604 Lay Down Drain System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform excavation & leveling as per given layout - Install traps as per requirement - Install manhole & sewerage pipelines according to plan - Excavate septic tank as per given layout ACTIVITY: - Install a manhole and connecting sewerage pipelines within the designated practical work area of the institute. Using the provided plan, you will prepare the site, install the manhole structure, and lay the sewerage pipes with the correct alignment and slope. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Review the provided plan and confirm the installation locations for the manhole and sewerage pipelines. |  |  |  |  |  |
|  | Prepare the site by excavating the designated area to the required depth and dimensions. |  |  |  |  |  |
|  | Select and inspect the required tools and materials for the installation process. |  |  |  |  |  |
|  | Install the manhole structure securely, ensuring it is positioned at the correct depth and alignment. |  |  |  |  |  |
|  | Lay the sewerage pipelines with the correct slope for effective drainage. |  |  |  |  |  |
|  | Ensure all pipe connections are secure and leak-free using proper jointing techniques. |  |  |  |  |  |
|  | Backfill the installation site carefully, ensuring no damage to the manhole or pipes. |  |  |  |  |  |
|  | Follow safety protocols throughout the installation process, including the use of appropriate PPE |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1604 Lay Down Drain System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define the purpose of a manhole in a sewerage system |  |  |
|  | What is the minimum self-cleaning velocity for sewerage pipelines? |  |  |
|  | What does PVC stand for, and why is it used for sewerage pipes? |  |  |
|  | What are the key tools used for excavation in plumbing installations? |  |  |
|  | What is the purpose of using leveling tools during the installation of sewerage pipelines? |  |  |
|  | Define excavation safety protocols and why they are important during installation work |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________