|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Formative Assessment 0732BCE1605 Service of pipelines & sanitary installation |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732bce1605 Service Of Pipelines & Sanitary Installation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform maintenance of pumps - Carryout Maintenance of flushing devices - Test pipelines as per requirement ACTIVITY: - The flush tank in one of the institute’s washrooms is not functioning properly, causing issues with the flushing system. Your task is to perform maintenance on the flush tank to ensure it operates correctly and efficiently. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Shut off the water supply to the flush tank. - Inspect the flush tank for issues like leaks or blockages. - Select the correct tools for the maintenance task. - Select the appropriate PPEs. - Disassemble the flush tank safely. - Replace any faulty or damaged components. - Clean the internal parts of the flush tank. - Reassemble the flush tank correctly. - Test the flush tank to ensure proper operation. - Follow safety protocols, including checking for electrical hazards and ensuring a clean, safe work area. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | PLUMBER LEVEL-3 |
| Competency Standard | 0732BCE1605 Service Of Pipelines & Sanitary Installation |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform maintenance of pumps - Carryout Maintenance of flushing devices - Test pipelines as per requirement ACTIVITY: - The flush tank in one of the institute’s washrooms is not functioning properly, causing issues with the flushing system. Your task is to perform maintenance on the flush tank to ensure it operates correctly and efficiently. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Shut off the water supply to the flush tank. |  |  |
| - Inspect the flush tank for issues like leaks or blockages. |  |  |
| - Select the correct tools for the maintenance task. |  |  |
| - Select the appropriate PPEs. |  |  |
| - Disassemble the flush tank safely. |  |  |
| - Replace any faulty or damaged components. |  |  |
| - Clean the internal parts of the flush tank. |  |  |
| - Reassemble the flush tank correctly. |  |  |
| - Test the flush tank to ensure proper operation. |  |  |
| - Follow safety protocols, including checking for electrical hazards and ensuring a clean, safe work area |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1605 Service Of Pipelines & Sanitary Installation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform excavation & leveling as per given layout - Install traps as per requirement - Install manhole & sewerage pipelines according to plan - Excavate septic tank as per given layout ACTIVITY: - The flush tank in one of the institute’s washrooms is not functioning properly, causing issues with the flushing system. Your task is to perform maintenance on the flush tank to ensure it operates correctly and efficiently. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Shut off the water supply to the flush tank. |  |  |  |  |  |
|  | Inspect the flush tank for issues like leaks or blockages. |  |  |  |  |  |
|  | Select the correct tools for the maintenance task. |  |  |  |  |  |
|  | Select the appropriate PPEs. |  |  |  |  |  |
|  | Disassemble the flush tank safely. |  |  |  |  |  |
|  | Replace any faulty or damaged components. |  |  |  |  |  |
|  | Clean the internal parts of the flush tank. |  |  |  |  |  |
|  | Reassemble the flush tank correctly. |  |  |  |  |  |
|  | Test the flush tank to ensure proper operation. |  |  |  |  |  |
|  | Follow safety protocols, including checking for electrical hazards and ensuring a clean, safe work area |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1605 Service Of Pipelines & Sanitary Installation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define the tools needed for flush tank maintenance |  |  |
|  | What PPE should be worn during flush tank repair? |  |  |
|  | What is the function of the float valve in a flush tank? |  |  |
|  | What parts of the flush tank may need to be replaced? |  |  |
|  | What safety rules should be followed during maintenance? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________