|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Formative Assessment 0732BCE1606 Install Solar Water Heating System |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1606 Install Solar Water Heating System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install domestic solar water heater according to instructions - Install supply lines for solar water heater - Maintain solar water heater ACTIVITY - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform all safety checks and wear appropriate PPEs. - Perform estimation of household's hot water consumption - Select the appropriate tools as per job requirements - Measure, cut, and join pipes as per installation layout - Connect solar collector and frame according to instructions - Position the solar collector and connect to the storage tank. - Ensure the solar water heater is installed at an angle that maximizes sun exposure - Install essential sanitary accessories, including solenoid valves and connectors - Inspect and clean pipelines and fittings - Clean surface of the solar collector - Check control system is functioning correctly. - Prepare a cost estimation report for installation materials |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | PLUMBER LEVEL-3 |
| Competency Standard | 0732BCE1606 Install Solar Water Heating System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install domestic solar water heater according to instructions - Install supply lines for solar water heater - Maintain solar water heater ACTIVITY - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform all safety checks and wear appropriate PPEs. |  |  |
| - Perform estimation of household's hot water consumption |  |  |
| - Select the appropriate tools as per job requirements |  |  |
| - Measure, cut, and join pipes as per installation layout |  |  |
| - Connect solar collector and frame according to instructions |  |  |
| - Position the solar collector and connect to the storage tank. |  |  |
| - Ensure the solar water heater is installed at an angle that maximizes sun exposure |  |  |
| - Install essential sanitary accessories, including solenoid valves and connectors |  |  |
| - Inspect and clean pipelines and fittings |  |  |
| - Clean surface of the solar collector |  |  |
| - Check control system is functioning correctly. |  |  |
| - Prepare a cost estimation report for installation materials |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1606 Install Solar Water Heating System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install domestic solar water heater according to instructions - Install supply lines for solar water heater - Maintain solar water heater ACTIVITY - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform all safety checks and wear appropriate PPEs. |  |  |  |  |  |
|  | Perform estimation of household's hot water consumption |  |  |  |  |  |
|  | Select the appropriate tools as per job requirements |  |  |  |  |  |
|  | Measure, cut, and join pipes as per installation layout |  |  |  |  |  |
|  | Connect solar collector and frame according to instructions |  |  |  |  |  |
|  | Position the solar collector and connect to the storage tank. |  |  |  |  |  |
|  | Ensure the solar water heater is installed at an angle that maximizes sun exposure |  |  |  |  |  |
|  | Install essential sanitary accessories, including solenoid valves and connectors |  |  |  |  |  |
|  | Inspect and clean pipelines and fittings |  |  |  |  |  |
|  | Clean surface of the solar collector |  |  |  |  |  |
|  | Check control system is functioning correctly. |  |  |  |  |  |
|  | Prepare a cost estimation report for installation materials |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1606 Install Solar Water Heating System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the key safety checks before installing a solar water heater? |  |  |
|  | Create list of tools for installation of solar water heater. |  |  |
|  | What is the function of vacuum collector tubes in a solar water heater? |  |  |
|  | What is a solenoid valve and why is it used in solar water heaters? |  |  |
|  | What is the role of a thermostat in a solar water heating system? |  |  |
|  | What is the function of the inlet and outlet pipes in a solar water heater installation? |  |  |
|  | What is the purpose of the controller in a solar water heating system? |  |  |
|  | Define one major advantage of solar water heater. |  |  |
|  | Define one major disadvantage of solar water heater. |  |  |
|  | Which valve is used to manage the pressure of flow in solar water heating? |  |  |

Prepared By:

Zeeshan Ahmad GTVC Dargai MKD

Muhammad Ibrar GTVC Mardan

Hot Water Storage Tank

Vacuum Tube Solar Collectors

Tube Holder

Annex: 1

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________