|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Formative Assessment 0732BCE1607 Install Commercial Supply Pipe Lines |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1607 Install Commercial Supply Pipe Lines |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install Commercial Water Supply Lines according to plan - Install Commercial Gas pipeline according to plan - Install Commercial sewage lines according to the plan - Install heating & cooling system as per plan. ACTIVITY: - Install a gate valve at the end of a 1 to 3 inch MS pipe by measuring, cutting, and threading the pipe, then securely fitting the valve. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Follow safety guidelines and wear appropriate PPE. - Measure and cut the MS pipe accurately to the required length. - Use the correct threading tool to cut uniform threads. - Apply lubricant during threading to ensure smooth operation. - Apply Teflon tape or sealant to the threads before fitting the valve. - Fit the gate valve securely onto the threaded pipe. - Tighten the valve properly to ensure a leak-proof connection. - Test for leaks after installation to confirm a secure fit. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | PLUMBER LEVEL-3 |
| Competency Standard | 0732BCE1607 Install Commercial Supply Pipe Lines |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Commercial Water Supply Lines according to plan - Install Commercial Gas pipeline according to plan - Install Commercial sewage lines according to the plan - Install heating & cooling system as per plan. ACTIVITY: - Install a gate valve at the end of a 1 to 3 inch MS pipe by measuring, cutting, and threading the pipe, then securely fitting the valve. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow safety guidelines and wear appropriate PPE. |  |  |
| - Measure and cut the MS pipe accurately to the required length. |  |  |
| - Use the correct threading tool to cut uniform threads. |  |  |
| - Apply lubricant during threading to ensure smooth operation. |  |  |
| - Apply Teflon tape or sealant to the threads before fitting the valve. |  |  |
| - Fit the gate valve securely onto the threaded pipe. |  |  |
| - Tighten the valve properly to ensure a leak-proof connection. |  |  |
| - Test for leaks after installation to confirm a secure fit. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1607 Install Commercial Supply Pipe Lines |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install pipes & fittings as per given drawing - Install water tank according to plan - Install electric & gas geysers according to the layout - Install bathtub according to layout - Install urinal & bidet as per the given layout - Install gas & water meters according to plan ACTIVITY: - Install a gate valve at the end of a 1 to 3 inch MS pipe by measuring, cutting, and threading the pipe, then securely fitting the valve. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow safety guidelines and wear appropriate PPE. |  |  |  |  |  |
|  | Measure and cut the MS pipe accurately to the required length. |  |  |  |  |  |
|  | Use the correct threading tool to cut uniform threads. |  |  |  |  |  |
|  | Apply lubricant during threading to ensure smooth operation. |  |  |  |  |  |
|  | Apply Teflon tape or sealant to the threads before fitting the valve. |  |  |  |  |  |
|  | Fit the gate valve securely onto the threaded pipe. |  |  |  |  |  |
|  | Tighten the valve properly to ensure a leak-proof connection. |  |  |  |  |  |
|  | Test for leaks after installation to confirm a secure fit. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | PLUMBER LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1607 Install Commercial Supply Pipe Lines |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define PPE and its role in pipe installation. |  |  |
|  | What is the purpose of threading a pipe? |  |  |
|  | Define the function of Teflon tape in pipe installations |  |  |
|  | What is the role of lubrication during threading? |  |  |
|  | Define a gate valve and its use in plumbing systems |  |  |
|  | What is the importance of leak testing after valve installation? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________