|  | Assessment Evidence Guide For “PLUMBER” LEVEL-3 Summative Assessment |
| --- | --- |
|  | Date 04-09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate “PLUMBER” LEVEL-3 |
| --- | --- |
| Competency Standard | 0732BCE1601 Carry out safety precautions 0732BCE1602 Install sanitary accessories 0732BCE1603 Install pumps 0732BCE1604 Lay down drain system 0732BCE1605 Service of pipelines & sanitary installation 0732BCE1606 Install solar water heating system 0732BCE1607 Install Commercial Supply Pipe Lines 0732BCE1608 Perform Pipe Fabrication 0732BCE1609 Prepare Report & cost estimation |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 Hrs. time frame (for practical demonstration & assessment): TASK A: - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) OR TASK B: - Install a double bathroom fitting as per below drawing. Also enlist & demand Tools, Equipments & Accessories etc to be used in this task. Use PPRC or GI Pipe. (Annex 2) |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | TASK A: - Perform all safety checks and wear appropriate PPEs. - Perform estimation of household's hot water consumption - Select the appropriate tools as per job requirements - Measure, cut, and join pipes as per installation layout - Connect solar collector and frame according to instructions - Position the solar collector and connect to the storage tank. - Ensure the solar water heater is installed at an angle that maximizes sun exposure - Install essential sanitary accessories, including solenoid valves and connectors - Inspect and clean pipelines and fittings - Clean surface of the solar collector - Check control system is functioning correctly. - Prepare a cost estimation report for installation materials TASK B: - Perform all safety checks and wear appropriate PPEs. - Read and Interpret Drawings for Accurate Placement. - Select the appropriate tools as per job requirements - Measure, cut, and join pipes as per installation layout - Ensure Wash Basin Points are 24 Inches from the Floor - Measure and Mark Shower Points as per Drawing - Ensure Shower Points are 36 Inches from the Floor - Ensure Shower Head Points are 86 Inches from the Floor - Secure and leak proof connections for both hot and cold. - Install English Water Closet as per Drawing - Ensure Proper Slope (1:40 or as required) for Drainage Pipes. - Join Pipes and Fittings Using Appropriate Techniques. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate PLUMBER LEVEL-3 |
| Competency Standard | 0732BCE1601 Carry out safety precautions 0732BCE1602 Install sanitary accessories 0732BCE1603 Install pumps 0732BCE1604 Lay down drain system 0732BCE1605 Service of pipelines & sanitary installation 0732BCE1606 Install solar water heating system 0732BCE1607 Install Commercial Supply Pipe Lines 0732BCE1608 Perform Pipe Fabrication 0732BCE1609 Prepare Report & cost estimation |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | TASK A: - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) OR TASK B: - Install a double bathroom fitting as per below drawing. Also enlist & demand Tools, Equipments & Accessories etc to be used in this task. Use PPRC or GI Pipe. (Annex 2) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| TASK A: |  |  |
| - Perform all safety checks and wear appropriate PPEs. |  |  |
| - Perform estimation of household's hot water consumption |  |  |
| - Select the appropriate tools as per job requirements |  |  |
| - Measure, cut, and join pipes as per installation layout |  |  |
| - Connect solar collector and frame according to instructions |  |  |
| - Position the solar collector and connect to the storage tank. |  |  |
| - Ensure the solar water heater is installed at an angle that maximizes sun exposure |  |  |
| - Install essential sanitary accessories, including solenoid valves and connectors |  |  |
| - Inspect and clean pipelines and fittings |  |  |
| - Clean surface of the solar collector |  |  |
| - Check control system is functioning correctly. |  |  |
| - Prepare a cost estimation report for installation materials |  |  |
| TASK B: |  |  |
| - Perform all safety checks and wear appropriate PPEs. |  |  |
| - Read and Interpret Drawings for Accurate Placement. |  |  |
| - Select the appropriate tools as per job requirements |  |  |
| - Measure, cut, and join pipes as per installation layout |  |  |
| - Ensure Wash Basin Points are 24 Inches from the Floor |  |  |
| - Measure and Mark Shower Points as per Drawing |  |  |
| - Ensure Shower Points are 36 Inches from the Floor |  |  |
| - Ensure Shower Head Points are 86 Inches from the Floor |  |  |
| - Secure and leak proof connections for both hot and cold. |  |  |
| - Install English Water Closet as per Drawing |  |  |
| - Ensure Proper Slope (1:40 or as required) for Drainage Pipes. |  |  |
| - Join Pipes and Fittings Using Appropriate Techniques |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate PLUMBER LEVEL 3 |
| --- | --- |
| Competency Standard | 0732BCE1601 Carry out safety precautions 0732BCE1602 Install sanitary accessories 0732BCE1603 Install pumps 0732BCE1604 Lay down drain system 0732BCE1605 Service of pipelines & sanitary installation 0732BCE1606 Install solar water heating system 0732BCE1607 Install Commercial Supply Pipe Lines 0732BCE1608 Perform Pipe Fabrication 0732BCE1609 Prepare Report & cost estimation |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | TASK A: - Assemble the solar water heating system and install for domestic purpose, joint the outlet point for general use according to the given drawing. (Annex 1) OR TASK B: - Install a double bathroom fitting as per below drawing. Also enlist & demand Tools, Equipments & Accessories etc to be used in this task. Use PPRC or GI Pipe. (Annex 2) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
| TASK A: |  |  |  |  |  |  |
| 1 | Perform all safety checks and wear appropriate PPEs. |  |  |  |  |  |
| 2 | Perform estimation of household's hot water consumption |  |  |  |  |  |
| 3 | Select the appropriate tools as per job requirements |  |  |  |  |  |
| 4 | Measure, cut, and join pipes as per installation layout |  |  |  |  |  |
| 5 | Connect solar collector and frame according to instructions |  |  |  |  |  |
| 6 | Position the solar collector and connect to the storage tank. |  |  |  |  |  |
| 7 | Ensure the solar water heater is installed at an angle that maximizes sun exposure |  |  |  |  |  |
| 8 | Install essential sanitary accessories, including solenoid valves and connectors |  |  |  |  |  |
| 9 | Inspect and clean pipelines and fittings |  |  |  |  |  |
| 10 | Clean surface of the solar collector |  |  |  |  |  |
| 11 | Check control system is functioning correctly. |  |  |  |  |  |
| 12 | Prepare a cost estimation report for installation materials |  |  |  |  |  |
| TASK B: |  |  |  |  |  |  |
| 1 | Perform all safety checks and wear appropriate PPEs. |  |  |  |  |  |
| 2 | Read and Interpret Drawings for Accurate Placement. |  |  |  |  |  |
| 3 | Select the appropriate tools as per job requirements |  |  |  |  |  |
| 4 | Measure, cut, and join pipes as per installation layout |  |  |  |  |  |
| 5 | Ensure Wash Basin Points are 24 Inches from the Floor |  |  |  |  |  |
| 6 | Measure and Mark Shower Points as per Drawing |  |  |  |  |  |
| 7 | Ensure Shower Points are 36 Inches from the Floor |  |  |  |  |  |
| 8 | Ensure Shower Head Points are 86 Inches from the Floor |  |  |  |  |  |
| 9 | Secure and leak proof connections for both hot and cold. |  |  |  |  |  |
| 10 | Install English Water Closet as per Drawing |  |  |  |  |  |
| 11 | Ensure Proper Slope (1:40 or as required) for Drainage Pipes. |  |  |  |  |  |
| 12 | Join Pipes and Fittings Using Appropriate Techniques |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate PLUMBER LEVEL 3 |
| --- | --- |
| Competency Standard | 0732BCE1601 Carry out safety precautions 0732BCE1602 Install sanitary accessories 0732BCE1603 Install pumps 0732BCE1604 Lay down drain system 0732BCE1605 Service of pipelines & sanitary installation 0732BCE1606 Install solar water heating system 0732BCE1607 Install Commercial Supply Pipe Lines 0732BCE1608 Perform Pipe Fabrication 0732BCE1609 Prepare Report & cost estimation |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
| 01 | Define the safety checks required before installation |  |  |  |
| 02 | What is the function of a controller in a solar water heater system? |  |  |  |
| 03 | Define a solenoid valve and its function in plumbing systems |  |  |  |
| 04 | Define a collector tube and its role in a solar water heating system. |  |  |  |
| 05 |  | Define solenoid valve. |  |  |
| 06 |  | Write any 3 advantages of solar water heater. |  |  |
| 07 |  | PPRC Stand for? |  |  |
| 08 |  | GI Stand for? |  |  |
| 09 |  | PVC Stand for? |  |  |
| 10 |  | Define the proper slope for drainage pipes |  |  |

Prepared By:

Zeeshan Ahmad GTVC Dargai MKD

Muhammad Ibrar GTVC Mardan

Annex: 1

Tube Holder

Vacuum Tube Solar Collectors

Hot Water Storage Tank

PVC Pipe

Double Shower

Wash Basin

English W.C

Annex: 2

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________