National Competency Standards

“Plumber” Level-3

80 Credit Hours

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

# FOREWORDS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Plumber Level-3 This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

# Table of Contents

Introduction											4

Purpose of the Qualification								5

Date of Development									5

Date of Validation										5

Date of Review										5

Codes of Qualifications									5

Entry Requirements										5

Summary of Competency Standards and contact hours				6

Members of Qualification Development & Review Committees			6

Detail of Competency Standards							7

0732BCE1601 Carry out safety precautions						7

0732BCE1602 Install sanitary accessories						10

0732BCE1603 Install pumps								13

0732BCE1604 Lay down drain system							16

0732BCE1605 Service of pipelines & sanitary installation				18

0732BCE1606 Install solar water heating system					21

0732BCE1607 Install Commercial Supply Pipe Lines					23

0732BCE1608 Perform Pipe Fabrication							26

0732BCE1609 Prepare Report & cost estimation					27

List Of Tools, Machinery & consumable Materials for 25 students			31

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) recognizes the importance of vocational and technical education in equipping the workforce with the necessary skills and competencies to meet the evolving needs of the industry. In line with its commitment to promoting skill development and enhancing employability, NAVTTC intends to develop competency standards (CS) for the trade of “Plumber” Level-3 in in Pakistan.

This course emphasizes mastery of essential plumbing techniques, advanced diagnostics. The curriculum includes sustainable practices, regulatory compliance, and customer service, equipping trainees to have enhanced job readiness, making them valuable assets in the plumbing industry. The development of competency standards for the trade of Plumber Level-3 aims to establish a framework that defines the essential knowledge, skills, and attitudes required for individuals to perform effectively in this field. these standards will serve as a benchmark for training providers, employers, and learners, ensuring that the workforce is equipped with the competencies necessary to meet industry requirements and contribute to Pakistan's economic growth.

Green skills incorporation in TVET aims to build capacity of skilled workforce, which is aware of environmental hazards and accordingly adopts more sustainable and environment friendly practices at the workplace. The workforce that possesses competencies and relevant knowledge & understanding oriented to green occupations is more employable and become an asset for businesses, enterprises and communities in developing green economies that results in improved human well-being and reducing environmental risks.

- Carry out safety precautions

- Fixture Installation

- Pipe Installation and Repair

- Install pumps

- Service pipelines & sanitary installation

- Install Commercial Supply Pipe Lines

- Prepare Pipe Fabrication

- Prepare report & cost estimation

# Purpose of the Qualification

The qualifications are in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF) based on demand of respective industry. The purpose of the qualification is to provide skills to the trainees in the field of Plumber and convert it into value added product, which is acceptable by international market and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

# Date of Development

The National Competency Standards for Plumber level-3 has been Developed by the Qualifications Validation Committee (QVC) members on 27 July, 2024 and will remain valid for three years i.e. 27 July, 2027

# Date of Validation

The National Competency Standards for Plumber level-3 has been validated by the Qualifications Validation Committee (QVC) members on 27 July 2024 and will remain valid for three years i.e. 27 July, 2027.

# Date of Review

The National Competency Standards for Plumber Level-3 has been Reviewed by the Qualifications Validation Committee (QVC) members on 27 July 2024 and shall be reviewed after three years i.e. 27 July, 2027.

# Codes of Qualifications

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| 0732BCE16 | National Vocational Certificate Level 3 in Plumber |
| --- | --- |

# Entry Requirements

The entry level for National Vocational Certificate Plumber Level-3 is National Vocational Certificate Level-2.

# Summary of Competency Standards and contact hours

| Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  |
| 0732BCE1601 Carry out safety precautions | 3 | Functional | 6 | 24 | 30 | 3 |
| 0732BCE1602 Install sanitary accessories | 3 | Technical | 28 | 112 | 140 | 14 |
| 0732BCE1603 Install pumps | 3 | Technical | 16 | 64 | 80 | 8 |
| 0732BCE1604 Lay down drain system | 3 | Technical | 20 | 80 | 100 | 10 |
| 0732BCE1605 Service of pipelines & sanitary installation | 3 | Technical | 10 | 40 | 50 | 5 |
| 0732BCE1606 Install solar water heating system | 3 | Technical | 24 | 96 | 120 | 12 |
| 0732BCE1607 Install Commercial Supply Pipe Lines | 3 | Technical | 22 | 88 | 110 | 11 |
| 0732BCE1608 Perform Pipe Fabrication | 3 | Technical | 24 | 96 | 120 | 12 |
| 0732BCE1609 Prepare Report & cost estimation | 3 | Generic | 10 | 40 | 50 | 5 |
| Total |  |  | 160 | 640 | 800 | 80 |

# Members of Qualifications Review Committee

The following members participated in the qualification review committee of this qualification held at Lahore:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Ali Sardar | Instructor | Govt. COE-GTTI Mughal Pura, P-TEVTA, Lahore |
| 2 | Mr. Muhammad Ibrar | Jr. Trade Instructor | GTVC (B) Mardan KP- TEVTA |
| 3 | Mr. Syed Khalid Shah | Instructor | GTTI Gujar Khan Rawalpindi P-TEVTA, Lahore. |
| 4 | Syed Salman Nasir Ali Shah | DACUM Facilitator | P- TEVTA, Lahore |
| Conveners |  |  |  |
| 6 | Muhammad Ishaq | Deputy Director | NAVTTC Islamabad |
| 7 | Muhammad Aasim | Deputy Director | NAVTTC Islamabad |
| 8 | Shams Shahbaz | Assistant Director | Operation II, P-TEVTA |
| 9 | Engr Waqas Hashmi | Assistant Director | Curriculum, P-TEVTA |

# Detail of Competency Standards

### 0732BCE1601    Carry out safety Precautions

Overview:

After this Competency Standard, the Trainee will be able to protect tools, equipment and machinery accordingly and take remedial measures to deal with the emergencies professionally, thus minimizing the losses and providing a safe and healthy working environment. The trainee will be also able to ensure clear and effective communication for emergencies.

| Competency Units | Performance Criteria |
| --- | --- |
| - Protect tools and equipment | - Apply personal protective equipment. - Repair broken/unserviceable tools according to job. - Clean safety tools before & after use |
| - Follow Safety Programs | - Follow safety procedures consistently. - Follow charts, board, safety Instructions accordingly. - Update records and ensure safety compliance daily |
| - Follow federal, provincial / territorial, and municipal legislation | - Adopt local and national laws - Follow regulations and integrate them into work practices. - Keep valid necessary permits and licenses. |
| - Adopt environmental regulations. | - Follow correct practices to minimize environmental impact. - Dispose waste according to environmental guidelines. - Apply environmental regulations according to job. |
| - Prepare to respond to emergencies | - Follow effective communication for emergencies. - Follow shut-off supply valves to prevent damage. |

Knowledge & Understanding

- Protection of tools and equipment.

- Safety Programs.

- Federal, provincial/ territorial, and municipal legislations.

- Environmental regulations according to plumbing job.

- Readiness to respond to emergencies.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence in order to be competent in this competency standard:

- Demonstrate correct use of PPE for the assigned job

- Enlist Hazards that are most likely to cause harm to health and safety

- Identify risks of hazards at the workplace

- Follow regulations and integrate them into work practices.

- Demonstrate removal and disposal of hazardous materials.

Tools and equipment Required for 25 Students

The tools and equipment required for this competency standard are given below:

| S. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Protection suits | 25 |
| 2 | Safety shoes | 25 |
| 3 | Safety goggles | 25 |
| 4 | Hearing protection | 25 |
| 5 | Respiratory mask | 25 |
| 6 | First Aid Box | 2 |
| 7 | First Aid Kit | 2 |
| 8 | Stretcher | 1 |
| 9 | Fire Buckets | 5 |
| 10 | Fire Extinguisher | 5 |
| 11 | Emergency Alarm/Bell | 3 |
| 12 | Emergency response Plan | 5 |
| 13 | Fall Protection Plan | 5 |
| 14 | Exhaust Fan | 5 |

List of Consumables for 25 Students

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| Not Required |  |  |

### 0732BCE1602		 Install Sanitary Accessories

Overview:

After this Competency Standard, the Trainee will be able to install various sanitary accessories, such as faucets, soap dispensers, toilet paper holders, and towel racks, according to specifications and industry standards, verify that installed accessories function correctly and efficiently, ensuring proper water flow and operational performance. Identify and troubleshoot common installation issues and make necessary adjustments or repairs to ensure optimal performance.

| Competency Units | Performance Criteria |
| --- | --- |
| - Install pipes & fittings as per given drawing | - Measure and Mark required job according to specifications. - Perform deburring operation on pipe - Install pipes and fittings as per requirement. - Use correct techniques for joining, using sealants on pipes according to job. |
| CU2. Install water tank according to plan | - Follow installation plan, diagrams, specifications according to plan. - Choose correct location for water tank according to plan. - Collect correct materials, tools, and equipment for installation. - Connect inlet and outlet pipes as per instructions. - Verify all joints are sealed to prevent leaks |
| - Install electric & gas geysers according to the layout | - Follow layout and installation manual for geysers. - Choose correct location for geysers according to plan. - Collect correct materials, tools, and equipment for installation. - Check leaks at all joints connections. |
| - Install bathtub according to layout | - Follow installation layout, diagrams, according to job. - Select correct tools for bathtub installation. - Clean designated location for bathtub according to layout plan. - Check inflow, outflow and drainage as per requirements. |
| - Install urinal & bidet as per the given layout | - Select correct tools for urinal as per requirement. - Test flush mechanism to verify it is working correctly - Connect supply and drain lines according to layout. - Anchor bidet to the floor using appropriate materials. |
| - Install gas & water meters according to plan | - Interpret layout according to instructions. - Mark designated area according to drawing. - Apply pipe sealant to the threaded pipe to prevent leaks. |

Knowledge & Understanding

- Describe water tank Points

- Describe Electric & Gas geysers types, points and installation procedure

- Describe types of bathtubs and installation procedure

- Describe types of urinal & bidets and installation procedure

- Describe types of Gas & Water meters

Critical Evidence(s) Required

The candidate needs to produce following critical evidence in order to be competent in this competency standard:

- Apply correct materials for fixing pipes with wall according to plan.

- Demonstrate correct position and secure mounting gas and water meters.

- Demonstrate pipes securely connected to prevent leaks.

- Demonstrate connecting water supply lines, overflow, and drain fittings securely.

- Demonstrate securely mounting the electric or gas geyser according to the layout.

Tools and equipment required for 25 Students

The tools and equipment required for this competency standard are given below:

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Measuring Tape | 25 Nos |
| 2 | Scriber | 25 Nos |
| 3 | Hand Hacksaw | 25 Nos |
| 4 | Pipe Wrench 12”, 14”, 18 “ | 25 Nos |
| 5 | Adjustable Wrench | 15 Nos |
| 6 | Gas Geyser | 05 Nos |
| 7 | Electric Geyser | 05 Nos |
| 8 | Bath Tub | 05 Nos |
| 9 | Trapes | 12 Nos |
| 10 | Water Tank | 05 Nos |
| 11 | Water and Gas Meter | 05 Nos Each |

List of Consumables for 25 Students

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Stop Cocks | 25 Nos |
| 2 | Rubber connection pipe | 50 Nos |
| 3 | Bolt Kit | 10 set |
| 4 | Piler Cocks | 06 Nos |
| 5 | Tub Mixer | 06 Nos |
| 6 | Waste Coupling | 06 Nos |
| 7 | Valves (Safety, Non-Return) | 5 Nos Each |
| 8 | Teflon Tape | 25 Nos |
| 9 | Silicon | 10 Nos |

### 0732BCE1603        Install pumps

Overview:

After this Competency Standard, the Trainee will be able to recognize different types of pumps (centrifugal, submersible, booster) and their specific applications in plumbing systems and verify the layout and ensure all necessary components using for pumps are available and in good condition. Identify and use the necessary tools and materials required for pump installation, including wrenches, pipe cutters, sealants, and mounting hardware. Conduct a thorough site inspection to ensure it is suitable for pump installation.

| Competency Units | Performance Criteria |
| --- | --- |
| - Install reciprocating pump as per plan | - Follow reciprocating pump specifications as required. - Apply correct position reciprocating pump according to the layout plan. - Apply correct tools, materials as per job requirement. - Check progress of pumps after Installation |
| - Install centrifugal pump as per plan | - Follow installation plan diagrams, specifications according to job. - Collect tools, and equipment needed for assigned job. - Install centrifugal pump on designated location according installation plan. - Check progress of centrifugal pump after installation. |
| - Repair of pumps if required | - Diagnose pump issues according to specifications - Change worn seals or gaskets if required. |

Knowledge & Understanding

- Types of reciprocating pumps

- Types of centrifugal pumps

- Describe parts of pumps issues and their repair

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Follow instructions of reciprocating pump as per requirement.

- Apply correct tools, materials for pumps according to specifications

- Check progress of pumps

- Diagnose pump issues according to specifications

### Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Measuring Tape | 25 Nos |
| 2 | Hand Hacksaw | 25 Nos |
| 3 | Pipe Wrench 12”, 14”, 18 “ | 25 Nos |
| 4 | Adjustable Wrench | 15 Nos |
| 5 | Reciprocating Pumps | 05 Nos |
| 6 | Centrifugal Pumps | 05 Nos |
| 7 | Submersible Plump | 05 N0s |
| 8 | Oil can | 05 Nos |
| 9 | Hammer 500 Gram | 05 Nos |
| 10 | Chisel Flat/Pen | 05 Nos |
| 11 | Screw Drivers | 05 Nos |
| 12 | Fusion Machine/Threading DIE | 05 Nos |
| 13 | Drill Machine | 05 Nos |

List of Consumables for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | GI Pipe 1 Inch to 2 Inch | 50 ft |
| 2 | Asbestos Pipe 1 Inch to 2 Inch | 20 ft |
| 3 | Canvas Pipe 1 Inch to 2 Inch | 20 ft |
| 4 | UPVC Pipe 1 Inch to 2 Inch | 30 ft |
| 5 | Floor Trap 3 to 4 Inch | 06 Nos |
| 6 | GI Union 1 Inch to 2 Inch | 12 Nos |
| 7 | GI Bush 1 Inch to 2 Inch | 12 Nos |
| 8 | GI Elbow 1 Inch to 2 Inch | 12 Nos |
| 9 | GI Tee 1 Inch to 2 Inch | 12 Nos |
| 10 | GI Socket 1 Inch to 2 Inch | 12 Nos |
| 11 | Lubricants Oil | 3 Ltr |
| 12 | Coupling 1 Inch to 2 Inch | 6 Sets Each |
| 13 | Packing Join 1 Inch to 2 Inch | 6 Sets Each |
| 14 | Pump Jute / Dhoori | 10 Meter |
| 15 | GI Elbow Bend | 12 Nos |
| 16 | Bolt Kit | 05 Kits |
| 17 | Rawal Plug | 05 Sets |
| 18 | Ball Valve 1 Inch to 2 Inch | 06 Nos Each |
| 19 | Garden Pipe 1 Inch to 2 Inch | 50 ft |
| 20 | Threading Jute | 10 Pkts |
| 21 | Teflon Tape | 10 Role |
| 22 | White Zinc | 12 Small Tin |

### 0732BCE1604          Lay down drain system

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required for laying and installation of drain pipes. Laying down a drain system involves careful planning, selection of appropriate materials, and following correct installation procedures to ensure effective and efficient drainage

| Competency Units | Performance Criteria |
| --- | --- |
| - Perform excavation & leveling as per given layout | - Interpret layout and mark area for excavation - Apply correct equipment for excavate according to drawing - Level excavated area according to drawing |
| CU2. Install traps as per requirement | - Measure & mark area for trap according to specifications - Select correct tools for traps according to requirement - Choose correct quality trap as per requirement |
| - Install manhole & sewerage pipelines according to plan | - Evaluate site for suitable manhole - Select correct tools for sewerage lines according to plan - Excavate for manhole as per job requirement - Check outflow of wastages after Installation manhole |
| - Excavate septic tank as per given layout | - Interpret layout and select correct tools for excavating of septic tank - Mark outline of septic tank and surrounding area according to drawing. - Use correct tools & techniques to excavate Septic tank |

Knowledge & Understanding

- Excavation & leveling Procedures

- Types of traps and there uses

- Describe manhole & sewerage pipelines

- Describe Specification of Septic tank as per given layout

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Interpret layout and mark area for excavation

- Install traps as per requirement

- Demonstrate excavation & leveling

- Install taps according to plan

Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Shovel | 10 No’s |
| 2 | Spade | 10 No’s |
| 3 | Measuring Tape | 25 No’s |
| 4 | Level | 10 No’s |
| 5 | Plumb Bob | 10 No’s |
| 6 | Trowel | 10 No’s |
| 7 | Barrow | 02 No’s |
| 8 | Pane | 04 No’s |
| 9 | Pick Axe | 05 No’s |
| 10 | Auger | 02 No’s |
| 11 | Soil Gigging | 02 No’s |

List of Consumables for 25 Students

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Lime | 25 Kg |
| 2 | Floor Trap 3 to 4 Inch | 06 Nos Each |
| 3 | Cement | 01 Bag |
| 4 | Sand | 05 Barrow |
| 5 | Crush | 05 Barrow |
| 6 | UPVC glue | 03 Bottles |
| 7 | Cotton Waste | 10 Kg |
| 8 | Manhole Cover 6 to 12 Inch | 02 Nos Each |

### 0732BCE1605         Service of pipelines & sanitary installation

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required for different types of pipes (HDPE, PVC, PEX, PPRC, UPVC) and their applications. Types of pipes used in waste disposal and their installation requirements. Types of sanitary fixtures (toilets, sinks, bathtubs) and fittings (faucets, valves). Techniques for inspecting pipelines and sanitary installations to identify potential issues and solve it.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform maintenance of pumps | - Inspect pump for any signs of leaks, corrosion, or unusual wear - Wipe down exterior of the pump to remove dust and debris - Apply correct lubricant to the pump bearings as per requirements |
| CU2. Carryout Maintenance of flushing devices | - Turn off water supply to the flushing device. - Select correct tools for flushing device according to specifications. - Fix Flush tank according to instructions |
| CU3. Test pipelines as per requirement | - Apply personal protective equipment (PPE) for Testing pipes as per requirement - Select correct equipment as per requirement - Apply correct tools, equipment or machinery for testing of pipes |

Knowledge & Understanding

- Describe Types and parts of pumps

- Describe Parts flushing devices

- Methods of Test pipelines

Critical Evidence(s) Required

The candidate needs to produce following critical evidence in order to be competent in this competency standard:

- Inspect pump for any signs of leaks

- Select correct equipment to repair pump

- Turn off water supply to the flushing device.

- Demonstrate testing of pipe using testing pump

Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Pipe Cutter | 15 No’s |
| 2 | Hacksaw | 50 No’s |
| 3 | Measuring Tape | 25 No’s |
| 4 | Pipe Wrench 12”, 14” | 15 No’s Each |
| 5 | Pipe Threading die china | 05 No’s |
| 6 | Pressure Testing Equipment | 10 No’s |
| 7 | Pliers | 15 No’s |
| 8 | Oil Cane | 06 No’s |
| 9 | Screwdriver Set Phillips and flat | 12 Nos Each |
| 10 | Adjustable Wrench – 6 to 12 inch | 06 Nos Each |
| 11 | Inspection Mirror | 05 Nos |
| 12 | Flashlight | 05 Nos |
| 13 | Grease Gun | 05 Nos |
| 14 | Multi-Meter | 05 Nos |
| 15 | Basin Wrench | 12 Nos |
| 16 | Allen Key Set | 06 Sets |
| 17 | Leak Detection Kit | 05 Kits |
| 18 | Pressure Gauge – 0 to 15 bar | 05 Nos |
| 19 | Pipe Plugs/Caps Various sizes (½ inch to 2 inches) | 24 Nos |

List of Consumables for 25 Students

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Cleaning Cloths. | 05 kg |
| 2 | Lubricant (pump-specific, as required by pump specifications) – 100 ml tube or spray can, depending on pump type. | 03 Ltrs |
| 3 | Thread Seal Tape | 06 Role |
| 4 | Silicone Grease | 02 Tin Small |
| 5 | Anti-Corrosion Spray 500 ml can | 05 Can |
| 6 | Rubber Washers | 36 Nos |
| 7 | Mounting Screws and Anchors | 20 Sets |
| 8 | PVC Primer and Cement 250 ml | 05 Can |

### 0732BCE1606          Install Solar Water Heating System

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required for Domestic and Commercial Solar Water Heating Systems and perform the assembling, Maintenance of Solar Water Heating System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Install domestic solar water heater according to instructions | - Perform estimation of household's hot water consumption - Select optimal location for the solar collector - Connect solar collector and frame according to instructions |
| CU2. Install supply lines for solar water heater | - Measure & mark area cold & hot water lines - Select correct tools for Solar water heater according to requirement - Install pipe of hot & cold water according to set standards |
| CU3. Maintain solar water heater | - Clean surface of the solar collector - Replace worn or damaged seals, gaskets, or insulation as per requirement. - Check control system is functioning correctly. - Check pressure relief valves, are operational and replace if needed. |

Knowledge & Understanding

- Define water heating

- Define fundamentals of solar collectors and Solar tubes Flat plates.

- Application of solar water heating system

- Describe types of solar water heater System

- Risk and hazards identification

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare estimation of household's hot water consumption

- Demonstrate control system is functioning correctly

- Demonstrate selection of optimal location for the solar collector

- Demonstrate supply lines for Solar water heater is connected correctly

Tools and equipment required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Screwdrivers | 15 No’s |
| 2 | Hacksaw | 15 No’s |
| 3 | Measuring Tape | 25 No’s |
| 4 | Pipe Wrench 12 to 36 Inch | 12 No’s Each |
| 5 | Screw Wrenches | 15 No’s |
| 6 | Allen key | 10 No’s |
| 7 | Pliers | 15 No’s |
| 8 | Pipe Cutter G.I | 15 No’s |
| 9 | PPRC Pipe Cutter | 15 No’s |
| 10 | Electric Hand Drill Machine | 02 No’s |
| 11 | Ladder | 05 No’s |
| 12 | Thermometer | 05 No’s |
| 13 | Pressure Gauge | 05 No’s |
| 14 | Solar water Heater Complete | 02 sets |
| 15 | Hammer 300 to 500 Gram | 06 Nos |
| 16 | Chisel Flat | 06 Nos |
| 17 | Threading DIE ½ to 2 Inch | 02 Sets |
| 18 | Open Spanner Set | 02 Sets |
| 19 | Ring Spanner Set | 02 Sets |
| 20 | Level | 10 Nos |
| 21 | Portable Hand Grinder | 02 Nos |

List of Consumables for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Copper Piping | 02 Bundles |
| 2 | Insulation Material (Pipe Insulation Foam) | 02 Bundles |
| 3 | Mounting Brackets | 20 Sets |
| 4 | Silicone Sealant | 10 Bottles |
| 5 | GI Pipe ½ to 1 Inch | 100 ft Each |
| 6 | GI Elbow ½ to 1 Inch | 12 Nos Each |
| 7 | GI Tee ½ to 1 Inch | 12 Nos Each |
| 8 | GI Union ½ to 1 Inch | 12 Nos Each |
| 9 | GI Socket ½ to 1 Inch | 12 Nos Each |
| 10 | Ball Valve ½ to 1 Inch | 06 Nos Each |
| 11 | Temperature and Pressure Relief Valve ½ to 1 Inch | 02 Nos Each |
| 12 | Flow Control Valve ½ to 1 Inch | 02 Nos Each |
| 13 | Cable Ties | 02 Nos Each |
| 14 | Teflon Tape | 10 Role |

### 0732BCE1607          Install Commercial Supply Pipe Lines

Overview:

After this Competency Standard, the Trainee will be able to have knowledge of installation of commercial supply pipelines. It includes planning and preparation, laying out and measuring the installation path, installing pipes and fittings, pressure testing and leak detection, insulating and protecting pipes, commissioning the system, and adhering to safety and compliance standards. This unit ensures that trainees can install commercial supply pipelines efficiently, safely, and in accordance with specifications and regulatory requirements.

| Competency Units | Performance Criteria |
| --- | --- |
| - Install Commercial Water Supply Lines according to plan | - Interpret layout as per requirement - Measure & mark area according to given instructions - Choose correct tools and equipment for required job - Connect supply lines according to given instructions. - Check leakages of pipe lines as per requirements |
| CU2. Install Commercial Gas pipeline according to plan | - Measure & mark area according to given instructions - Perform excavation for Pipe line according to lay out - Lay down Gas Pipelines with fittings as per Drawing - Verify Leakage as per requirement |
| CU3. Install Commercial sewage lines according to the plan | - Measure & mark area according to given instructions - Perform excavation for Pipe line according to lay out - Lay down Sewerage Pipelines as per Drawing - Verify Leakage as per requirement |
| CU4. Install heating & cooling system as per plan. | - Measure & mark area according to given instructions - Perform excavation for Pipe line according to lay out - Lay down Cold water Pipelines as per Drawing - Verify Leakage as per requirement |

Knowledge & Understanding

- Knowledge of Slope and Flow

- Knowledge of Pressure

- Knowledge of Cooling system

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate Measuring & marking area as per requirement.

- Demonstrate installation of Water Supply Lines.

- Demonstrate Installation of	Commercial Gas pipeline

- Install heating & cooling system

Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Screw drivers | 15 Sets |
| 2 | Hacksaw | 15 No’s |
| 3 | Measuring Tape | 25 No’s |
| 4 | Pipe Wrench 12”, 14” | 25 No’s Each |
| 5 | Screw Wrenches 10” , 12” | 25 No’s Each |
| 6 | Allen key | 25 No’s |
| 7 | Pliers | 15 No’s |
| 8 | Pipe Cutter G.I | 15 No’s |
| 9 | PPRC Pipe Cutter | 15 No’s |
| 10 | Drill and Bits | 15 No’s |
| 11 | Chalk Line | 2 Reel |
| 12 | Permanent Marker | 06 Nos |
| 13 | Level | 06 Nos |
| 14 | Shovel | 02 Nos |
| 15 | Pickaxe | 02 Nos |
| 16 | Post Hole Digger | 02 Nos |
| 17 | Trowel | 06 Nos |
| 18 | Adjustable Wrench | 06 Nos |
| 19 | Slip Joint Pliers | 06 Nos |
| 20 | Pipe Cutter | 06 Nos |
| 21 | Teflon Tape | 20 Role |
| 22 | Flat File, Round File and Half Round File | 06 Each |
| 23 | Pipe Bender | 02 Nos |
| 24 | Pipe Reamer | 02 Nos |
| 25 | Flaring Tool | 02 Nos |
| 26 | Crimping Tool | 02 Nos |
| 27 | Pressure Gauge | 02 Nos |
| 28 | Leak Detection Spray | 02 Nos |
| 29 | Safety Gloves | 25 Pairs |
| 30 | Safety Goggles | 25 Nos |
| 31 | Dust Mask | 25 Nos |
| 32 | Hand Brush | 12 Nos |
| 33 | Bucket | 06 Nos |
| 34 | Welding Machine | 02 Nos |

List of Consumables for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | MS Pipes 1 to 6 Inch | 10 ft Each |
| 2 | Teflon Tape | 20 Role |
| 3 | Electrode | 05 Pkts |
| 4 | Cutting Oil | 03 Litr |
| 5 | Anti-Corrosion Primer | 05 Tin |
| 6 | Rust-Inhibiting Paint | 05 Tin |
| 7 | Rubber Gaskets 1 to 6 Inch " | 20 Sets |
| 8 | Pipe Hangers and Clamps 1 to 6 Inch | 05 dozen Each |
| 9 | Anchor Bolts and Fasteners 1 to 6 Inch | 10 Sets |
| 10 | Silicone Sealant | 05 bottle |
| 11 | Expansion Joints 1 to 6 Inch | 50 Nos |
| 12 | Pipe Caps/Plugs 1 to 6 Inch | 50 Nos |
| 13 | Leak Detection Fluid | 10 bottles |
| 14 | Cable Ties | 20 Nos |
| 15 | Cleaning Solvent | 03 bottles |

### 0732BCE1608          Perform Pipe Fabrication

Overview:

After this Competency Standard, the Trainee will be able to have skills and knowledge required for the fabrication of pipes used in various applications. It includes planning and preparing for fabrication, accurately measuring and marking materials, cutting and shaping pipes, assembling pipe sections, inspecting and testing fabricated pipes, applying protective finishes, and documenting the fabrication process.

| Competency Units | Performance Criteria |
| --- | --- |
| - Carry Out Weld work as per Project | P1. Identify types of metals to be welded P2. Prepare welding area clean, well-ventilated, according to job P4. Select correct tools material according to project P5. Execute weld according to the project plan. |
| CU2. Prepare Elbow joint as per drawing | - Choose correct type, size of materials as per drawing. - Check materials meet the required standards - Perform temporarily assembling the pipe and elbow joint to check alignment |
| CU3. Prepare Tee joint as per drawing | P1. Interpret technical drawing provided for the tee joint P2. Choose correct size of pipe and tee materials as per the drawing specifications. |
| CU4. Couple Flanges according to direction | P1. Select Correct Flanges set according to Drawing P2. Connect Flanges and screw nuts & bolts as per specification |

Knowledge & Understanding

- Describe types of Weld

- Define Elbow joint

- Define Tee joint procedure

- Describe Couple Flanges and their connection types

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate Weld work as per Project

- Demonstrate Elbow joint as per drawing

- Demonstrate Tee joint as per drawing

- Demonstrate Couple Flanges according to direction

Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Measuring Tape | 05 Nos |
| 2 | Pipe Cutter | 06 Nos |
| 3 | Hacksaw | 12 Nos |
| 4 | Pipe Bender | 02 Nos |
| 5 | Angle Grinder | 02 Nos |
| 6 | Pipe Threader | 05 Nos |
| 7 | Pipe Reamer | 12 Nos |
| 8 | Deburring Tool | 12 Nos |
| 9 | Pipe Wrench 12 to 36 Inch | 12 Nos each |
| 10 | Adjustable Wrench | 12 Nos |
| 11 | Welding Machine | 02 Nos |
| 12 | Soldering Kit | 02 Kits |
| 13 | Torch | 05 Nos |
| 14 | Flat, half round and round files | 05 Nos each |
| 15 | Line scriber | 12 Nos |
| 16 | Pipe vice | 12 Nos |
| 17 | Electric Hand Drill machine | 05 Nos |
| 18 | Flat Chisel | 12 Nos |
| 19 | Bench Vice | 12 Nos |
| 20 | Safety Gloves | 25 Pairs |
| 21 | Safety Goggles | 25 Nos |
| 22 | Dust Mask or Respirator | 25 Nos |
| 23 | Hammer | 12 Nos |

List of Consumables for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Nuts & Bolts | 10 Seats |
| 02 | MS Pipes 1 to 6 Inch | 50 ft |
| 03 | Electrode | 05 Pkts |
| 04 | Soldering Wire | 01 Bundle |
| 05 | Teflon Tape | 10 Role |
| 06 | Anti-Corrosion Primer | 05 Tin |
| 07 | Rust-Inhibiting Paint | 05 Tin |
| 08 | Rubber Gaskets 1 to 6 Inch | 10 Sets |
| 09 | Cutting Oil | 03 Ltrs |
| 10 | Pipe Caps/Plugs 1 to 6 Inch | 12 Nos Each |
| 11 | Elbows 1 to 6 Inch | 12 Nos |
| 12 | Tee 1 to 6 Inch | 12 Nos |
| 13 | Flanges 1 to 6 Inch | 12 Sets |
| 14 | Couplings 1 to 6 Inch | 12 Nos |
| 15 | Cleaning Solvent | 05 bottle |
| 16 | Sandpaper | 02 Rims |
| 17 | Abrasive Discs | 10 Pairs |
| 18 | Silicone Sealant | 10 Bottles |

### 0732BCE1609          Prepare Report & cost estimation

Overview:

After this Competency Standard, the Trainee will be able to Identify and analyze the scope and specifications of plumbing projects. Calculate the types and quantities of materials needed, including pipes, fittings, fixtures, sealants, and insulation. Create list on MS Word for consumable material uses in different plumbing operations. In this Competency, the trainee will also get knowledge about cost calculation in MS Excel sheet.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Create a list of materials on MS Word as per requirement | - Create new document in MS Word - Prepare headings and subheadings to structure the document - Gather Information PVC, copper, PEX tubing, Elbows, tees, couplings as per requirement |
| CU2. Prepare estimate on MS Excel as per project | - Open Excel and create a new workbook. - Set up columns for Item name, Quantity, Unit Cost, Total Cost. - Enter values in columns such as Materials, Labor, items and cost - Verify all entries and formulas. |
| CU3. Communicate with customers/colleagues as per requirement (Electronic & social media) | - Provide clear and accurate information - Follow safe communication platform (WhatsApp, email, etc.) |

Knowledge & Understanding

- Commands of MS Word

- Estimation Methods and techniques

- Techniques for E-mail Writing

Critical Evidence(s) Required

The candidate needs to produce following critical evidence in order to be competent in this competency standard:

- Compile reports accurately.

- Prepare list of materials as per requirement

- Demonstrate cost estimation

- Demonstrate sending reports to costumers

Tools and equipment Required for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Computer/Laptop | 25 |
| 2 | Printer | 01 |
| 3 | Scanner | 01 |
| 4 | Calculator | 25 |
| 5 | MS Office 2019 | 01 |
| 6 | USB Drive | 02 |

List of Consumables for 25 Students

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Paper A4 Size | 0 Rim |
| 2 | Ball Point | 25 Nos |
| 3 | Pencil | 25 Nos |
| 4 | Eraser | 25 Nos |
| 5 | Sharpener | 25 Nos |
| 6 | Whitener | 25 Nos |
| 7 | Stapler | 01 Nos |
| 8 | Clip Board | 25 Nos |

| Plumber Level-3 (Machinery & Tools List) for 25 students |  |  |  |
| --- | --- | --- | --- |
| S. # | Name of Item/Tool/Equipment/Machinery | Specification | Quantity |
|  | Tools Items |  |  |
| 1 | Adjustable wrench | 8"Size, chrome vanidum steel. | 25 No's |
| 2 | Bench vice | Jaw width min 125mm size, Maximum jaw opening min 130mm , Jaw depth 70mm Made of cast steel , hardened jaws, gunmetal nut, square thread spindle | 10 No's |
| 3 | Pipe Wrench Set | Adjustable Chrome Finish Spanner Heat Treated Thumb Screw Movement Precision Marked Scale set of Three 10" ,12 " , 14" | 25 No's |
| 4 | Chisel set | Flat Cold Chisel (Min set of two) SDS Shank, Min 1 inch width x 12 and 8 inch overall length Material:Made from forged high grade steel | 10 Set |
| 5 | Files | Files (Flat) (36x22x13)cm, Files (Half round) 200 x 2 (36x22x14),Files (Raps cut) 150,Files (Round) (30x25x14)cm,Files (Triangular) 150 x 2(25x22x17)cm | 25 No's Each |
| 6 | Hacksaw frame | Min 12" heavy duty hacksaw frame with adjustable aluminum handle Blade Length: Min 300mm Material: Steel | 25 No's |
| 7 | Hammer | Iron head with wood handle set of four (250g, 500g) set of 2 | 15 set |
| 8 | Screw driver set | Material: Chrom vanadium,Handle Material: Plastic / Rubber,MagneticScrewdriver Tips,Min 6" straight screwdriver,Set of 8 Pcs, (4 flat-head and 4 phillips-head) size 6", 8" 10" and 12" | 10 Sets |
| 9 | Double Ring Spanner set | Vanadium steel made, Chrome plated, 12 degree offset bi-hex ring for access Sizes 6x7; 8x9; 10x11; 12x13; 14x15; 16x17; 18x19; 20x22; 21x23; 24x27; 25x28; 30x32 | 10 Set |
| 10 | Tools box | Made of 16gauge iron,Painted, Min 3 draws capacity Size 16"X18"X12" | 25 No's |
| 11 | Pipe vice with stand | Holding Pipe Size upto 100mm with Pipe tripod stand. Min tripod stand height 4 feet, tripod stand pipe size min 2",Material pipe vice: of malleable cast iron,Jaws: Hardened carbon steel Spindles: Chrome plated | 12 No's |
| 12 | Measuring tape | 5meter, Features both 'pause' and 'lock' buttons for safe and effortless tape control | 25 No's |
| 13 | Pipe Cutter (for GI Pipes) | Operation: Manual ,Material: Strong SG Iron casted body Pipe Cutter having one cutting wheel and two guide roller Handle Length: Adjustable on different size of pipe for cutting up to min capacity of 100mm | 10 No's |
| 14 | Pipe vice | Heavy Duty Bench Vise 80mm Bison Bial 1250 80 Toolsmach | 08 No's |
| 15 | Center Punch | Length: 4 & 6 inch ,Material: Mild steel , Point: hardened and tempered Body: Heavy knurled body for easy grip | 15 No's |
| 16 | Plier set | 4 inch Mini pliers set 8pcs/set, 1pc Combination plier , 1pc Diagonal plier , 1pc Long nose plier , 1pc Rond nose plier , 1pc Flat nose plier , 1pc Long needle plier , 1pc End cutting plier 1pc Bent nose plier | 12 No's |
| 17 | Oil Can | Fluid Capacity: Min 150 ml Galvanized plate, reinforced hose, copper hose nozzle min 10 cm | 08 No's |
| 18 | Wire Brush | Type: Brass wire brush, Style: Scourer, Shape: Long, Length: Min 250mm,For all kinds of weld seams, Brush Handle Material: Wood, Wooden base: Min 15mm thickness | 12 No's |
| 19 | Pipe Reemar | Reaming capacity 1/4-inch to 2-inch pipes | 12 No's |
| 20 | PPRC cutter | Material: PVC + steel , Cutting Range: Min 10”, Total Length: approx. 18.5cm | 10 No's |
| 21 | Level Indicator | Aluminum box frame with milled edges/Plastic end caps 3 solid vials (horizontal, vertical 45 Degree ) Length :12'' | 10 No's |
| 22 | Steel scale | size12''-300 mm. Thickness 0.5 mm(18SWG) stainless steel tempered | 25 No's |
| 23 | Hand bit | Set of Min eleven vital pieces with box Sizes required: 2.5 mm, 3mm, 4mm, 5mm, 6mm, 7mm, 8mm, 9mm, 10mm, 11mm & 12mm Material: High speed steel (HSS) Heat and corrosion resistance | 5 Sets |
| 24 | Grip plier | Vice Grip Pliers Size: Min 10 Inch | 10 No's |
| 25 | Die (Ratchet) Set | Die Fix 1/2,3/4,1 and 2 complete set with lever Set of 4 with box | 10 No's |
| 26 | First Aid box | First Aid Box with basic supplies and multiple boxes Dimensions: Min 36 (L) x 38 (W) x 22(H) cm Material: Plastic Accessories: 50 - Antiseptic Bandage 10 - Pearl White Cotton Bandage 10 - Pearl White Cotton Roll Asian Fiber 2- Antiseptic Solution - Min 50 mL 1 - Scissor 30- Face mask etc. | 10 No's |
| 27 | Safety Men Work Gloves | Leather Size : Medium Width of Palm: Min 7 cm Length of Palm: Min 18cm | 25 No's |
| 28 | Safety Goggles | Safety goggles Plastic with glass | 25 No's |
| 29 | Safety Shoes | Leather with steel toe | 25 No's |
| 30 | Safety Ear muffs | Ear defender with ABS cups. Pads filled with synthetic foam. Double plastic headband | 25 No's |
| 31 | Shovel |  | 15 No's |
| 32 | Trowel |  | 15 No's |
| 33 | Plum bob |  | 15 No's |
|  | Machinery / Equipment Items |  |  |
| 01 | Hand Electric Drill machine (hammering) | Power Min 780W Min Capacity for following Concrete: Min 24mm Steel: Min 13mm Wood: Min 32mm Impacts per minute 0 - 4,500 approx. No load speed (r/min) 0 - 1,100 approx. with Power supply cord | 05 No's |
| 02 | Electric Wall Cutter | Min Cutting Depth: 8-43mm Max. Cutting Width:28mm Rated Voltage: 220v Rated Input Power: Min 2400w No-Load Speed: in 8000 r/min Blade Diameter: Min 150mm With power supply cord | 05 No's |
| 03 | PPRC Heater | Main Fuse Value 16 A, Stainless Steel made, Thermostat Regulation : Min 50-320 C, Pins hole : Min 3, Capacity: AL east 750W to 1000W | 10 No's |
| 04 | Electric Grinder (Pedestal) | Voltage: 220-40V,Power input: Min 150W,No load speed: Min 2950/min, Wheel size: Min 150x12 mm, Adjustable eye shield for safety work,1 coarse grit wheel ,1 fine grit wheel, With power supply cord | 01 No's |
| 05 | Pipe Bender Machine | Hydraulic, Max working pressure 44 (mpa), Max.Working movement(mm) 250, curvature radius 4D, Hydraulic Oil N15, Pipe External Diameter Series Min 42x3.25 48X3.5 60X3.5 | 05 No's |
| 06 | Portable Welding Plant | Voltage range: 220V +_15% Rated power: 50-60HZ Current regulation: 20-250A Suitable material: stainless steel / carbon steel / low alloy steel Welding rod specification: 2.5/3.2 electrode Compatible Electrodes: 2.5 and 3.2 electrodes All day weld thickness: 2 to 13mm Compatible electrodes: Carbon, Alloy steel, Steel electrodes | 05 No's |
| 07 | Solar water Heater | Number of tubes 20 Frame & manifold Aluminum Heating type Copper Heat Pipe Length of Tube 1800mm | 02 Set |
| 08 | Computers/Laptop | Corei 5 7th Generation | 26 No's |
| 09 | Printer | Hp Laserjet 1102 | 2 No's |
| 10 | Scanner |  | 2 No's |
| 11 | Internet Device |  | 1 No' |
| 12 | Multimedia Projector |  | 1 No |

| Consumable Materials for Plumber Level-3 for 25 students |  |  |  |
| --- | --- | --- | --- |
| S. # | Consumable Items | Specification | Quantity |
| 1 | Pipe | G.I 1/2", 3/4" | 100, 50 Lengths |
| 2 | Fittings | G.I (Elbow, Tee, Socket, Reducer, Cross over, Union, Cross-Tee etc)1/2" | 100 Nos Each |
| 3 | Valves | Brass Safety valve, Handle Valve, Gate Valve, Ferul Valve, Non-retune Valve1/2" | 50 No's |
| 4 | Pipe | PPRC 25 mm, 32 mm | 100, 50 Lengths |
| 5 | Fittings | PPRC (Elbow, Tee, Socket, Reducer, Cross over, Union, Cross-Tee etc) 25 mm | 50 No's |
| 6 | Hack Saw Blade | 12” | 72 No's |
| 7 | Pipe Hooks | iron | 50 No's |
| 8 | G.I. Pipe flanges |  | 10 No's |
| 9 | Tee Stop Cock | chrome Plated | 50 No's |
| 10 | Tap 1/2” | (Chrome) | 50 No's |
| 11 | Traps | Bottle trap, S-Trap, P trap, Floor Trap | 10 No's |
| 12 | Nuts & Bolts |  | 50 No's |
| 13 | Flange Set |  | 10 Sets |
| 14 | Mobil oil |  | 30 Liter |