Curriculum

“Plumber” Level-3

80 Credit Hours

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

- Table of Contents

1.	Introduction	1

2.	Purpose of training programme	2

3.	Overall objectives of the training course	2

4.	Competencies to be gained after completion of course	3

5.	Job opportunities available immediately and in the future	4

6.	Trainee entry level	4

7.	Minimum qualification of trainer	4

8.	Recommended trainer trainee ratio	5

9.	Medium of instruction	5

10.	Curriculum development committee	5

11.	Duration of the course (total time, theory & practical)	6

12.	Summary of competency standards	8

13.	Summary – overview of the curriculum	9

Module 01 - 0732BCE1601 Carry out safety precautions	12

Module 02 - 0732BCE1602 Install sanitary accessories	18

Module 03 - 0732BCE1603 Install pumps	33

Module 04 - 0732BCE1604 Lay down drain system	37

Module 05 - 0732BCE1605 Service of pipelines & sanitary installation	44

Module 06 - 0732BCE1606 Install solar water heating system	49

Module 07 - 0732BCE1607 Install Commercial Supply Pipe Lines	56

Module 08 - 0732BCE1608 Perform Pipe fabrication	66

Module 09 - 0732BCE1609 Prepare Report & cost estimation	70

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) recognizes the importance of vocational and technical education in equipping the workforce with the necessary skills and competencies to meet the evolving needs of the industry. In line with its commitment to promoting skill development and enhancing employability, NAVTTC intends to develop curriculum for the trade of "Plumber" Level-3 in Pakistan.

This course emphasizes mastery of essential plumbing techniques, advanced diagnostics. The curriculum includes sustainable practices, regulatory compliance, and customer service, equipping trainees to have enhanced job readiness, making them valuable assets in the plumbing industry. The development of competency standards for the trade of Plumbing Technology aims to establish a framework that defines the essential knowledge, skills, and attitudes required for individuals to perform effectively in this field. these standards will serve as a benchmark for training providers, employers, and learners, ensuring that the workforce is equipped with the competencies necessary to meet industry requirements and contribute to Pakistan's economic growth.

Green skills incorporation in TVET aims to build capacity of skilled workforce, which is aware of environmental hazards and accordingly adopts more sustainable and environment friendly practices at the workplace. The workforce that possesses competencies and relevant knowledge & understanding oriented to green occupations is more employable and become an asset for businesses, enterprises and communities in developing green economies that results in improved human well-being and reducing environmental risks.

- Carry out safety precautions

- Fixture Installation

- Pipe Installation and Repair

- Install pumps

- Service pipelines & sanitary installation

- Install Commercial Supply Pipe Lines

- Prepare Pipe Fabrication

# Purpose of training Program

- The qualifications are in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF) based on demand of respective industry. The purpose of the qualification is to provide skills to the trainees in the field of Plumber and convert it into value added product, which is acceptable by international market and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

# Overall objectives of the training course

The primary objective of this training program is to provide the trainees with up-to-date knowledge and skills required by the construction sector with special reference to Plumbing in a comprehensive way to cope with the challenges of the construction Industry (building painting). After qualifying for the course at different levels the trainees will be able to get job in construction Industry (supervision) and able to perform as entrepreneurs. The contents of the course are specifically designed in such a way that it covers all the major areas of architect supervisor in construction sector of Pakistan.

The overall objectives of developing this qualification are to:

- Improve the overall quality of training delivery and set national benchmarks for training of Plumbing Supervisor in the country

- Provide flexible and progressive learning opportunities for trainees to receive relevant and up-to-date skills in the construction industry

- Provide basis for competency-based assessment which is recognized and accepted by employers in modern days

- Establish standardized and sustainable training in consultation with the construction industry.

# Competencies to be gained after completion of course

After completing this course, the trainee will be capable of performing different activities in construction industry especially supervision effectively. Furthermore, this skilled training program enables the trainee to develop multispectral competencies such as creative thinking, problem solving, research skills, personal and group management, presentation and communication skills, technical and professional negotiations related to construction industry. The below listed competencies imprinted by this training program are quite prominent to the trainees’ profile to enhance their employability in their career in construction industry:

- Knowledge and concepts of supervision and management in the construction industry

- Creative thinking and troubleshooting skills in the construction industry

- Potential to translate theoretical knowledge into practice

- Identify and explore potential areas of opportunities in construction industry

- Develop strategies to maintain the quality and safety of the workplace

- Time management, working in teams and conflict handling among co-workers

- Safe and secure use of workplace tools, techniques and materials at worksites

- Digital documentation and effective communication skills

- Working on commercial setups and meeting the timelines

# Job opportunities available immediately and in the future

The successful pass out of this course may avail entrepreneurial opportunities and/ or fetch job/ employment in construction sectors as Plumber supervisor / supervisor (Level-III)

# Trainee entry level

The entry level for National Vocational Certificate Plumber Level-3 is National Vocational Certificate Level-2 Plumber.

# Minimum qualification of trainer

DAE Civil/Mechanical or G-II with 5 years of experience

BE / B-Tech (Civil) with 3 years of Relevant experience

# Recommended trainer trainee ratio

The recommended trainer and trainee ratio per class is 1:25

# Medium of instruction

Urdu, English or Local Language

# Curriculum development committee

The following members participated in the Curriculum development workshop from Sept 02-07, 2024, in Lahore:

| S. No | Name | Designation & Organization |
| --- | --- | --- |
| P -TEVTA |  |  |
|  | Mr. Ali Sardar | Instructor (Plumber) Government COE-GTTI Mughal Pura Lahore (Punjab-TEVTA) |
|  | Mr. Fakhr Ul Islam | Instructor (Plumber) Government ATC Township Lahore (PUNJAB-TEVTA) |
|  | Mr. Syed Khalid Shah | Instructor (Plumber), GTTI Gujar Khan (Punjab-TEVTA) |
|  | Mr. Syed Salman Nasir Ali Shah | DACUM Facilitator, Punjab-TEVTA |
|  | Mr. Engr. Waqas Hashmi | Assistant Director Curriculum, Punjab-TEVTA |
|  | Mr. Shams Shabaz | Assistant Director Operation II, Punjab-TEVTA |
| B – TEVTA |  |  |
| 1 | Mr. Noor Shah | Instructor Plumber GTTC Quetta TEVTA Baluchistan |
| 2 | Mr. Malik Ali Ahmed | Instructor Plumber GTTC Quetta TEVTA Baluchistan |
| KP -TEVTA |  |  |
| 1 | Mr. Noman Shah | Instructor (Plumber) GTVC (B) Peshawar KP TEVTA |

# Duration of the course

| Module. | Competency Standards | Theory Hours | Practical Hours | Total Contact Hours | Credit Hours |
| --- | --- | --- | --- | --- | --- |
| Module 01 | 0732BCE1601 Carry out safety precautions | 6 | 24 | 30 | 3 |
| Module 02 | 0732BCE1602 Install sanitary accessories | 28 | 112 | 140 | 14 |
| Module 03 | 0732BCE1603 Install pumps | 15 | 65 | 80 | 8 |
| Module 04 | 0732BCE1604 Lay down drain system | 20 | 80 | 100 | 10 |
| Module 05 | 0732BCE1605 Service pipelines & sanitary installation | 10 | 40 | 50 | 5 |
| Module 06 | 0732BCE1606 Install solar water heating system | 24 | 96 | 120 | 12 |
| Module 07 | 0732BCE1607 Install Commercial Supply Pipe Lines | 22 | 88 | 110 | 11 |
| Module 08 | 0732BCE1608 Perform Pipe fabrication | 24 | 96 | 120 | 12 |
| Module 09 | 0732BCE1609 Prepare Report & cost estimation | 10 | 40 | 50 | 5 |
| Total |  | 160 | 640 | 800 | 80 |

# Summary of competency standards

The proposed curriculum is composed of 09 modules that will be covered in 800 hours. This course should be delivered in a 06 months period. The distributions of contact hours (practical & theory) are:

- Theory: (20%) Practical (80%)

- Theory: 160 hours

- Practical:  640 hours

- Total: 800 hours

# Summary – overview of the curriculum

| Module Title | Learning Units | Theory Days / hours | Work place Days / hours | Total Time frame of modules |
| --- | --- | --- | --- | --- |
| Module 01. 0732BCE1601 Carry out safety precautions | Protect tools and equipment Follow Safety Programs Follow federal, provincial/ territorial, and municipal legislation Adopt environmental regulations. Prepare to respond to emergencies | 06 | 24 | 30 |
| Module 02. 0732BCE1602 Install Sanitary Accessories | - Install pipes & fittings as per given drawing - Install water tank according to plan Install water tank according to plan - Install electric & gas geysers according to the layout - Install bathtub according to layout - Install urinal & bidet as per the given layout - Install gas & water meters according to plan | 28 | 112 | 140 |
| Module 03. 0732BCE1603 Install pumps | - Install reciprocating pump as per plan - Install centrifugal pump as per plan - Repair pumps if required. | 16 | 64 | 80 |
| Module 04. 0732BCE1604 Lay down drain system | - Perform excavation & leveling as per given layout - Install traps as per requirement - Install manhole & sewerage pipelines according to plan - Excavate septic tank as per given layout | 20 | 80 | 100 |
| Module 05. 0732BCE1605 Service of pipelines & sanitary installation | - Perform maintenance of pumps - Carryout Maintenance of flushing - Test pipelines as per requirements | 10 | 40 | 50 |
| Module 06. 0732BCE1606 Install Solar Water Heating System | - Install domestic solar water heater according to instructions - Install supply lines for solar water heater - Maintain solar water heater - Check pressure relief valves, are operational and replace if needed. | 24 | 96 | 120 |
| Module 07. 0732BCE1607 Install Commercial Supply Pipe Lines | - Install Commercial Water Supply Lines according to plan - Install Commercial Gas pipeline according to plan - Install Commercial sewage lines according to the plan - Install heating & cooling system as per plan. | 22 | 88 | 110 |
| Module 08. 0732BCE1608 Perform Pipe Fabrication | - Carry Out Weld work as per Project Record Work Performance - Prepare Elbow joint as per drawing - Prepare Tee joint as per drawing. - Couple Flanges according to direction | 24 | 96 | 120 |
| Module 09. 0732BCE1609 Prepare Report & cost estimation | - Create a list of materials on MS Word as per requirement - Prepare estimate on MS Excel as per project - Communicate with customers/colleagues as per requirement (Electronic & social media) | 10 | 40 | 50 |
| Total Hours |  | 160 | 640 | 800 |

## Module 0732BCE1601: Carry out safety Precautions

## Objective: After this Competency Standard, the Trainee will be able  protect tools, equipment and machinery accordingly and take remedial measures to deal with the emergencies professionally, thus minimizing the losses and providing a safe and healthy working environment. The trainee will be also able to ensure clear and effective communication for emergencies

## Total Duration:  	30 Hours		                  Theory: 6 Hours			            Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1 Protect tools and equipment | Trainee will be able to: - Apply personal protective equipment. - Repair broken/unserviceable tools according to job. - Clean safety tools before & after use | - PPE’s - Practice Mock exercise of arrange & wear PPE’s for work on height. - Disadvantages of broken PPE’s. - Practice. Inspect and identify broken PPE’s and repair or replace according to specifications. - Practice Clean PPE’s completely after practice and put back on their specific place. | Theory-2 Hrs Practical-5 Hrs Total- 07 Hrs | - PPEs - Fire Extinguisher - Fire Buckets - Fire Alarm Bell - First Aid Box - Safety Sign Board - Safety Instruction Board | Classroom Workshop Open area |
| LU2. Follow Safety Programs | - Follow safety procedures consistently. - Follow charts, board, safety Instructions accordingly. - Update records and ensure safety compliance daily | - safety procedures of PPE’s. - Explain safety instruction. - Explain advantage to follow safety instructions. - Practice - Conduct risk assessment, safety meeting and prepare report. | Theory-1 Hrs Practical-5Hrs Total- 6 Hrs |  | Class room. |
| LU3. Follow federal, provincial/ territorial, and municipal legislation | - Adopt local and international laws. - Follow regulations and integrate them into work practices - Keep valid necessary permits and licenses | - Local and international laws of personal safety (ISO 45001) - . - Explain permits and licenses. - Advantages of permits and licenses. - Practice Conduct a mock exercise of personal safety integrated with safety regulation. | Theory- 1 Hrs Practical-5 Hrs Total- 6 Hrs |  |  |
| LU4. Adopt environmental regulations. | - Follow correct practices to minimize environmental impact. - Dispose waste according to environmental guide lines - Apply environmental regulations according to job. | - Explain environmental impact. - Explain environmental impact reduction activities. - waste management. - Explain environmental regulations. - OSHA - EPA - Practice Dispose workshop waste according to regulation for reduce environmental impact. | Theory- 1 Hrs Practical-5 Hrs Total- 6 Hrs |  |  |
| LU5. Prepare to respond to emergencies | - Follow effective communication for emergencies. - Follow shut-off supply valves to prevent damage | - Effective communication. - Explain supply valves and their operation. - Practice Conduct a mock exercise of Quick response against an emergency through effective communication. | Theory- 1 Hrs Practical-4 Hrs Total- 5Hrs |  |  |

## Module 0732BCE1602: Install Sanitary Accessories

## Objective: This module covers the knowledge and skills of installation of various sanitary accessories, such as faucets, soap 	     	       dispensers, toilet paper holders, and towel racks, according to industry standards, Identify troubleshoot common 		       installation issues and make necessary adjustments or repairs ensure optimal performance.

Duration:  			140 Hours			Theory: 	28 Hours				Practice: 	112 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install pipes & fittings as per given drawing | Trainee will be able to: - Measure and Mark required job according to specifications. - Perform deburring operation on pipe. - Install pipes and fittings as per requirement. - Use correct techniques for joining, using sealants on pipes according to job. | - Measuring & Marking - Measuring & Marking Tools - Deburring - Color Coding for Plumbing Drawing - Types of Fittings - G.I Fittings - PPRC Fittings - Copper Fittings - PVC Fittings - Types of Pipes - Metal Pipes - Non- Metal Pipes - Describe Methods for Joining of Pipes and fittings - Thread Joints - Heating Joints - Solvent Joints Practice Activity 1 - Measure and Mark the Pipe and Deburring the Pipe. Practice Activity 2 - Installation Pipes and fitting according to drawing as per standard color coding - Use Eco-Friendly Materials Use Water-Efficient Fixtures Recycling and Disposal of Old material | Theory 09 Hrs. Practice 30 Hrs. Total 39 Hrs. | - Measuring Tape - Pipe Wrench 12” - Pipe Wrench 14” - Screw Wrench 12” - Screw Wrench 8” - Pipe Vice - G.I Pipe Cutter - Threading Die ½” to 1-1/4” - PPRC Pipe Cutter - PPRC Heater - Hand Hacksaw - Oil Can - G.I Pipe - G.I Fittings (Elbow, Tee, Socket, Union, Bend, Reducer, Stop Cock, Ball Valves, Gate Valves, NRV, etc.) - PPRC Pipe - PPRC Fittings (Elbow, Tee, Socket, Reducer, Union, Cross over, PPRC valves, etc.) - PVC Pipes - PVC Fittings (Elbow, Tee, Socket, Y-Tee, Cross-Tee, Plug-Tee and Elbow, End-Cap, Bend etc.) - Mobil oil - Taps / faucets | Classroom Workshop |
| LU2. Install water tank according to plan | - Follow installation plan, diagrams, specifications according to plan. - Choose correct location for water tank according to plan. - Collect correct materials, tools, and equipment for installation. - Connect inlet and outlet pipes as per instructions. - Verify all joints are sealed to prevent leaks | - Planning - Water tank - Purpose of Water Tank - Explain Tools and Material use to installation of water tank - Connection of Water Tank - Maintenance of Water Tank - Causes of Water Leakage - Signs of Water Leakage - Explain Detecting Water Leaks Practice Activity: - Installation of Water Tank according to Plan. Observe safety Precaution. Check leakage. | Theory 03 Hrs Practice 25 Hrs Total 28 Hrs | - Water Tanks - Measuring Tape - Pipe Wrench 12” - Screw Wrench 12” - Pipe Vice - G.I Pipe Cutter - Threading Die ½” to 1-1/4” - PPRC Pipe Cutter - PPRC Heater - Hand Hacksaw - Oil Can - Water Tank Brass Bush - Union - Flute Valve - Flute Switch - Dead Plug - Fittings | Classroom Workshop |
| LU3. Install electric & gas geysers according to the layout | - Follow layout and installation manual for geysers. - Choose correct location for geysers according to plan. - Collect correct materials, tools, and equipment for installation. - Check leaks at all joints connections. | - Geyser - Types of Geyser - Electric Geyser - Gas Geyser - Purpose of Electric & Gas Geyser - Connection of Gas & Electric Geyser - Maintenance of Geysers - Causes of Water Leakage - Signs of Water Leakage Practice Activity 1: - Installation of Electric Geyser according to Plan. Find the problems and solve them. Practice Activity 2: - Installation of Gas Geyser according to Plan. Discuss the problems | Theory 03 Hrs Practice 30 Hrs Total 33 Hrs | - Electric Geyser - Gas Geyser - Measuring Tape - Drill machine - Pipe Wrench 12” - Screw Wrench 12” - Pipe Vice - G.I Pipe Cutter - Threading Die ½” to 1-1/4” - PPRC Pipe Cutter - PPRC Heater - Hand Hacksaw - Oil Can - Safety Valve - Handle/Ball Valve - Bush - Non-Return Valve - Gas Regulator - Thermostat - Fittings - Bolt Kit - Ring Spanner Set | Classroom Workshop |
| LU4. Install Bathtub according to layout | - Follow installation layout, diagrams, according to job. - Select correct tools for bathtub installation. - Clean designated location for bathtub according to layout plan. - Check the inflow, outflow and drainage as per requirements. | - Bathtub - Explain Tools using to install Bathtub - Connection of Bathtub - Maintenance of Bathtub Practice Activity: - Install Bathtub According to Layout. - Use Eco-Friendly Materials - Use Water-Efficient Fixtures - Recycling and Disposal of Old fixtures. | Theory 03 Hrs Practice 20 Hrs Total 23 Hrs | Non- Consumable - Bath Tub - Measuring Tape - Level - Screwdrivers - Pliers - Rubber Mallet - Drill machine - Pipe Wrench 12” - Screw Wrench 12” - Pipe Cutter - PPRC Heater - Hand Hacksaw - Oil Can - Ring Spanner Set - Drain Assembly Kit Consumable - Handle/Ball Valve - Bush - Fittings - Bolt Kit - Silicone Caulk - Bathtub Mixer - Tee-Cock - Rubber Connection Pipe | Classroom Workshop |
| LU5. Install Urinal & Bidet as per the given layout | - Select correct tools for urinal as per requirement. - Test flush mechanism to verify it is working correctly - Connect supply and drain lines according to layout. - Anchor the bidet to the floor using appropriate materials. | - Urinal - Purpose of Urinal - Types of Urinal - Wall-Mounted Urinals - Floor-Mounted Urinals - Handicap-Accessible Urinals - Explain Drain and Supply Lines - Bidet Practice Activity 1: - Installation of Urinal according to Plan. Find the problems and solve them Practice Activity 2: - Installation of Bidet according to Plan. Discuss the problems - Use Eco-Friendly Materials - Use Water-Efficient Fixtures - Recycling and Disposal of Old fixtures. | Theory 03 Hrs Practice 20 Hrs Total 23 Hrs | - Urinal - Bidet - Measuring Tape - Level - Screwdrivers - Pliers - Rubber Mallet - Drill machine - Pipe Wrench 12” - Screw Wrench 12” - Hand Hacksaw - Oil Can - Ring Spanner Set - Drain Assembly Kit - Handle/Ball Valve - Bush - Fittings - Bolt Kit - Silicone Caulk - Rubber Connection Pipe - Tee-Cock | Classroom Workshop |
| LU6. Install gas & water meters according to plan | - Interpret layout according to instructions. - Mark designated area according to drawing. - Apply pipe sealant to the threaded pipe to prevent leaks. | - Water Meter - Types of Water Meter - Purpose of Water Meter - Gas Meter - Types of Gas Meter - Purpose of Gas Meter - Marking - Explain Sealant Practice Activity 1: - Installation of Water Meter according to Plan. Find the problems and solve them Practice Activity 2: - Installation of Gas Meter according to Plan. Discuss the problems. | Theory 06 Hrs Practice 15 Hrs Total 21 Hrs | - Gas Meter - Water Meter - Measuring Tape - Level - Screwdrivers - Pliers - Rubber Mallet - Drill machine - Pipe Wrench 12” - Screw Wrench 12” - Hand Hacksaw - Ring Spanner Set - Handle/Ball Valve - Bush - Fittings - Bolt Kit - Silicone Caulk | Classroom Workshop |

## Module 0732BCE1603: Install Pumps

Objective: This module covers the knowledge and skills to recognize different types of pumps (centrifugal, submersible, booster) and their specific applications in plumbing systems and verify the layout and ensure all necessary components using for pumps are available and in good condition. Identify and use the necessary tools and materials required for pump installation, including wrenches, pipe cutters, sealants, and mounting hardware. Conduct a thorough site inspection to ensure it is suitable for pump installation

Total Duration:  80 Hours			                  Theory: 15 Hours		                        Practice: 65 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install reciprocating pump as per plan | Trainee will be able to: - Follow reciprocating pump specifications as required. - Marking of correct position of reciprocating pump according to the layout plan. - Apply correct tools, materials as per job requirement. - Check progress of pumps after Installation. | - Reciprocating pump and its types. - reciprocating pump function and its Specifications - Distance Calculation from drawing. - Measuring tools for marking of position. - Tools & material for pump fitting. - Checking parameters of pump progress. Practice Activity: Install a reciprocating pump as per drawing location with usage of installation tool & material. Check and note down the progress. | Theory-6 Hrs Practice-20 Hrs Total- 26 Hrs | - Pipe wrench 14’’ 12’’ 8’’ - Measuring tape 5m - Hand hacksaw - Adjustable wrench12’’ - Open end spanner set - Pump plier - Combination plier - Centrifugal pump - Reciprocating pump. - Oil cane - Teflon tape - Gaskets - Seals | Class Room Workshop |
| LU2. Install centrifugal pump as per plan | - Follow installation plan diagrams, specifications according to job. - Collect tools, and equipment needed for assigned job. - Install centrifugal pump on designated location according installation plan. - Check the progress of centrifugal pump after installation. | - Centrifugal pump and its function. - Specifications for centrifugal pumps. - Tools & material for pump fitting. - distance Calculation from drawing. - measuring tools for marking of position . - Checking parameters of pump progress. Practice Activity : Install a reciprocating pump as per drawing location with usage of installation tool & material. Prepare checking report after installation. | Theory-6 Hrs Practice-20 Hrs Total- 26 Hrs | - Pipe wrench 14’’ 12’’ 8’’ - Measuring tape 5m - Hand hacksaw - Adjustable wrench12’’ - Open end spanner set - Pump pliers - Combination pliers - Centrifugal pump - Reciprocating pump. - Oil cane - Teflon tape - Gaskets Seals | Class Room Workshop |
| LU3. Repair of pumps if required | - Diagnose pump issues according to specifications. - Change worn seals or gaskets if required | - Explore Pump Specifications. - common issues in pump operation. - Symptoms of fault. Practice Activity 1: - Check the pump on operation and collect data of flow rate, pressure, power consumption and compare with pump specification. Practice Activity 2: Unsealed a pump, replace worn seals or gaskets and reassembled after repairing. | Theory-3 Hrs Practice-25 Hrs Total- 28 Hrs | Pipe wrench 14’’ - Adjustable wrench12’’ - Open end spanner set - Pump pliers - Combination pliers - Puller - Screw driver set (Flat & Philips) - Oil cane - Teflon tape - Gaskets - Seals - Bearing | Class Room Workshop |

## Module 0732BCE1604: Lay down Drain System

Objective: This module covers the knowledge and skills of laying and installation of drain pipes. Laying down a drain system	      involves careful planning, selection of appropriate materials, and following correct installation procedures to ensure	       effective and efficient drainage

## Duration:  			100 Hours			Theory: 	20 Hours			Practice: 	 80 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform excavation & leveling as per given layout | Trainee will be able to: - Interpret layout and mark area for excavation - Apply correct equipment for excavate according to drawing - Level excavated area according to drawing | - Color Coding for Plumbing Drawing - Excavation - Purpose of Excavation - Method of Excavation - Excavation and leveling Tools - Shovel - Pickaxe - Level (Spirit Level) - Wheelbarrow - Observe safety Precautions - Leveling - Purpose of Leveling - Waste Management Practice Activity: - Excavate and level the trench as per Drawing plan and after completion of work collect tools and clean the area. - Observe Safety Precautions - Use Energy Efficient material | Theory 03 Hrs. Practice 15 Hrs. Total 23 Hrs. | - Measuring Tape - Shovel - Pickaxe - Wheelbarrow - Level (Spirit Level) - Gypsum Powder | Classroom Open Area |
| LU2. Install Traps as per requirement | Trainee will be able to: - Measure & mark area for trap according to specifications - Select correct tools for traps according to requirement. - Choose correct quality trap as per requirement | - Trapes - Purpose of Trapes - Water Seal - Explain Tools for Trapes - Basin Wrench - Level - Types of Trapes - P-Trap - S-Trap - Floor Trap - Bottle Trap Practice Activity: - Installation of Trapes according to Plan and after completion of work collect tools and clean the area. Regular Inspections to prevent Water Consumption | Theory 06 Hrs. Practice 30 Hrs Total 31 Hrs. | - Level - Basin Wrench - Cement - Sand - Trapes(P & S, Bottle, Floor) | Classroom Workshop |
| LU3. Install manhole & sewerage pipelines according to plan | Trainee will be able to: - Evaluate the site is suitable for manhole. - Select correct tools for sewerage lines according to plan. - Excavate for manhole as per job requirement. - Checkout flow of wastages after Installation manhole | - Manhole - Purpose of Manhole - Sewerage System - Explain Tools Use in sewerage system - Design of Manhole - Slope Practice Activity: - Installation of Manhole, and Sewerage lines according to Plan and after completion of work collect tools and clean the area. Regular Inspections to Prevent Water Consumption | Theory 03 Hrs Practice 20 Hrs. Total 23 Hrs. | - Sprit Level - Sand - Cement - Bricks | Classroom Open Area |
| LU4. Excavate Septic Tank as per given layout | Trainee will be able to: - Interpret layout and select correct tools for excavating of septic tank - Mark outline of septic tank and surrounding area according to drawing. - Use correct tools & techniques to excavate Septic Tank. | - Color Coding for Plumbing Drawing - Excavation - Septic Tank - Purpose of Septic Tank - Definition of Measuring & Marking - Explanation of Tools use in Excavation of Septic Tank - Shovels and Spades - Pickaxe - Wheelbarrow Practice Activity: Excavate Septic Tank as per given layout and install Inlet and outlet Point as per instruction. | Theory 06 Hrs. Practice 20 Hrs Total 26 Hrs. | - Shovels and Spades - Pickaxe - Wheelbarrow - Measuring Tape - Sand - Bricks - Cement - PVC Pipe | Classroom Open Area |

## Module 0732BCE1605: Service pipelines & sanitary installation

## Objective: This module covers the knowledge and skills to recognize different types of pipes (HDPE, PVC, PEX, PPRC,UPVC) and their applications. Types of pipes used in waste disposal and their installation requirements. Types of sanitary fixtures (Toilets, sinks, bathtubs) and fittings (faucets, valves). Techniques for inspecting pipelines and sanitary installations to identify potential issues and solve it.

Duration:  	50 Hours			                  Theory: 9 Hours				            Practice: 41 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1 Perform maintenance of pumps | Trainee will be able to: - Inspect pump for any signs of leaks, corrosion, or unusual wear. - Wipe down the exterior of the pump to remove dust and debris. - Apply the appropriate lubricant to the pump bearings as per requirements | - parts of pump. - different types of pump inspection. Use Energy Efficient Pumps which work on solar energy - Cleaning items and Sequence of cleaning. - Mild detergent and its use. - pump lubricants. - Tools for lubrication. - Methods for lubrications. Practice: Disconnect a pump from water & electric supply and clean it in proper manners. Lubricate the pump with specified lubricant. Remove dust and rust debris from working area and clean it well. | Theory 3 Hrs Practice 14 Hrs Total 17 Hrs | - Pipe wrench 14’’ - Screw wrench 12’’ - Pump plier. - Screw driver set. - Spanner set. - Puller - MS wire brush - Gaskets - Seals - Bearing - Mild detergent - Sand paper - Cotton waste - Scraper - WD 40 spray | Class room Workshop |
| LU2. Maintenance of flushing devices LU3. Test pipelines as per requirement | - Turn off the water supply to the flushing device. - Select correct tools for flushing device according to specifications. - Fix Flush tank according to instructions - Apply appropriate personal protective equipment (PPE) for testing pipes. - Select correct equipment as per requirement. - Apply correct tools, equipment or machinery for testing of pipes. | - Different types of flushing devices. - How to cut off water supply. - Flushing device repair tools. Practice 1 Open a flush tank of W.C and repair the siphon and float valve. .Practice 2 Erect a flush tank of W.C with complete accessories and check operation after installation. Remove waste from working area and cleat aal tools after use. - Brief PPE’s for pipe testing and method of use. - pipeline testing equipment’s and machinery with method of use. Practice Test a pipeline of water supply in all aspects and prepare a report of checklist. Remove waste from working area and cleat all tools after use | Theory 3 Hrs Practice 14 Hrs Total 17 Hrs Theory 3 Hrs Practice 13 Hrs Total 16 Hrs | - Screw driver set - Screw wrench 12’’ - Monkey plier - Adjustable wrench 18’’ - Flush tank - siphon - Float valve - Siphon seal - Cleaning spray - Connection pipe - Screw wrench 12’’ - Monkey pliers - Adjustable wrench 18’’ - Pressure testing tool - Leakage detection tool - Flow testing equipment - Pipeline inspection gauges - Sand paper - Soap liquid - Colored water | Class Room Workshop Class Room Workshop |

## Module 0732BCE1606: Install Solar Water Heating System

## Objective: This module covers the knowledge and  skills to develop skill and competence required for Domestic and 			       	       Commercial Solar Water Heating Systems and perform the assembling, Maintenance of Solar Water Heating System.

Duration:  			120 Hours			Theory: 	24 Hours			Practice: 		 96 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install domestic solar water heater according to instructions. | Trainee will be able to: - Perform estimation of household's hot water consumption. - Select optimal location for the solar collector. - Connect solar collector and frame according to instructions | - Solar Energy - Solar water Heating System - Types of Solar Water Heater - Flat-Plate Collectors - Evacuated Tube Collectors - Plan and Calculate cost - Labour Cost - Material Cost - Conduct site assessment - Determine location for installation - Measurements - Physical structure - Light radiation - Base Assembly - Frame Assembly - Storage tank assembly - Tube assembly in tank Practice Activity: - Assemble Solar water Heating System Components - Remove all Extra Material from Working Area and Reuse Material | Theory 09 Hrs. Practice 35 Hrs. Total 44 Hrs. | - Screw Wrench - Pipe Wrench - Plier - Ring Spanner set - Drill machine - Screw Driver - Level - Solar water Heater - Seal Kits - Nut-Bolt - Valves - Fittings - Pipe(G.I, PPRC) | Classroom Open Area |
| LU2. Install supply lines for solar water heater. | - Measure & Mark area cold & hot water lines - Select correct tools for Solar water heater according to requirement - Install pipe of hot & cold water according to set standards | - Explain Cold And Hot Water Supply Lines - Purpose Cold And Hot Water Supply Lines - Explanation of tools for Solar water heater installation - Adjustable Wrench - Pipe Wrench - Screwdrivers - Pliers - Level - Drill Machine - Color Coding for Plumbing Water Supply Lines - Installation of cold & Hot Water Supply Lines Practice Activity: - Connect cold & hot water supply lines with Solar water Heater according to Drawing. - Check Leakage to prevent from Water Wastage | Theory 06 Hrs. Practice 35 Hrs. Total 38 Hrs. | - Screw Wrench - Pipe Wrench - Plier - Ring Spanner set - Drill machine - Screw Driver - Level - Seal Kits - Nut-Bolt - Valves - Fittings - Pipe(G.I, PPRC) | Classroom Open Area |
| LU3. Maintain solar water heater | - Clean the surface of the solar collector - Replace worn or damaged seals, gaskets, or insulation as per requirement. - Check the control system is functioning correctly. - Check pressure relief valves, are operational and replace if needed. | - Importance of Cleaning of Solar Collector Surface - Importance of replacement of damaged Parts - Valves - Automatic - Non-Automatic Practice Activity : - Replace damaged Seal kit ,Solar Vacuum tube and Control Valve as per instruction | Theory 06 Hrs Practice 26 Hrs. Total 29 Hrs. | - Screw Wrench - Pipe Wrench - Plier - Ring Spanner set - Drill machine - Screw Driver - Seal Kits - Nut-Bolt - Valves | Classroom Open Area |

Module 0732BCE1607: Install Commercial Supply Pipe Lines

Objective: This module covers the knowledge and  skills required to installation of commercial supply pipelines. It includes planning and preparation, laying out and measuring the installation path, installing pipes and fittings, pressure testing and leak detection, insulating and protecting pipes, commissioning the system, and adhering to safety and compliance standards. This unit ensures that trainees can install commercial supply pipelines efficiently, safely, and in accordance with specifications and regulatory requirements

Duration:  	110 Hours			                  Theory: 22 Hours				Practice: 88 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install Commercial Water Supply Lines according to plan | Trainee will be able to: - Interpret the layout as per requirement. - Measure & mark area according to given instructions. - Choose correct tools and equipment for required job. - Connect supply lines according to given instructions. - Check leakages of pipe lines as per requirements | - Elaborate layouts for supply pipelines. - Define layout parts. - Define measuring and marking methods. - Explain Safety precautions and instructions for marking on ground. - Introduction with tools for installation of commercial supply pipeline. - Define industrial pipeline connection. - Explain Safety precautions and instructions for pipeline connections. - Define Leakage Detection Tools for commercial pipelines. - Define Leak Detection Methods. - Practice Activity. Install a commercial water supply line for an industry as per layout and demand. Connect lines as per instruction and check leakage properly after installation. | Theory-6 Hrs Practical-24 Hrs Total- 30 Hrs | - Flanges - Nut Bolts - Flange Seals - Pipes (as per requirement) - Level | Class Room Workshop |
| LU2. Install Commercial Gas Pipeline according to plan. | Trainee will be able to: - Measure & mark area according to given instructions. - Perform excavation for Pipe line according to lay out. - Lay down Gas Pipelines with fittings as per Drawing. - Verify Leakage as per requirement | - Define measuring and marking for gas pipe line. - Explain Safety precautions and instructions for marking on ground - Define excavation method for gas pipeline. - Explain Safety precautions and instructions for excavation. - Define pipeline lay down methods as per layout. - Explain pipeline handling and laying tool and machinery. - Define safety precautions for gas pipes lay down. - Define Leakage Detection Tools for gas pipelines.. - Define Leak Detection Methods for gas pipeline. - Practice Activity. - Install a commercial gas supply line as per layout and demand. Connect lines as per instruction and check leakage properly after installation. | Theory-6 Hrs Practical-24Hrs Total- 30 Hrs |  | Class Room Workshop |
| LU3. Install Commercial sewage lines according to the plan | Trainee must be able to: - Measure & mark area according to given instructions. - Perform excavation for Pipe line according to lay out. - Lay down Sewerage Pipelines as per Drawing. - Verify Leakage as per requirement | - Define measuring and marking for commercial sewage line. - Explain Safety precautions and instructions for marking on ground for sewage line. - Define excavation method for commercial sewage line.. - Explain Safety precautions and instructions for excavation. - Define sewage line lay down methods as per layout. - Explain sewage line handling and laying machinery. - Define safety precautions for sewage line laying down. - Define Leakage Detection Tools for sewage lines. - Define Leak Detection Methods for sewage line. - Practice Activity. - Install a commercial sewage line as per layout and demand. Connect lines as per instruction and check leakage properly after installation. | Theory-5 Hrs Practical-20 Hrs Total- 25 Hrs |  | Class Room Workshop |
| LU4. Install hot & cold pipeline as per plan. | Trainee must be able to - Measure & mark area according to given instructions. - Perform excavation for Pipe line according to lay out. - Lay down Cold water Pipelines as per Drawing. - Verify Leakage as per requirement. | - Define measuring and marking for hot & cold pipe line. - Explain Safety precautions and instructions for marking on ground. - Define excavation method for hot & cold pipeline. - Explain Safety precautions and instructions for excavation. - Define pipeline lay down methods as per layout. - Explain pipeline handling and laying tool and machinery for hot & cold pipelines. - Define safety precautions for pipes lay down. - Define Leakage Detection Tools for pipe lines.. - Define Leak Detection Methods for pipe line. - Practice Activity. - Install hot & cold pipe line system as per layout and requirement. Connect lines as per instruction and check leakage properly after installation. | Theory-5 Hrs Practical-20 Hrs Total- 25 Hrs |  | Class Room Workshop |

Module 0732BCE1608: Perform Pipe Fabrication

## Objective: After this Competency Standard, the Trainee will be able  protect tools, equipment and machinery accordingly and take remedial measures to deal with the emergencies professionally, thus minimizing the losses and providing a safe and healthy working environment. The trainee will be also able to ensure clear and effective communication for emergencies

## Total Duration:  	120 Hours		                  Theory: 24 Hours			            Practice: 96 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1 Carry Out Weld work as per Project | Trainee will be able to: - Identify the types of metals to be welded - Prepare welding area clean, well-ventilated, according to job - Select correct tools material according to project - Execute the weld according to the project plan | - Introduction of metal types. - Introduction of welding - Types of welding. - Types of welding joints. - Safety precaution and parameters of metals welding. - Introduction with welding tools. - Use of welding tools. - Review project plan - Welding parameters - Welding process specifications - Practice activity Welding the MS flat pieces in butt joint according to layout and instructions. | Theory-9 Hrs Practical-30 Hrs Total- 39 Hrs | - MS flat as per drawing - Welding rod - Welding glass - PPE’S - Welding plant - Hammer 1 kg - Welding stand | Class room workshop |
| LU2. Prepare Elbow joint as per drawing | - Choose correct type, size of materials as per drawing. - Check materials meet the required standards. - Perform temporarily assembling the pipe and elbow joint to check alignment. | - Types of pipes - Types of pipe joints. - Pipe line layouts. - Pipes specifications. - Fittings standards. - Tool and machinery required for pipe fitting. - PPE’s for pipe fitting assembly. - Practice Activity Assemble an elbow joint pipeline as per drawing alignment. | Theory-9 Hrs Practical-22 Hrs Total- 31 Hrs | - G.I elbow fittings - Oil cane - Pipe vice with stand - Pipe wrench 14’’ | Class room workshop |
| LU3. Prepare Tee joint as per drawing | - Choose correct size of pipe and tee materials as per the drawing specifications. - Interpret technical drawing provided for the tee joint. | - Types and different sizes of tee fitting. - Specifications for tee joints. - Elaborate technical drawing of tee joint. - Practice activity Assemble a tee joint pipeline as per drawing alignment | Theory- 3 Hrs Practical-22 Hrs Total- 25 Hrs | - G.I tee fittings - Oil cane - Pipe vice with stand - Pipe wrench 14’’ - Clamp as per pipe size | Class room. Workshop |
| LU4. Couple Flanges according to direction . | - Select Correct Flanges set according to Drawing - Connect Flanges with nuts and bolts as per specification | - Flange joint and its use. - Specification of flange joint as per drawing. - Specifications of nut and bolts for flange connection. - Practice activity Connect two flanges with nut and bolt joint according to drawing. | Theory- 3 Hrs Practical-22 Hrs Total- 25 Hrs | - Flange set required size - Nut and Bolt - Screw wrench 12’’ - Spanner set | Class room Workshops |

## Module 0732BCE1609: Prepare Report & Cost estimation

## Objective: After this Competency Standard, the Trainee will be able to Identify and analyses the scope and specifications of plumbing projects. Calculate the types and quantities of materials needed, including pipes, fittings, fixtures, sealants, and insulation. Create list on MS Word for consumable material uses in different plumbing operations. In this Competency, the trainee will also get knowledge about cost calculation in MS Excel sheet

Total Duration:  	50 Hours		                  Theory: 10 Hours			            Practice: 40 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1 Create a list of materials on MS Word as per requirement | Trainee will be able to: - Create a new document in MS Word. - Prepare headings and subheadings to structure the document . - Gather Information PVC, copper, PEX tubing, Elbows, tees, couplings as per requirement | - Explain MS word and its operations. page setup - Practice Create a new document in MS word and setup page size, margins and orientation. - Practice. Open a new document and setup headings and sub headings. - Practice Collect data from estimate and enter in MS word document. | Theory 3 Hrs Practice 15 Hrs Total 18 Hrs | - Computer with MS office software - Multimedia projector. | Computer lab |
| LU2. Prepare estimate on MS Excel as per project | - Open Excel and create a new workbook. - Set up columns for Item name, Quantity, Unit Cost, Total Cost. - Enter values in columns such as Materials, Labor, items and cost - Verify all entries and formulas | - MS excel and its operations. - MS excel workbook setting. - MS excel formulas. - Practice Create a new document in MS excel and setup workbook setting - Practice - Open MS excel workbook and set names of columns as per estimate. - Practice - Enter the values gather from estimate below specific column. - Practice Check all entries after work and verify formulas. | Theory 3 Hrs Practice 15 Hrs Total 18 Hrs | - Computer with MS office software - Multimedia projector | Computer Lab |
| LU3. Communicate with customers and colleagues as per requirement (Electronic & social media) | - Providing clear and accurate information - Follow safe communication platform (WhatsApp, email, etc.) | - Go paperless and encourage electronic document workflow - Communication and its types. - Communication skills. - Practice Mock practice of communication of information transfer. - Explain different communication platforms. - Practice Create accounts on platforms and practice mock communication. | Theory 3 Hrs Practice 13 Hrs Total 16 Hrs |  | Class room |