| DACUM Panel - Mr. Muhammad Ibrar Jr. Trade Instructor Plumbing KP-TEVTA - Mr. Ali Sardar Instructor Plumber Govt. CoE-GTTI Mughalpura Lahore Punjab TEVTA - Syed Khalid Shah Instructor Plumber G.T.T.I Gujar khan (M) Punjab TEVTA CONVENERS: - Muhammad Asim Deputy Director NAVTTC Islamabad - Muhammad Ishaq Deputy Director NAVTTC Islamabad - Mr. Shams Shehbaz Assistant Director Operations II P-TEVTA - Engr. Hafiz Waqas Hashmi Assistant Director Curriculum P-TEVTA DACUM Facilitator: Syed Salman Nasir Ali Shah Punjab TEVTA | Occupational Profile Chart Of “PLUMBER” Level-3 |
| --- | --- |
|  | Date 22-27 July, 2024 |
|  | Lahore, Pakistan |
|  | National Vocational & Technical Training Commission |

| DUTIES and TASKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Carry out safety precautions: |  |  |  |  |  |  |
| H1. Protect tools and equipment | H2. Follow Safety Programs |  | H3. Follow federal, provincial/ territorial, and municipal legislation |  | H4. Adopt environmental regulation |  |
| H5. Prepare to Respond to emergencies |  |  |  |  |  |  |
| - Install sanitary accessories: |  |  |  |  |  |  |
| I1. Install pipes & fittings as per given drawing | I2. Install water tank according to plan |  | I3. Install electric & gas geysers according to the layout |  | I4. Install bathtub according to layout |  |
| I5. Install urinal & bidet as per the given layout | I6. Install gas & water meters according to plan |  |  |  |  |  |
| - Install pumps: |  |  |  |  |  |  |
| J1. Install reciprocating pump as per plan | J2. Install centrifugal pump as per plan |  | J3. Repair of pumps if required |  |  |  |
| - Lay down drain system: |  |  |  |  |  |  |
| K1. Perform excavation & leveling as per given layout | K2. Install traps as per requirement |  | K3. Install manhole & sewerage pipelines according to plan |  | K4. Excavate septic tank as per given layout |  |
| - Service of pipelines & sanitary installation: |  |  |  |  |  |  |
| L1. Perform maintenance of pumps | L2. Carryout maintenance of flushing devices |  | L3. Test pipelines as per requirement |  |  |  |
| - Install solar water heating system |  |  |  |  |  |  |
| M1. Install domestic solar water heater according to instructions |  | M2. Install supply lines for solar water heater |  | M3. Maintain solar water heater |  |  |
| - Install Commercial Supply Pipe Lines: |  |  |  |  |  |  |
| N1. Install Commercial Water Supply Lines according to plan |  | N2. Install Commercial Gas pipeline according to plan |  | N3. Install Commercial sewage lines according to the plan |  | N4. Install heating & cooling system as per plan. |
| - Perform Pipe Fabrication: |  |  |  |  |  |  |
| O1. Carry Out Weld work as per Project |  | O2. Prepare Elbow joint as per drawing |  | O3. Prepare Tee joint as per drawing |  | O4. Couple Flanges according to direction |
| - Prepare Report & Cost Estimation: |  |  |  |  |  |  |
| L1. Create a list of materials on MS Word as per site work |  | L2. Prepare estimate on MS Excel as per project |  | L3. Communicate with customers/colleagues as per requirement (Electronic & social media) |  |  |

Additional Information for Plumber L-3

| - Tools and Equipment Adjustable wrench Bench vice Pipe Wrench Set Chisel set Files Hacksaw frame Hammer Screw driver set Double Ring Spanner set Tools box Pipe vice with stand Measuring tape Pipe Cutter (for GI Pipes) Pipe vice Center Punch Plier set Oil Can Wire Brush Pipe Reamer PPRC cutter Level Indicator Steel scale Hand bit Grip plier Die (Ratchet) Set First Aid box Safety Men Work Gloves Safety Goggles Safety Shoes Safety Ear muffs Safety Helmet Hand Electric Drill machine (hammering) Electric Wall Cutter PPRC Heater Electric Grinder (Pedestal) Pipe Bender Machine Portable Welding Plant Computers Printer Scanner Internet Device Multimedia Projector | Entry Requirements Middle (Grade 8) Preferable Matric with NVQF Plumber Level-2 Certification | Duration of Training Required 06 Months / 80 Credit Hours | Career Paths Plumber Residential Service Technician Maintenance Technician Plumber Estimator Plumbing Contractor |
| --- | --- | --- | --- |