## MCQs
Sr.No | Questions | A | B | C | D | Answer
1 | What is the first step when applying personal protective equipment (PPE)? | Wear gloves only | Check for a suitable work area | Choose the appropriate PPE for the task | Start the plumbing job immediately | B
2 | When repairing broken or unserviceable tools, what is the most important consideration? | Speed of repair | Availability of new tools | Correctness of repair according to job requirements | Correctness of repair according to job requirements | C
3 | What is the purpose of cleaning safety tools before and after use? | To prevent tool rusting | To ensure they are safe for the next user | To make the tools look new | To make tools easier to handle | B
4 | Which of the following is a crucial step in following safety procedures? | Always work without interruptions | Ignore safety instructions if they seem unnecessary | Consistently follow all safety instructions | Only follow safety procedures when supervised | C
5 | What is the main benefit of using charts, boards, and safety instructions during plumbing tasks? | They are for decoration | They help workers stay organized | Which of the following is an example of following local and national laws in plumbing? | Performing work without licenses | B
6 | What should be updated daily to ensure safety compliance? | Project milestones | Job sheets | Safety records | Customer feedback | C
7 | Which of the following is an example of following local and national laws in plumbing? | Ignoring permits | Performing work without licenses | Ensuring proper waste disposal according to regulations | 1. Not updating safety records | C
8 | Which of the following is required to minimize environmental impact during plumbing installation? | Use any available materials | Dispose of waste in any manner | Follow environmentally friendly waste disposal practices | Skip environmental regulations for faster work | C
9 | What should be done before performing plumbing work related to hazardous materials? | Turn off the water supply | Notify the safety officer | Apply personal protective equipment (PPE) | Begin the work immediately | B
10 | Which safety measure should be followed during pipe installation? | Wear no PPE | Only focus on speed of work | Follow all safety procedures and wear the correct PPE | Ignore instructions if the task is simple | C
11 | How should waste be disposed of according to environmental guidelines? | Leave it in an open space | Dispose of it in a designated bin or recycling area | Bury it in a private area | Store it on-site until further instructions | B
12 | Which of the following is an essential part of effective communication for emergencies? | Ignoring the issue until it becomes critical | Clear and timely communication to the right authorities | Waiting until the problem escalates | Handling the emergency by yourself without informing others | B
13 | What is the primary purpose of following shut-off supply valves during plumbing work? | To prevent flooding and water damage | To increase water pressure | To save time on the job | To reduce the cost of materials | A
14 | Which measurement method should be used when marking a job area for pipe installation? | Guess the required measurements | Use a tape measure or ruler to mark the area according to specifications | Use only the visual estimate of the area | Skip marking and proceed directly with installation | B
15 | What should be done after completing the deburring operation on a pipe? | Leave the pipe as it is | Clean the pipe thoroughly and check for smooth edges | Paint over the pipe | Dispose of the pipe | B
16 | What is the correct procedure for installing pipes and fittings? | Skip measurements to speed up the process | Follow the installation plan, diagrams, and specifications | Install pipes in random positions | Only install parts that are visible | B
17 | What is the best way to join pipes and apply sealants during installation? | Use any available sealant | Apply the correct type of sealant based on the material and instructions | Skip the sealant to save time | Use excessive amounts of sealant | B
18 | Why is it important to follow installation plans, diagrams, and specifications? | To ensure compliance with safety standards and avoid mistakes | To complete the job faster | To minimize material usage | To reduce costs | A
19 | What factors should be considered when choosing the location for a water tank? | The location should be based on the layout plan and accessibility for maintenance | The location should be based on the layout plan and accessibility for maintenance | The tank should be installed randomly | The tank should be installed without considering the surrounding environment | A
20 | When collecting tools, materials, and equipment for an installation, what is important to consider? | Only the cheapest options | The availability of tools in the toolbox | The correct items based on the job's requirements | Random selection of tools | C
21 | What should you check when connecting inlet and outlet pipes? | That the joints are not sealed | That the installation is done without referring to instructions | That all connections are correctly aligned and sealed to avoid leaks | That the pipes are in random positions | B
22 | Why is it essential to verify that all joints are sealed? | To improve the aesthetics of the installation | To prevent leaks and ensure proper water flow | To make the pipes easier to remove later | To reduce the amount of sealant used | B
23 | What should be done if leaks are detected at joints after installing a geyser? | Ignore them if they are small | Immediately address the leaks by resealing or repairing the joints | Wait until the next maintenance period | Replace the entire installation | B
24 | What should be followed when installing a geyser according to the plan? | Use harsh chemicals to clean the surface | Follow the installation layout, diagrams, and specifications carefully | Only install the visible parts | Make quick decisions without consulting the plan | B
25 | Which tools are required for installing a bathtub? | Only basic plumbing tools | Tools for cutting and shaping tiles | Specialized tools for bathtub installation | Random tools from the toolbox | B
26 | What is the primary focus when preparing the installation area for a bathtub? | Ensuring the area is clean and level | Just ensuring that the area is spacious | Ignoring the surroundings | Only considering the aesthetics | A
27 | What should be checked before completing the installation of a urinal? | Only the appearance of the urinal | Test the flush mechanism only | Ignore the plumbing connections and focus on design | Ensure proper connection of the supply and drain lines | D
28 | What must be done to anchor a bidet to the floor? | Test the flush mechanism only | Use the appropriate materials as per the specifications | Ignore the installation steps to save time | Skip the anchoring process entirely | B
29 | What is essential when interpreting layout diagrams for a plumbing installation? | Skip the anchoring process entirely | Follow the technical specifications and instructions carefully | Install based on personal preferences | Skip the diagram interpretation if you have experience | B
30 | How should pipes be sealed to prevent leaks during installation? | amount of sealant Apply an excessive | Apply the right type and amount of sealant as per the job specifications | Skip the sealant application | Only apply sealant to visible areas | B
31 | What should you do to ensure the pump is installed correctly? | Place it anywhere to save time | Follow the specifications for correct positioning and alignment | Skip checking the specifications | Only install the pump if it’s already connected to the piping | B
32 | Why is it important to check pump progress after installation? | To verify that everything is functioning as required | To make sure the job is completed faster | To avoid any maintenance work | To reduce costs | A
33 | What should be checked to ensure the centrifugal pump is installed correctly? | Ensure that the pump is positioned and aligned as per the installation plan | Ignore the alignment and proceed quickly | Only check the external appearance | Skip the verification step altogether | A
34 | When diagnosing pump issues, what should be considered? | Ignoring the pump specifications | Following the pump specifications and diagnostic steps | Replacing the pump without checking for issues | Fixing any problem immediately without understanding the cause | B
35 | How do you measure and mark the area for excavation when laying pipes? | Measure randomly to save time | Use accurate measurements according to the drawings | Skip measurements and start digging immediately | Estimate the area based on visual cues | B
36 | What is the correct method for excavating for a septic tank? | Use inappropriate equipment | Follow the excavation layout and use the right tools for the job | Skip excavation and place the tank wherever it fits | Dig a shallow hole and leave it incomplete | B
37 | What should you do if you notice a sign of corrosion or unusual wear on a pump? | Ignore it and continue the work | Inspect the issue thoroughly and address it as required | Replace the pump immediately without checking the cause | Cover up the issue with paint | B
38 | What is essential when cleaning the exterior of a pump after installation? | Use harsh chemicals to clean the surface | Wipe down with a cloth to remove dust and debris | Skip cleaning to save time | Use water and soap to clean the pump thoroughly | B
39 | How do you ensure that the flush mechanism of a urinal works correctly? | Only check the appearance | Only install the tank and leave out the flush mechanism | Skip testing the mechanism | Test the flush mechanism to verify proper functionality | D
40 | What is the key consideration when replacing seals or gaskets on pumps? | Use seals that are readily available | Replace with the correct type and size of seal as per job specifications | Use random materials for quick repairs | Ignore the need for replacement | B
41 | IT Fundamentals
42 | What is the file extension for Microsoft Word documents? | .docx | .doc | .xls | .ppt | A
43 | Which Microsoft Word feature allows you to insert pre-designed layouts? | Templates | Themes | Styles | Fonts | A
44 | How do you undo an action in Microsoft Word? | Ctrl+Z | Ctrl+C | Ctrl+V | Ctrl+A | A
45 | What is the purpose of the "Alignment" feature? | To change font size | To change font color | To arrange text horizontally | To insert tables | C
46 | How do you insert a table in Microsoft Word? | Using the "Insert" tab | Using the "Table" tool | Using the "Format" tab | Using keyboard shortcuts | A
47 | What is the purpose of the "Wrap" feature for images? | To resize images | To move images | To align images | To wrap text around images | D
48 | How do you print a document in Microsoft Word? | Using the "File" tab | Using the "Print" button | Using keyboard shortcuts | Using the "Home" tab | A
49 | What is the purpose of the "Save As" feature? | ) To save a document with a new name | To save a document in a different format | To save a document to a different location | All of the above | D
50
51
IT Fundamentals
| What is the file extension for Microsoft Word documents? | .docx | .doc | .xls | .ppt | A
| Which Microsoft Word feature allows you to insert pre-designed layouts? | Templates | Themes | Styles | Fonts | A
| How do you undo an action in Microsoft Word? | Ctrl+Z | Ctrl+C | Ctrl+V | Ctrl+A | A
| What is the purpose of the "Alignment" feature? | To change font size | To change font color | To arrange text horizontally | To insert tables | C
| How do you insert a table in Microsoft Word? | Using the "Insert" tab | Using the "Table" tool | Using the "Format" tab | Using keyboard shortcuts | A
| What is the purpose of the "Wrap" feature for images? | To resize images | To move images | To align images | To wrap text around images | D
| How do you print a document in Microsoft Word? | Using the "File" tab | Using the "Print" button | Using keyboard shortcuts | Using the "Home" tab | A
| What is the purpose of the "Save As" feature? | ) To save a document with a new name | To save a document in a different format | To save a document to a different location | All of the above | D