Trade Registration Form

- Title of the Qualification.

National Vocational Certificate Level 3 in Plumber

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| Primary/Middle | Level-2 | G3 | Level-3 |
| Level-2 | Level-3 | G2 | Level-4 |
| Level-3 | Level-4 | Matric | Level-5 |
| Level-4 | Level-5 | Inter / DAE | Bachelor / Level 6 |

- List of Competencies/Modules

Competency Standards/ Modules

0732BCE1601 Carry out safety precautions

0732BCE1602 Install sanitary accessories

0732BCE1603 Install pumps

0732BCE1604 Lay down drain system

0732BCE1605 Service of pipelines & sanitary installation

0732BCE1606 Install solar water heating system

0732BCE1607 Install Commercial Supply Pipe Lines

0732BCE1608 Perform Pipe Fabrication

0732BCE1609 Prepare Report & cost estimation

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement |  |  |

- Machinery / Lab Equipment (with quantity/25 Students)

| S.No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
| 1 | Adjustable wrench | 25 No's |
| 2 | Bench vice | 10 No's |
| 3 | Pipe Wrench Set | 25 No's |
| 4 | Chisel set | 10 Set |
| 5 | Files 300 x 1 | 25 No's |
| 6 | Hacksaw frame | 25 No's |
| 7 | Hammer | 15 set |
| 8 | Screw driver set | 10 Sets |
| 9 | Double Ring Spanner set | 10 Set |
| 10 | Tools box | 25 No's |
| 11 | Pipe vice with stand | 12 No's |
| 12 | Measuring tape | 25 No's |
| 13 | Pipe Cutter (for GI Pipes) | 10 No's |
| 14 | Pipe vice | 08 No's |
| 15 | Centre Punch | 15 No's |
| 16 | Plier set | 12 No's |
| 17 | Oil Can | 08 No's |
| 18 | Wire Brush | 12 No's |
| 19 | Pipe Reamer | 12 No's |
| 20 | PPRC cutter | 10 No's |
| 21 | Level Indicator | 10 No's |
| 22 | Steel scale | 25 No's |
| 23 | Hand bit | 5 Sets |
| 24 | Grip plier | 10 No's |
| 25 | Die (Ratchet) Set | 10 No's |
| 26 | First Aid box | 10 No's |
| 27 | Safety Men Work Gloves | 25 No's |
| 28 | Safety Goggles | 25 No's |
| 29 | Safety Shoes | 25 No's |
| 30 | Safety Ear muffs | 25 No's |
| 31 | Shovel | 15 No's |
| 32 | Trowel | 15 No's |
| 33 | Plum bob | 15 No's |
| 34 | Hand Electric Drill machine (hammering) | 05 No's |
| 35 | Electric Wall Cutter | 05 No's |
| 36 | PPRC Heater | 10 No's |
| 37 | Electric Grinder (Pedestal) | 01 No's |
| 38 | Pipe Bender Machine | 05 No's |
| 39 | Portable Welding Plant | 05 No's |
| 40 | Solar water Heater | 02 Set |
| 41 | Computers | 26 No's |
| 42 | Printer | 2 No's |
| 43 | Scanner | 2 No's |
| 44 | Internet Device | 1 No' |
| 45 | Multimedia Projector | 1 No |

- Consumable (with quantity/25 Students)

| S.No. | Consumable | Quantity |
| --- | --- | --- |
| 1 | G.I Pipe ½”,3/4” | 100, 50 Lengths |
| 2 | G.I Fittings (G.I (Elbow, Tee, Socket, Reducer, Cross over, Union, Cross-Tee etc.)1/2") | 100 Nos Each |
| 3 | Valves (Brass Safety valve, Handle Valve, Gate Valve, Ferul Valve, Non-retune Valve1/2") | 50 No's |
| 4 | PPRC Pipe 25mm, 32mm | 100, 50 Lengths |
| 5 | PPRC Fittings (PPRC (Elbow, Tee, Socket, Reducer, Cross over, Union, Cross-Tee etc) 25 mm) | 50 No's |
| 6 | Hack Saw Blade | 72 No's |
| 7 | Pipe Hooks | 50 No's |
| 8 | G.I. Pipe flanges | 10 No's |
| 9 | Tee Stop Cock | 50 No's |
| 10 | Tap 1/2” | 50 No's |
| 11 | Traps (Bottle trap, S-Trap, P trap, Floor Trap) | 10 No's |
| 12 | Nuts & Bolts | 50 No's |
| 13 | Flang Set | 10 Sets |
| 14 | Mobil oil | 30 Litre |

- Student Teacher Ratio

25:1

- Teacher Qualification

BSc Engineering / B-Tech in Civil/ Mechanical

OR

DAE Civil/mechanical with 02 years relevant Experience

OR

Two Years Certificate in plumber with 05 years relevant Experience

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 80 | 6 Months |
| 80 | 6 Months |
| 1200 | 12 Months |
| 1200 | 12Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |