|  | Assessment Evidence Guide For Solar PV System Technician Level 2 Formative Assessment 0713E&E3404 Perform Single phase/three phase Electrical Wiring System Date: 04 - 09 November, 2024 Lahore |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3404 Perform Single phase/three phase Electrical Wiring System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase - Lay cables - Practice of single-phase electrical circuit - Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation) - Install 3-phase motor connection ON -OFF by Magnetic contactor - Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator Activity: - Perform connection of Stair Case Circuit - Perform and demonstrate Reverse/Forward circuit by using magnetic contactors (Annex-A) |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Maintain Tools & Equipment for Single Phase Wiring - Identify tools and equipment - Arrange Tools and Equipment - Interpret job card - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment - Maintain Tool Box - Make Cable/Wire Joints for Single Phase Wiring - Select the cable. - Strip the wire according to 50mm. - Make Cross/Twist joint - Make Straight/Married joint - Make T-Joint - Make Rat tail joint - Make Britannia joint - Prepare and Install Distribution Boards for Single Phase - Identify location of distribution boards as per drawing - Select size of distribution board (DB) as per requirement - Install Distribution Board - Define concept of voltage drop - Lay cables - Select cables as per calculation according to color code - Verify quality and size of cables - Lay cables according to drawing - Insulate the joints with insulation tape - Practice of single-phase electrical circuit - Draw wiring diagram of single-phase circuit. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation) - Draw wiring diagram for single phase. - Draw Current path diagram for single phase. - Draw layout diagram for single phase. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install 3-phase motor connection ON -OFF by Magnetic contactor - Draw layout diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install ON-OFF circuit by Magnetic contactor. - Make exercise on exercise board according to installation/ Layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and Connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection - Check the function of circuit after connect the main supply - Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator - Draw layout diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/ Layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and Connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection - Check the function of circuit after connect the main supply |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Solar PV System Technician |
| Competency Standard | 0713E&E3404 Perform Single phase/three phase Electrical Wiring System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase - Lay cables - Practice of single-phase electrical circuit - Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation) - Install 3-phase motor connection ON -OFF by Magnetic contactor - Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator Activity: - Perform connection of Stair Case Circuit - Perform and demonstrate Reverse/Forward circuit by using magnetic contactors (Annex-A) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange Tools Equipment |  |  |
| - Select cables as per calculation according to color code |  |  |
| - Identify location of distribution boards as per drawing |  |  |
| - Select size of distribution board (DB) as per requirement |  |  |
| - Install Distribution Board |  |  |
| - Draw wiring diagram as per given task |  |  |
| - Mark on working board according to layout diagram |  |  |
| - Lay wires in duct/pipe according to layout diagram |  |  |
| - Install accessories according to layout diagram |  |  |
| - Make connections according to wiring diagram |  |  |
| - Check continuity |  |  |
| - Check the control circuit |  |  |
| - Check the power circuit and motor connection |  |  |
| - Check the circuit before connect the main supply |  |  |
| - Make connection with main supply |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Measure the values after commissioning by using multi meter/Clamp-on Meter |  |  |
| - Switched off all the electrical accessories after verifying from assessor |  |  |
| - Dismantle the task after verifying from the assessor |  |  |
| - Clean the work place area |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

ANNEXTURE-A

Assessors Judgment Guide

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3404 Perform Single phase/three phase Electrical Wiring System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Skills Assessment |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase - Lay cables - Practice of single-phase electrical circuit - Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation) - Install 3-phase motor connection ON -OFF by Magnetic contactor - Install 3-phase motor connection Activity: - Perform Practical on Stair Case Circuit - Perform Practical of Reverse/Forward circuit by using magnetic contactors (As per annex-A) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arranged Tools, Equipment and PPE’s as per given task |  |  |  |  |  |
|  | Selected cables as per calculation according to color code |  |  |  |  |  |
|  | Identified location of distribution boards as per drawing |  |  |  |  |  |
|  | Select size of distribution board (DB) as per requirement |  |  |  |  |  |
|  | Install Distribution Board |  |  |  |  |  |
|  | Draw wiring diagram as per given task |  |  |  |  |  |
|  | Mark on working board according to layout diagram |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram |  |  |  |  |  |
|  | Install accessories according to layout diagram |  |  |  |  |  |
|  | Make connections according to wiring diagram |  |  |  |  |  |
|  | Check continuity |  |  |  |  |  |
|  | Check the control circuit |  |  |  |  |  |
|  | Check the power circuit and motor connection |  |  |  |  |  |
|  | Check the circuit before connect the main supply |  |  |  |  |  |
|  | Make connection with main supply |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Measure the values after commissioning by using multi meter/Clamp-on Meter |  |  |  |  |  |
|  | Switched off all the electrical accessories after verifying from assessor |  |  |  |  |  |
|  | Dismantle the task after verifying from the assessor |  |  |  |  |  |
|  | Clean the work place area |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3404 Perform Single phase/three phase Electrical Wiring System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe different types of Wiring? |  |  |
|  | What is the purpose of fuses and circuit breakers? |  |  |
|  | What is the difference between solid and stranded wire? |  |  |
|  | Insulation tester/Meggar use for: |  |  |
|  | What are the two main types of three-phase motor connections? |  |  |
|  | How do you reverse a three-phase motor? |  |  |
| Feedback to the Candidate |  |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |  |