|  | Assessment Evidence Guide For Solar PV System Technician Level 2 Formative Assessment 0713E&E3406 Design of Solar PV system |
| --- | --- |
|  | Date: 04 - 09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | ### 0713E&E3406 Demonstrate Basic Communication Skills |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Load Assessment for solar PV system Design - Selection of inverter - Selection of Solar Panels - Selection of Battery Bank - Selection of Cables and Earthing System - Draw Basic design and BOQ of solar PV system Activity: Design Complete Hybrid Solar PV system for Administration Block |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | 1. Load Assessment for solar PV system Design - Perform Electrical Load calculation - Calculate connected electrical load for solar PV system design - Measure the PV system load in case of existing system 2. Selection of inverter - Interpret assess load - Determine the type of solar inverter (on/off grid hybrid) 3. Selection of Solar Panels - Select the Type (Mono/Bi-Facial) and Wattage of PV Panel - Select the required number of PV Panels as per Technical Data (Max. DC Input Power) of Inverter - Perform Site Visit for determination of Solar Panel Area (Roof/Land) - Selection of Mounting Structure as per Solar Panel Area Survey - Determination of Strings and Arrays of Solar Panels as per Technical Data (PV Input Voltage Range & PV Input Current) of Inverter 4. Selection of Battery Bank - Estimate the required backup time of load - Estimate the capacity of battery bank - Select the types of batteries for backup 5. Selection of Cables and Earthing System - Selection of Cables as per Designed Load and System Voltage - Selection of Earthing System Type - Selection of Earthing System Parts (AC/DC SPD) 6. Draw Basic design and BOQ of solar PV system - Sketch a diagram as per Design - Prepare BOQ of designed solar system - Get the design approved by the client. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Solar PV System Technician |
| Competency Standard | 0713E&E3406 Design of Solar PV system |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Load Assessment for solar PV system Design - Selection of inverter - Selection of Solar Panels - Selection of Battery Bank - Selection of Cables and Earthing System - Draw Basic design and BOQ of solar PV system Activity: Design Complete Hybrid Solar PV system for Administration Block |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform electrical load calculation |  |  |
| - Calculate electrical connected load for solar PV system design |  |  |
| - Measure the PV system load in case of existing system |  |  |
| - Interpret assess load |  |  |
| - Determine the type of solar inverter (On/Off grid, Hybrid) |  |  |
| - Select the type (Mono/Bi-facial) and wattage of PV panel |  |  |
| - Select the required number of PV panels as per technical data (Max. DC input Power) of inverter |  |  |
| - Perform site visit for determination of solar panel area (Roof/Land) |  |  |
| - Selection of mounting structure as per solar panel area survey |  |  |
| - Determination of string and arrays of solar panels as per technical data (PV input voltage range & PV input current) of inverter |  |  |
| - Estimate the required backup time of load |  |  |
| - Estimate the capacity of battery bank |  |  |
| - Select the types of batteries for backup |  |  |
| - Selection of cables as per designed load and system voltage |  |  |
| - Selection of Earthing system type |  |  |
| - Sketch a Diagram as per design |  |  |
| - Prepare of BOQ of designed solar system |  |  |
| - Get the design approved by the client |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3406 Design of Solar PV system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Load Assessment for solar PV system Design - Selection of inverter - Selection of Solar Panels - Selection of Battery Bank - Selection of Cables and Earthing System - Draw Basic design and BOQ of solar PV system Activity: Design Complete Hybrid Solar PV system for Administration Block |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform Electrical Load calculation |  |  |  |  |  |
|  | Calculate connected electrical load for solar PV system design |  |  |  |  |  |
|  | Measure the PV system load in case of existing system |  |  |  |  |  |
|  | Interpret assess load |  |  |  |  |  |
|  | Determine the type of solar inverter (on/off grid hybrid) |  |  |  |  |  |
|  | Select the Type (Mono/Bi-Facial) and Wattage of PV Panel |  |  |  |  |  |
|  | Select the required number of PV Panels as per Technical Data (Max. DC Input Power) of Inverter |  |  |  |  |  |
|  | Perform Site Visit for determination of Solar Panel Area (Roof/Land) |  |  |  |  |  |
|  | Selection of Mounting Structure as per Solar Panel Area Survey |  |  |  |  |  |
|  | Determination of Strings and Arrays of Solar Panels as per Technical Data |  |  |  |  |  |
|  | Estimate the required backup time of load |  |  |  |  |  |
|  | Estimate the capacity of battery bank |  |  |  |  |  |
|  | Select the types of batteries for backup |  |  |  |  |  |
|  | Selection of Cables as per Designed Load and System Voltage |  |  |  |  |  |
|  | Selection of Earthing System Type |  |  |  |  |  |
|  | Sketch a diagram as per Design |  |  |  |  |  |
|  | Prepare BOQ of designed solar system |  |  |  |  |  |
|  | Get the design approved by the client |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3406 Design of Solar PV system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
|  | What is the function of solar inverter? |  |  |  |
|  | What is the difference between mono-crystalline cell and poly–crystalline cell? |  |  |  |
|  | Describe the function of charge controller? |  |  |  |
|  | What is the primary source for solar energy? |  |  |  |
|  | Describe the function of SPD? |  |  |  |
|  | What is the purpose of grounding in solar system? |  |  |  |
|  | What safety precautions should be taking during installation? |  |  |  |
| Feedback to the Candidate |  |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |  |