|  | Assessment Evidence Guide For Solar PV System Technician Level 2 Formative Assessment 0713E&E3407 Installation of Solar PV System |
| --- | --- |
|  | Date: 04 - 09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3407 Installation of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Arrange required tools and equipment - Perform PV test - Erect the mounting structure - Fix PV modules as per circuit design - Connect the PV modules as per circuit design - Installation of Inverters - Installation of Battery Bank - Illustrate the Earthing System - Illustration of connections of energy meter (Green Meter) for solar system - Perform Test after installation of PV solar System Activity: - Install Stand Alone Solar System - Install up to 3KW Hybrid Solar System |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Arrange required tools and equipment - Collect required tools and equipment - Check physical status of tools and equipment - Perform transportation of tools and equipment - Manage safe storing of tools and equipment 2. Perform PV test - Conduct short circuit current test - Conduct open circuit voltage test 3. Erect the mounting structure - Assemble the structure parts - Fix mounting structure - Adjust angles of the mounting structure 4. Fix PV modules as per circuit design - Install PV module on the mounting structure - Verify angle of the PV module with the help of angle finder/meter - Ensure shadow overlapping 5. Connect the PV module as per circuit design - Make strings as per circuit design - Make arrays as per circuit diagrams - Connect arrays with junction boxes 6. Installation of Inverters - Installation of off-grid, on-grid, and hybrid inverters - Installation of circuit breaker/SPD for AC/DC connection with inverters - Make the connection of inverter with PV panel, battery & load according to diagram - Check the parameters of Off-grid/On-grid & hybrid inverters before making the On-load condition 7. Installation of battery bank - Arrange batteries with accessories as per requirements - Fix battery bank in the racks - Make parallel series strings for batteries, as per circuit design 8. Illustrate the earthing system - Testing of Resistance of Earthing System - Installation of Earthing System Parts as per Drawings 9. Illustration of connection of energy meter (green meter) for solar system - Illustrate Energy meter - Check the Parameters of Energy Meter in on-load Condition - Describe Net Metering Rules and Regulations 10. Perform test after installation of PV Solar System - Physically verify the Interconnection of Invertors/battery/PV panels according to the wiring diagram - Perform Test after installation of PV solar System in off-load condition - Perform Test after installation of PV solar System in on-load condition - Check the Parameters of the installed inverter in on-load condition |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Solar PV System Technician |
| Competency Standard | 0713E&E3407 Installation of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Arrange required tools and equipment - Perform PV test - Erect the mounting structure - Fix PV modules as per circuit design - Connect the PV modules as per circuit design - Installation of Inverters - Installation of Battery Bank - Illustrate the Earthing System - Illustration of connections of energy meter (Green Meter) for solar system - Perform Test after installation of PV solar System Activity: - Install Stand Alone Solar System - Install up to 3KW Hybrid Solar System |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Collect required tools and equipment |  |  |
| - Check physical status of tools and equipment |  |  |
| - Perform transportation of tools and equipment |  |  |
| - Manage safe storage of tools and equipment |  |  |
| - Conduct short circuit current test |  |  |
| - Conduct open circuit voltage test |  |  |
| - Assemble the structure parts |  |  |
| - Fix mounting structure |  |  |
| - Adjust angles of the mounting structure |  |  |
| - Install PV module on the mounting structure |  |  |
| - Verify angle of the PV module with help of angle finder/meter |  |  |
| - Ensure shadow overlapping |  |  |
| - Make strings as per circuit diagram |  |  |
| - Make arrays as per circuit diagram |  |  |
| - Connect arrays with junction boxes |  |  |
| - Installation of off grid, on grid and hybrid inverters |  |  |
| - Installation of circuit breaker/SPD for AC/DC connection with inverters |  |  |
| - Make the connection of inverter with the PV panel, battery and load according to diagram |  |  |
| - Check the parameters of Off-grid/On-grid & hybrid inverters before making the On-load condition |  |  |
| - Arrange batteries with accessories as per requirements |  |  |
| - Fix battery bank in the racks |  |  |
| - Make a parallel series strings for batteries, as per circuit diagram |  |  |
| - Testing of resistance of earthing system |  |  |
| - Installation of earthing system parts as per drawings |  |  |
| - Illustrate energy meter |  |  |
| - Check the parameters of energy meter in on-load condition |  |  |
| - Physically verify the interconnection of invertor/battery/PV panels according to the wiring diagram |  |  |
| - Perform test after installation of PV solar system in Off-Load condition |  |  |
| - Perform test after installation of PV solar system in On-Load condition |  |  |
| - Check the Parameters of the installed inverter in on-load condition |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3407 Installation of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Arrange required tools and equipment - Perform PV test - Erect the mounting structure - Fix PV modules as per circuit design - Connect the PV modules as per circuit design - Installation of Inverters - Installation of Battery Bank - Illustrate the Earthing System - Illustration of connections of energy meter (Green Meter) for solar system - Perform Test after installation of PV solar System Activity: - Install Stand Alone Solar System - Install upto 3KW Hybrid Solar System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Collect required tools and equipment |  |  |  |  |  |
|  | Check physical status of tools and equipment |  |  |  |  |  |
|  | Perform transportation of tools and equipment |  |  |  |  |  |
|  | Manage safe storage of tools and equipment |  |  |  |  |  |
|  | Conduct short circuit current test |  |  |  |  |  |
|  | Conduct open circuit voltage test |  |  |  |  |  |
|  | Assemble the structure parts |  |  |  |  |  |
|  | Fix mounting structure |  |  |  |  |  |
|  | Adjust angles of the mounting structure |  |  |  |  |  |
|  | Install PV module on the mounting structure |  |  |  |  |  |
|  | Verify angle of the PV module with help of angle finder/meter |  |  |  |  |  |
|  | Ensure shadow overlapping |  |  |  |  |  |
|  | Make strings as per circuit diagram |  |  |  |  |  |
|  | Make arrays as per circuit diagram |  |  |  |  |  |
|  | Connect arrays with junction boxes |  |  |  |  |  |
|  | Installation of off grid, on grid and hybrid inverters |  |  |  |  |  |
|  | Installation of circuit breaker/SPD for AC/DC connection with inverters |  |  |  |  |  |
|  | Make the connection of inverter with the PV panel, battery and load according to diagram |  |  |  |  |  |
|  | Check the parameters of Off-grid/On-grid & hybrid inverters before making the On-load condition |  |  |  |  |  |
|  | Arrange batteries with accessories as per requirements |  |  |  |  |  |
|  | Fix battery bank in the racks |  |  |  |  |  |
|  | Make a parallel series strings for batteries, as per circuit diagram |  |  |  |  |  |
|  | Testing of resistance of earthing system |  |  |  |  |  |
|  | Installation of earthing system parts as per drawings |  |  |  |  |  |
|  | Illustrate energy meter |  |  |  |  |  |
|  | Check the parameters of energy meter in on-load condition |  |  |  |  |  |
|  | Physically verify the interconnection of invertor/battery/PV panels according to the wiring diagram |  |  |  |  |  |
|  | Perform test after installation of PV solar system in Off-Load condition |  |  |  |  |  |
|  | Perform test after installation of PV solar system in On-Load condition |  |  |  |  |  |
|  | Check the Parameters of the installed inverter in on-load condition |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3407 Installation of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What factor effects solar Panel efficiency? |  |  |
|  | What is the purpose of shading analysis in solar PV system design? |  |  |
|  | Explain the difference between AC and DC earthing? |  |  |
|  | Describe Net-metering rules and regulation? |  |  |
|  | Explain the difference between lead-acid battery and lithium-ion battery? |  |  |
|  | Explain the concept of battery string configuration? |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature_________________ |  |  |  |  |