|  | Assessment Evidence Guide Solar PV System Technician Level 2 Formative Assessment 0713E&E3409 Operation of Solar System |
| --- | --- |
|  | Date: 04 - 09 November, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3409 Operation of Solar System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare Checklist for maintenance - Prepare log sheet - Inspect solar PV modules - Inspect invertor/Charge controller/protection circuits - Inspect battery banks - Perform post verification function of the system Activity: Inspect and evaluate the performance of installed solar system and create a comprehensive maintenance checklist |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare Checklist for maintenance - Prepare list of tools and instruments for maintenance - Prepare list of materials for maintenance - Prepare list of activities for maintenance invertor / Charge - controller / Protection circuits / Battery 2. Prepare log sheet - Collect maintenance log sheet - Arrange required tools / instruments for maintenance - Perform activities as per schedule - Place equipment after maintenance as per SOPs 3. Inspect Solar PV modules - Arrange cleaning materials - Wash the panels as per instructions (Avoid washing during peak sun hours). - Check connections and joints of solar PV modules - Check the physical and mechanical health of modules as per standard - Adjust the seasonal tilt angle 4. Inspect Invertor/Charge controller/Protection circuits - Arrange servicing equipment - Check the status of cooling fans - Check input output terminals of invertors - Perform servicing with electrical blower - Maintain connection status as per standards 5. Inspect battery bank - Clean terminals of battery with sand paper - Maintain level of electrolytes - Maintain gravity of electrolytes - Maintain battery connections - Apply grease to terminal to avoid corrosion / sulphation - Verify the operations of battery bank 6. Perform post verification function of the system - Switch on the system - Observe display reading of inverter / charge controller - Perform full load test - Prepare the report of maintenance activities performed |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Solar PV System Technician |
| Competency Standard | 0713E&E3409 Operation of Solar System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare Checklist for maintenance - Prepare log sheet - Inspect solar PV modules - Inspect invertor/Charge controller/protection circuits - Inspect battery banks - Perform post verification function of the system Activity: Inspect and evaluate the performance of installed solar system and create a comprehensive maintenance checklist |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare list of tools and instruments for maintenance |  |  |
| - Prepare list of materials for maintenance |  |  |
| - Prepare list of activities for maintenance invertor / Charge controller / Protection circuits / Battery |  |  |
| - Collect maintenance log sheet |  |  |
| - Arrange required tools / instruments for maintenance |  |  |
| - Perform activities as per schedule |  |  |
| - Place equipment after maintenance as per SOPs |  |  |
| - Arrange cleaning materials |  |  |
| - Wash the panels as per instructions (Avoid washing during peak sun hours). |  |  |
| - Check connections and joints of solar PV modules |  |  |
| - Check the physical and mechanical health of modules as per standard |  |  |
| - Adjust the seasonal tilt angle |  |  |
| - Arrange servicing equipment |  |  |
| - Check the status of cooling fans |  |  |
| - Check input output terminals of invertors |  |  |
| - Perform servicing with electrical blower |  |  |
| - Maintain connection status as per standards |  |  |
| - Clean terminals of battery with sand paper |  |  |
| - Maintain level of electrolytes |  |  |
| - Maintain gravity of electrolytes |  |  |
| - Maintain battery connections |  |  |
| - Apply grease to terminal to avoid corrosion / sulphation |  |  |
| - Verify the operations of battery bank |  |  |
| - Switch on the system |  |  |
| - Observe display reading of inverter / charge controller |  |  |
| - Perform full load test |  |  |
| - Prepare the report of maintenance activities performed |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3409 Operation of Solar System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Checklist for maintenance - Prepare log sheet - Inspect solar PV modules - Inspect invertor/Charge controller/protection circuits - Inspect battery banks - Perform post verification function of the system Activity: Inspect and evaluate the performance of installed solar system and create a comprehensive maintenance checklist |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare list of tools and instruments for maintenance |  |  |  |  |  |
|  | Prepare list of materials for maintenance |  |  |  |  |  |
|  | Prepare list of activities for maintenance invertor / Charge Controller / Protection circuits / Battery |  |  |  |  |  |
|  | Collect maintenance log sheet |  |  |  |  |  |
|  | Arrange required tools / instruments for maintenance |  |  |  |  |  |
|  | Perform activities as per schedule |  |  |  |  |  |
|  | Place equipment after maintenance as per SOPs |  |  |  |  |  |
|  | Arrange cleaning materials |  |  |  |  |  |
|  | Wash the panels as per instructions (Avoid washing during peak sun hours). |  |  |  |  |  |
|  | Check connections and joints of solar PV modules |  |  |  |  |  |
|  | Check the physical and mechanical health of modules as per standard |  |  |  |  |  |
|  | Adjust the seasonal tilt angle |  |  |  |  |  |
|  | Arrange servicing equipment |  |  |  |  |  |
|  | Check the status of cooling fans |  |  |  |  |  |
|  | Check input output terminals of invertors |  |  |  |  |  |
|  | Perform servicing with electrical blower |  |  |  |  |  |
|  | Maintain connection status as per standards |  |  |  |  |  |
|  | Clean terminals of battery with sand paper |  |  |  |  |  |
|  | Maintain level of electrolytes |  |  |  |  |  |
|  | Maintain gravity of electrolytes |  |  |  |  |  |
|  | Maintain battery connections |  |  |  |  |  |
|  | Apply grease to terminal to avoid corrosion / sulphation |  |  |  |  |  |
|  | Verify the operations of battery bank |  |  |  |  |  |
|  | Switch on the system |  |  |  |  |  |
|  | Observe display reading of inverter / charge controller |  |  |  |  |  |
|  | Perform full load test |  |  |  |  |  |
|  | Prepare the report of maintenance activities performed |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Solar PV System Technician |
| --- | --- |
| Competency Standard | 0713E&E3409 Operation of Solar System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. |  |  |  |
| --- | --- | --- | --- |
| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
|  | What is the purpose of solar panel tilt angle adjustment? |  |  |  |
|  | What is the effect of shading on solar panel performance? |  |  |  |
|  | What is the recommended depth of discharge (DoD) for deep cycle batteries? |  |  |  |
|  | What is the purpose of overcharge protection? |  |  |  |
|  | What tools are used electrical troubleshooting? |  |  |  |
|  | What causes sulfation in lead-acid battery? |  |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |